## ICMS (hidden)
პროექტის მახასიათებლები | მაჩვენებლები
პროექტის დასახელება
ანგარიშის სტატუსი | საორიენტაციო ღირებულება | საორიენტაციო ღირებულება
ანგარიშის თარიღი |  | სატენდერო ღირებულება
ანგარიშის რევიზიის № |  | მშენებლობის ღირებულება
პროექტის ზოგადი აღწერილობა |  | სამშენებლობო ღირებულება
• დამკვეთის დასახელება
• ძირითადი პროექტის ტიპი
• ზოგადი აღწერილობა |  | შენობა
პროექტის მდებარეობა |  | გზა,მაგისრალი,ასაფრენი ზოლი
დამატებითი პროექტის ტიპი |  | რკინიგზა
ენა | GEO | ხიდი
მშენებლობის ღირებულების დონე |  | გვირაბი
ISO ვალუტის კოდი | (USD) $ | waste water treatment works
ერთეული ფასების საფუძველი | fixed unit rates ¦ unit rates subject to fluctuating adjustment | water treatment works
ძირითადი ვალუტა | (GEL) ₾ | pipelines
Construction Cost Currency Conversion |  | wells and boreholes
Conversion date |  | power-generating plants
Exchange rates | 3.2 | chemical plants
Construction Programme |  | refineries
Project status | initiation and concept phase ¦ design phase ¦ construction and commissioning phase ¦ complete | dams and reservoirs
Construction period |  | mines and quarries
• Number of months |  | common
• Start date (planned or actual) |  | other stated
• End date (planned or actual)
Site
Existing site status
• state of use | greenfield ¦ brownfield
• type of use | urban ¦ rural ¦ agricultural
Legal status of site | freehold ¦ leasehold ¦ joint venture ¦ not owned ¦ other stated
Site topography | principally flat ¦ principally hilly ¦ mountainous ¦ offshore ¦ other stated
Ground conditions (predominant) | soft ¦ rocky ¦ reclaimed ¦ submerged ¦ swampy
Seismic zones (state more than one if applicable based on location)
Site conditions and constraints
• access problems | difficult ¦ average ¦ easy
• extreme climatic conditions | difficult ¦ average ¦ easy
• environmental constraints | difficult ¦ average ¦ easy
• statutory planning constraints | difficult ¦ average ¦ easy
Construction Procurement
Funding | private ¦ public ¦ public and private in partnership
Project delivery
• pricing method | lump sum ¦ stipulated price ¦ re-measurement ¦ cost reimbursement ¦ other stated
• mode of procurement | design bid build ¦ design and build (turnkey) ¦ build operate and transfer ¦ public private partnership ¦ management contracting ¦ construction management ¦ engineer procure construct ¦ target ¦ other stated
• joint venture foreign Constructor | yes ¦ no
• predominant source of Constructors | local ¦ foreign
Life Cycle Cost Related
Life cycle costing
• purpose | for a business case ¦ for option appraisals ¦ for producing a sinking fund ¦ for cost analysis ¦ other stated
• method of presentation of costs | net present value
• common date (to which all costs are discounted or compounded)
• project status at common date | initiation and concept phase ¦ design phase ¦ construction and commissioning phase ¦ in use ¦ close to end of life
• discount rate | real discount rate ¦ nominal discount rate
Expected constructed asset life span after completion of construction | design life ¦ alternative life span
Period of analysis for life cycle costing
• until | end of life ¦ end of interest
• from | • to
• number of months l years
Primary usage type constraints affecting expected life and life cycle costs (if applicable)
• hours of operation (e.g. office hours 9 to 5.30 Monday to Friday)
• access restrictions
• environmental
• statutory
• contractual
• others
Renewals planned (during period of analysis)
• scope of renewal (stating key Cost Groups/Sub-Groups included)
• respective cycle (e.g. every 5 years)
• number of renewal cycles included (during the period of analysis)
End of Life Costs
• handback obligations at end of life/ period of analysis (if applicable)
Table 4: Buildings
Code
Local functional classification standard
• name of standard
• code number of construction
Works
Functional type | residential ¦ office ¦ commercial ¦ shopping centre ¦ industrial ¦ hotel ¦ car park ¦ warehouse ¦ educational ¦ hospital ¦ airport terminal ¦ railway station ¦ ferry terminal ¦ plant facility ¦ other stated
Nature | new build ¦ major adaptation ¦ temporary
Grade (qualitative description to be read in conjunction with the location) | ordinary quality ¦ medium quality ¦ high quality
Hotel grade | international below 4-star ¦ international 4-star ¦ international 5-star ¦ international over 5-star ¦ local below 4-star ¦ local 4-star ¦ local 5-star ¦ local over 5-star
Environmental grade
• grade and name of environmental certification
• status | targeted ¦ achieved ¦ none
Principal design features
• structural (predominant) | timber ¦ concrete ¦ steel ¦ load bearing masonry ¦ other stated
• external walls (predominant) | stone ¦ brick/block ¦ render/block ¦ curtain walling ¦ other stated
• environmental control | non-air conditioned ¦ air conditioning
• degree of prefabrication | less than 25% ¦ up to 50% ¦ up to 75% ¦ up to 100%, of Construction Costs
• major prefabricated work | suites (inclusive of toilets, kitchens and the like) ¦ standalone toilets, bathrooms, shower rooms and the like ¦ standalone kitchens ¦ classrooms ¦ heathcare rooms ¦ operating theatres ¦ plant rooms, pipe ducts and the like ¦ soundproof rooms ¦ computer rooms ¦ cold rooms ¦ kiosks ¦ balconies ¦ corridors ¦ staircases ¦ other stated
Project Complexity
• shape (on plan) | circular, elliptical or similar ¦ square, rectangular, or similar ¦ complex
• shape (vertical section) | circular, elliptical or similar ¦ square, rectangular, or similar ¦ complex
• design | simple ¦ bespoke ¦ complex
• method of working | sectional completion ¦ out-of-hours working ¦ confined working ¦ other stated
Design life
Average height of site above or below sea level
Dimensions (overall length × width × height of each building to highest point of the building)
Typical storey height (floor level to floor level)
Other storey heights and applicable floors
Number of storeys above ground (qualitative description to be read in conjunction with the location) | house ¦ low rise ¦ medium rise ¦ high rise
Number of storeys above ground (quantitative) | specific number 0–3 ¦ 4–7 ¦ 8–20 ¦ 21–30 ¦ 31–50 ¦ over 50
Number of storeys below ground | specific number
Project Quantities
Site area (within legal boundary of building site, excluding temporary working areas outside the site)
Covered area on plan
Gross external floor area as IPMS 1 (EXTERNAL)
Gross internal floor area as IPMS 2 (INTERNAL)
Functional units | number of occupants ¦ number of bedrooms ¦ number of hospital beds ¦ number of hotel rooms ¦ number of car parking spaces ¦ number of classrooms ¦ number of students ¦ number of passengers ¦ number of boarding gates ¦ other stated
Table 5: Roads, Runways and Motorways
Code
Local functional classification standard
• name of standard
• code number of construction
Works
Functional type | motorway ¦ highway ¦ freeway ¦ expressway ¦ road ¦ lane ¦ runway ¦ hardstanding
Nature | new build ¦ major adaptation ¦ temporary
Environmental grade
• grade and name of environmental certification
• status | targeted ¦ achieved ¦ none
Principal design features
• position | at grade ¦ in cutting ¦ on embankment ¦ elevated
• design speed | 60
• number of carriageways
• number of lanes per carriageway
• lane width
• hard shoulders | yes ¦ no
• footways | yes ¦ no
• footway width
• surfacing | flexible construction ¦ concrete pavement
• vertical profile | switchbacks ¦ undulating ¦ flat
• plan profile | straight ¦ winding
Project Complexity
• number of grade-separated intersections
• number of at-grade intersections
• number of crossings over other roads, railways, waterways, valleys and the like
• number of access ramps
Design life
Altitude
• minimum height of passageway above or below sea level
• maximum height of passageway above or below sea level
Dimensions
Total width of metalled surface of each road, runway or motorway (including hard shoulders but excluding footways)
Project Quantities
Total length (between two places, irrespective of number of lanes)
Equated lane length (being the length of all lanes along the route, including those in passing loops, sidings and depots reduced to a single length)
Total paved area
Functional units
• capacity
Table 7: Bridges
Code
Local functional classification standard
• name of standard
• code number of construction
Works
Functional type | roads ¦ rail ¦ conveyors ¦ pipeline ¦ canal ¦ pedestrians ¦ other stated
Nature | new build ¦ major adaptation ¦ temporary
Environmental grade
• grade and name of environmental certification
• status | targeted ¦ achieved ¦ none
Principal design features
• support | arch ¦ post and beam ¦ cantilever ¦ suspension ¦ cable-stayed ¦ other stated
• mobility | fixed ¦ movable ¦ temporary
• materials | natural materials ¦ wood ¦ concrete ¦ steel ¦ advanced materials ¦ other stated
Types of obstacles crossed | river and canal ¦ roads and motorways ¦ railways ¦ other stated
Project Complexity
• curvature (predominant) | straight ¦ curved
• number of access ramps
• number each of abutments/piers/towers with foundations in water
• number each of abutments/piers/towers with foundations not in water
Design life
Altitude
• average height of deck above or below sea level
Dimensions
• width (including walkways, hard shoulders and the like)
• maximum height above the lowest point land/water
• minimum clearance height
Project Quantities
Deck length measured from face to face of abutments
Surface area of deck
Functional units
• capacity | vehicles ¦ litres ¦ gallons ¦ tonnes ¦ tons per hour

## Total
N | სამუშაოების დასახელება | მასალების ღირებულება | ხელფასი | მექანიზმი/ტრანსპორტი | ჯამური ღირებულება | ღირებულება 1 მ²-ზე | % / 100 %
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
N | მ2 -ის ახალი ოფისი - "Office N2" | 25.05.2022
1.01 | მოსამზადებელი სამუშაოები | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 238
1.02 | არქიტექტურული სამუშაოები | 0 | 0 | 0 | 0 | 0 | #DIV/0!
1.02.1 | თეთრი კარკასის სამუშაოები | 0 | 0 | 0 | 0 | 0 | #DIV/0!
1.02.2 | მოპირკეთება | 0 | 0 | 0 | 0 | 0 | #DIV/0!
1.02.3 | სანტექნიკა | 0 | 0 | 0 | 0 | 0 | #DIV/0!
1.02.4 | კარები და აქსესუარები | 0 | 0 | 0 | 0 | 0 | #DIV/0!
1.02.5 | განათება, როზეტები და ჩამრთველები | 0 | 0 | 0 | 0 | 0 | #DIV/0!
1.03 | საინჟინრო ნაწილი | 0 | 0 | 0 | 0 | 0 | #DIV/0!
1.03.1 | ელექტრო სამონტაჟო სამუშაოები | 0 | 0 | 0 | 0 | 0 | #DIV/0!
1.03.2 | სუსტი დენები | 0 | 0 | 0 | 0 | 0 | #DIV/0!
1.04 | საბოლოო დასუფთავება |  |  |  | 0 | 0 | #DIV/0!
| ჯამი | 0 | 0 | 0 | 0 | 0
| დ.ღ.გ. 18% | 0 | 0 | 0 | 0 | 0
| ჯამი | 0 | 0 | 0 | 0 | 0

## 1.01_PRE
მ2 -ის ახალი ოფისი - "Office N2"
1.01 | მოსამზადებელი სამუშაოები
N | ნახაზის კოდი | სამუშაოების დასახელება | განზ. ერთ. | ნორმატიული |  | მასალა |  | ხელფასი |  | მექანიზმი/ტრანსპორტი |  | სულ | შენიშვნა
|  |  |  | ერთ. | რაოდ | ერთ. | ჯამი | ერთ. | ჯამი | ერთ. | ჯამი
[6 empty] | ფასი |  | ფასი |  | ფასი
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1.1 |  | ნაგვის გატანა | რეისი |  | 15 |  | 0 |  | 0 |  | 0 | 0
1.2 |  | დღიური მუშები | დღე |  | 60 |  | 0 |  | 0 |  | 0 | 0
|  | ჯამი |  |  |  |  | 0 |  | 0 |  | 0 | 0
|  | ზედნადები ხარჯები |  |  |  |  | 0 |  | 0 |  | 0 | 0
|  | ჯამი |  |  |  |  | 0 |  | 0 |  | 0 | 0
|  | გეგმიური დაგროვება |  |  |  |  | 0 |  | 0 |  | 0 | 0
|  | ჯამი |  |  |  |  | 0 |  | 0 |  | 0 | 0

## 1.02.1_SH&C
მ2 -ის ახალი ოფისი - "Office N2" | [13 empty] | 3.9758
1.02.1 | თეთრი კარკასის სამუშაოები
N | ნახაზის კოდი | სამუშაოების დასახელება | განზ. ერთ. | ნორმატიული |  | მასალა |  | ხელფასი |  | მექანიზმი/ტრანსპორტი |  | სულ | შენიშვნა
|  |  |  | ერთ. | რაოდ | ერთ. | ჯამი | ერთ. | ჯამი | ერთ. | ჯამი
[6 empty] | ფასი |  | ფასი |  | ფასი
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | იატაკი
1.1 | F-1A | იატაკის მოჭიმვა, ბეტონის იატაკი 10სმ | მ² |  | 57 |  |  |  | 0 |  |  | 0 |  |  | 0 | 12.5
1.1.1 |  | ბეტონის იატაკი | მ² | 1.05 | 59.85 |  | 0 |  |  |  | 0 | 0 |  |  | 110.1695 | 0 | 1.6949
1.2 | F-2A | იატაკის მოჭიმვა 10 სმ | მ² |  | 162 |  |  |  | 0 |  |  | 0 |  |  | 0 | 12.5
1.2.1 |  | ქვიშა-ცემენტის მოჭიმვა 50 მმ-ზე. მარკა 100 | მ³ | 0.058 | 9.396 |  | 0 |  |  |  | 0 | 0 |  |  | 110.1695 | 0 | 1.6949
1.2.2 |  | XPS 40 მმ | მ² | 1.05 | 170.1 |  | 0 |  |  |  | 0 | 0 |  |  | 0.84746 | 0
1.3 | F-3A | იატაკის მოჭიმვა 10 სმ | მ² |  | 12.7 |  |  |  | 0 |  |  | 0 |  |  | 0 | 12.5
1.3.1 |  | ქვიშა-ცემენტის მოჭიმვა 40-50 მმ-ზე. მარკა 100 | მ³ | 0.522 | 6.6294 |  | 0 |  |  |  | 0 | 0 |  |  | 110.1695 | 0 | 1.6949
1.3.2 |  | ჰიდროიზოლაცია | მ² | 1.1 | 13.97 |  | 0 |  |  |  | 0 | 0 |  |  | 110.1695 | 0 | 1.6949
1.3.3 |  | XPS 40 მმ | მ² | 1.05 | 13.335 |  | 0 |  |  |  | 0 | 0 |  |  | 0.84746 | 0
1.4 | F-4A | იატაკის მოჭიმვა 10სმ | მ² |  | 6.5 |  |  |  | 0 |  |  | 0 |  |  | 0 | 12.5
1.4.1 |  | ქვიშა-ცემენტის მოჭიმვა 50 მმ-ზე. მარკა 100 | მ³ | 0.058 | 0.377 |  | 0 |  |  |  | 0 | 0 |  |  | 110.1695 | 0 | 1.6949
1.4.2 |  | XPS 40 მმ | მ² | 1.05 | 6.825 |  | 0 |  |  |  | 0 | 0 |  |  | 110.1695 | 0 | 1.6949
1.5 |  | ბეტონის ჩასხმა | მ² |  | 120 |  |  |  | 0 |  |  | 0 |  |  | 0 | 12.5
1.5.1 |  | ბეტონი ბ-30 | მ³ | 0.1785 | 21.42 |  | 0 |  |  |  | 0 | 0 |  |  | 110.1695 | 0 | 1.6949
1.5.2 |  | არმატურა | ტ |  | 3.5986 |  | 0 |  |  |  | 0 | 0 |  |  | 110.1695 | 0 | 1.6949
1.5.3 |  | ყალიბი | მ² | 1 | 120 |  | 0 |  |  |  | 0 | 0 |  |  | 110.1695 | 0 | 1.6949
1.5.4 |  | დამხამრე მასალები | მ² | 1 | 120 |  | 0 |  |  |  | 0 | 0 |  |  | 110.1695 | 0 | 1.6949
2 | კედლები | [13 empty] | 0 | 0
2.1 | WP-03 | ბლოკის ტიხარი | მ² |  | 24 |  |  |  | 0 |  |  | 0 |  |  | 0 | 15
2.1.1 |  | 20იანი იზობლოკი | მ² | 1.05 | 25.2 |  | 0 |  |  |  | 0 | 0 |  |  | 13.5593 | 0 | 3
2.2 | WP-01 | თაბაშირმუყაოს ტიხარი 10 სმ | მ² |  | 108 |  |  |  | 0 |  |  | 0 |  |  | 0 | 15
2.2.1 |  | თაბაშირმუყაოს ტიხარი 10 სმ. 4 ფენა თეთრი თაბაშირმუყაო, კნაუფის ფორიფილები და 70 მმ ქვაბამბა | მ² | 1.05 | 113.4 |  | 0 |  |  |  | 0 | 0 |  |  | 13.5593 | 0 | 3
2.3 | WP-02 | თაბაშირმუყაოს ტიხარი 10 სმ | მ² |  | 40.5 |  |  |  | 0 |  |  | 0 |  |  | 0 | 15
2.3.1 |  | თაბაშირმუყაოს ტიხარი 10 სმ. 4 ფენა მვანე თაბაშირმუყაო, კნაუფის ფორიფილები და 70 მმ ქვაბამბა | მ² | 1.05 | 42.525 |  | 0 |  |  |  | 0 | 0 |  |  | 13.5593 | 0 | 3
2.4 |  | ლითონის მილკვადრატები კარების დასამაგრებლად | მ |  | 96 |  |  |  | 0 |  |  | 0 |  |  | 0 | 15
2.4.1 |  | ლითონის მილკვადრატები 50X50X3. შედუღება და ანტიკოროზიული საღებავით შეღებვა. | მ | 1.1 | 105.6 |  | 0 |  |  |  | 0 | 0 |  |  | 13.5593 | 0 | 3
2.5 |  | ბეტონის კედლები | მ² |  | 114 |  |  |  | 0 |  |  | 0 |  |  | 0 | 15
2.5.1 |  | ბეტონის კედლის დამუშავება, დასუფთავება და ლაქის წასმა | მ² | 1.05 | 119.7 |  | 0 |  |  |  | 0 | 0 |  |  | 13.5593 | 0 | 3
2.6 |  | ბლოკის კედლების ლესვა ქვიშაცემენტით | მ² |  | 15 |  |  |  | 0 |  |  | 0 |  |  | 0 | 15
2.6.1 |  | ქვიშაცემენტით ლესვა, სანიშნულე ფროფილებით | მ² | 1.05 | 15.75 |  | 0 |  |  |  | 0 | 0 |  |  | 13.5593 | 0 | 3
2.7 |  | კედლების ლესვა rotband | მ² |  | 189 |  |  |  | 0 |  |  | 0 |  |  | 0 | 7.5
2.7.1 |  | Rotband | კგ | 40 | 7560 |  | 0 |  |  |  | 0 | 0 |  |  | 1.6949 | 0 | 0.2
2.7.2 |  | კუთხოვანები | მ | 1.1 | 50.6 |  | 0 |  |  |  | 0 | 0 |  |  | 1.6949 | 0 | 0.2
3 | ჭერები | [13 empty] | 0 | 0
3.1 | CE-01 | თაბაშირმუყაოს ჭერი - თეთრი | მ² |  | 13.7 |  |  |  | 0 |  |  | 0 |  |  | 0 | 15
3.1.1 |  | თაბაშირმუყაოს ერთი ფენა, კნაუფის სისტემა 0.5 სისქის | მ² | 1.05 | 14.385 |  | 0 |  |  |  | 0 | 0 |  |  | 13.5593 | 0 | 3
3.2 | CE-02 | თაბაშირმუყაოს ჭერი - მწვანე | მ² |  | 12.7 |  |  |  | 0 |  |  | 0 |  |  | 0 | 15
3.2.1 |  | თაბაშირმუყაოს ერთი ფენა, კნაუფის სისტემა 0.5 სისქის | მ² | 1.05 | 13.335 |  | 0 |  |  |  | 0 | 0 |  |  | 13.5593 | 0 | 3
3.3 | CE-03 | ბეტონის ჭერი | მ² |  | 202 |  |  |  | 0 |  |  | 0 |  |  | 0 | 15
3.3.1 |  | ბეტონის ჭერის დამუშავება, დასუფთავება და ლაქის წასმა | მ² | 1.05 | 212.1 |  | 0 |  |  |  | 0 | 0 |  |  | 13.5593 | 0 | 3
|  | ჯამი |  |  |  |  | 0 |  | 0 |  | 0 | 0
|  | ზედნადები ხარჯები |  |  | 0% |  | 0 |  | 0 |  | 0 | 0
|  | ჯამი |  |  |  |  | 0 |  | 0 |  | 0 | 0
|  | გეგმიური დაგროვება |  |  | 0% |  | 0 |  | 0 |  | 0 | 0
|  | ჯამი |  |  |  |  | 0 |  | 0 |  | 0 | 0

## 1.02.2_FITOUT
მ2 -ის ახალი ოფისი - "Office N2"
1.02.2 | მოპირკეთება
N | ნახაზის კოდი | სამუშაოების დასახელება | განზ. ერთ. | ნორმატიული |  | მასალა |  | ხელფასი |  | მექანიზმი/ტრანსპორტი |  | სულ | შენიშვნა
|  |  |  | ერთ. | რაოდ | ერთ. | ჯამი | ერთ. | ჯამი | ერთ. | ჯამი
[6 empty] | ფასი |  | ფასი |  | ფასი
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | იატაკი
1.1 | CP-01 | ხალიჩა | მ² |  | 162 |  |  |  | 0 |  |  | 0 |  | 0 | 5
1.1.1 |  | ხალიჩა | მ² | 1.1 | 178.2 |  | 0 |  |  |  | 0 | 0 |  | 5.0847 | 0 | 0.1
1.1.2 |  | თვითსწორებადი | მ² | 1.05 | 170.1 |  | 0 |  |  |  |  | 0 |  | 5.0847 | 0 | 0.1
1.1.3 |  | წებო | კგ | 1.5 | 243 |  | 0 |  |  |  |  | 0 |  | 5.0847 | 0 | 0.1
1.1.4 |  | გრუნტი | მ² | 1 | 162 |  | 0 |  |  |  | 0 | 0 |  | 5.0847 | 0 | 0.1
1.2 | CT-01 | კერამიკული ფილა | მ² |  | 19.2 |  |  |  | 0 |  |  | 0 |  | 0 | 5
1.2.1 |  | AMIGO/ARGENTA AR DUEN BLUE RECT. MSTT 37.5X150 | მ² | 1.1 | 21.12 |  | 0 |  |  |  | 0 | 0 |  | 5.0847 | 0 | 0.1
1.2.2 |  | წებოცემენტი | კგ | 7 | 134.4 |  | 0 |  |  |  |  | 0 |  | 5.0847 | 0 | 0.1
1.2.3 |  | კლიფსები | ც | 8 | 153.6 |  | 0 |  |  |  |  | 0 |  | 5.0847 | 0 | 0.1
1.2.4 |  | ფუგა | კგ | 5 | 96 |  | 0 |  |  |  | 0 | 0 |  | 5.0847 | 0 | 0.1
1.3 |  | პლინტუსი მდფ | მ |  | 165 |  |  |  | 0 |  |  | 0 |  | 0 | 31.25
1.3.1 |  | შეღებილი მდფ-ს პლინტუსი 70 მმ | მ | 1.1 | 181.5 |  | 0 |  |  |  | 0 | 0 |  | 33.8983 | 0 | 2
1.4 |  | ალუმინის გადამყვანი | მ |  | 4 |  |  |  | 0 |  |  | 0 |  | 0 | 31.25
1.4.1 |  | ალუმინის წვრილი პროფილი | მ | 1.1 | 4.4 |  | 0 |  |  |  | 0 | 0 |  | 33.8983 | 0 | 2
2 | კედლები | [12 empty] | 0 | 0
2.1 | PT-01 | ღებვა | მ² |  | 59.4 |  |  |  | 0 |  |  | 0 |  | 0 | 31.25
2.1.1 |  | Caparol - Samtex 7 - Patina 50 | მ² | 1.05 | 62.37 |  | 0 |  |  |  | 0 | 0 |  | 5.0847 | 0 | 0.1
2.1.2 |  | ფრიზერინი | მ² | 1.05 | 62.37 |  | 0 |  |  |  |  | 0 |  | 5.0847 | 0 | 0.1
2.1.3 |  | გრუნტი | მ² | 1.05 | 62.37 |  | 0 |  |  |  |  | 0 |  | 5.0847 | 0 | 0.1
2.2 | PT-02 | ღებვა | მ² |  | 267 |  |  |  | 0 |  |  | 0 |  | 0 | 31.25
2.2.1 |  | Caparol - samtex 7 - Granit 60 | მ² | 1.05 | 280.35 |  | 0 |  |  |  | 0 | 0 |  | 5.0847 | 0 | 0.1
2.2.2 |  | ფრიზერინი | მ² | 1.05 | 280.35 |  | 0 |  |  |  |  | 0 |  | 5.0847 | 0 | 0.1
2.2.3 |  | გრუნტი | მ² | 1.05 | 280.35 |  | 0 |  |  |  |  | 0 |  | 5.0847 | 0 | 0.1
2.3 | PT-02' | ღებვა | მ² |  | 23.8 |  |  |  | 0 |  |  | 0 |  | 0 | 31.25
2.3.1 |  | Caparol - Amphibolin - Caparol Granit 60 | მ² | 1.05 | 24.99 |  | 0 |  |  |  | 0 | 0 |  | 5.0847 | 0 | 0.1
2.3.3 |  | გრუნტი | მ² | 1.05 | 24.99 |  | 0 |  |  |  |  | 0 |  | 5.0847 | 0 | 0.1
2.4 | PT-03 | თეთრი აგურის კედელი | მ² |  | 41.1 |  |  |  | 0 |  |  | 0 |  | 0 | 5
2.4.1 |  | თეთრი აგური | მ² | 1.1 | 45.21 |  | 0 |  |  |  | 0 | 0 |  | 5.0847 | 0 | 0.1
2.4.2 |  | წებოცემენტი | კგ | 7 | 287.7 |  | 0 |  |  |  |  | 0 |  | 5.0847 | 0 | 0.1
2.4.3 |  | ფუგა | კგ | 15 | 616.5 |  | 0 |  |  |  | 0 | 0 |  | 5.0847 | 0 | 0.1
2.5 | TL-1 | კერამიკული ფილა | მ² |  | 8.04 |  |  |  | 0 |  |  | 0 |  | 0 | 5
2.5.1 |  | BALDOCER GEMDTONE EMERALD 7.5X30 | მ² | 1.1 | 8.844 |  | 0 |  |  |  | 0 | 0 |  | 5.0847 | 0 | 0.1
2.5.2 |  | წებოცემენტი | კგ | 7 | 56.28 |  | 0 |  |  |  |  | 0 |  | 5.0847 | 0 | 0.1
2.5.3 |  | კლიფსები | ც | 8 | 64.32 |  | 0 |  |  |  |  | 0 |  | 5.0847 | 0 | 0.1
2.5.4 |  | ფუგა | კგ | 5 | 40.2 |  | 0 |  |  |  | 0 | 0 |  | 5.0847 | 0 | 0.1
2.6 | TL-2 | კერამიკული ფილა | მ² |  | 6.75 |  |  |  | 0 |  |  | 0 |  | 0 | 5
2.6.1 |  | BALDOCER GEMDTONE EMERALD 7.5X30 | მ² | 1.1 | 7.425 |  | 0 |  |  |  | 0 | 0 |  | 5.0847 | 0 | 0.1
2.6.2 |  | წებოცემენტი | კგ | 7 | 47.25 |  | 0 |  |  |  |  | 0 |  | 5.0847 | 0 | 0.1
2.6.3 |  | კლიფსები | ც | 8 | 54 |  | 0 |  |  |  |  | 0 |  | 5.0847 | 0 | 0.1
2.6.4 |  | ფუგა | კგ | 5 | 33.75 |  | 0 |  |  |  | 0 | 0 |  | 5.0847 | 0 | 0.1
2.7 | TL-2 | კერამიკული ფილა | მ² |  | 8.04 |  |  |  | 0 |  |  | 0 |  | 0 | 5
2.7.1 |  | BALDOCER GEMDTONE EMERALD 7.5X30 | მ² | 1.1 | 8.844 |  | 0 |  |  |  | 0 | 0 |  | 5.0847 | 0 | 0.1
2.7.2 |  | წებოცემენტი | კგ | 7 | 56.28 |  | 0 |  |  |  |  | 0 |  | 5.0847 | 0 | 0.1
2.7.3 |  | კლიფსები | ც | 8 | 64.32 |  | 0 |  |  |  |  | 0 |  | 5.0847 | 0 | 0.1
2.7.4 |  | ფუგა | კგ | 5 | 40.2 |  | 0 |  |  |  | 0 | 0 |  | 5.0847 | 0 | 0.1
2.8 | PT-05 | MDF-ის პანელი მუხის შპონით კარების ჩათვლით | მ² |  | 72 |  |  |  | 0 |  |  | 0 |  | 0 | 5
2.8.1 |  | მუხის დაშპონილი მდფ ქვეკონსტრუქციით და კარებით. 14 მმ მდფ - კარები დამალული ანჯამით. | მ² | 1.05 | 75.6 |  | 0 |  |  |  | 0 | 0 |  | 1.6949 | 0 | 0.1
2.9 |  | ალუმინის შიდა ვიტრაჟები | მ² |  | 17.6 |  |  |  | 0 |  |  | 0 |  | 0 | 5
2.9.1 |  | ალუმინის იზო პროფილი Asas. მინა guardians 6x4x20x6 | მ² | 1 | 17.6 |  | 0 |  |  |  | 0 | 0 |  | 1.6949 | 0 | 0.1
2.1 |  | კუთხის პროფილი კერამიკული ფილისთვის | მ² |  | 4 |  |  |  | 0 |  |  | 0 |  | 0 | 5
2.10.1 |  | კუთხის პროფილი კერამიკული ფილისთვის | მ² | 1.1 | 4.4 |  | 0 |  |  |  | 0 | 0 |  | 5.0847 | 0 | 0.1
2.11 | CT-02 | კერამიკული ფილა | მ² |  | 1.8 |  |  |  | 0 |  |  | 0 |  | 0 | 5
2.11.1 |  | Vitra - 20x20 miniworx RAL 9016 White Tile Glossy | მ² | 1.1 | 1.98 |  | 0 |  |  |  | 0 | 0 |  | 5.0847 | 0 | 0.1
2.11.2 |  | წებოცემენტი | კგ | 7 | 12.6 |  | 0 |  |  |  |  | 0 |  | 5.0847 | 0 | 0.1
2.11.3 |  | კლიფსები | ც | 8 | 14.4 |  | 0 |  |  |  |  | 0 |  | 5.0847 | 0 | 0.1
2.11.4 |  | ფუგა | კგ | 5 | 9 |  | 0 |  |  |  | 0 | 0 |  | 5.0847 | 0 | 0.1
3 | ჭერები | [12 empty] | 0 | 0
3.1 | PT-04 | ღებვა | მ² |  | 13.7 |  |  |  | 0 |  |  | 0 |  | 0 | 31.25
3.1.1 |  | Caparol - Amphibolic- თეთრი | მ² | 1.05 | 14.385 |  | 0 |  |  |  | 0 | 0 |  | 5.0847 | 0 | 0.1
3.1.2 |  | გრუნტი | მ² | 1.05 | 14.385 |  | 0 |  |  |  |  | 0 |  | 5.0847 | 0 | 0.1
3.2 | PT-04' | ღებვა | მ² |  | 12.7 |  |  |  | 0 |  |  | 0 |  | 0 | 31.25
3.2.1 |  | Caparol - Amphibolic- თეთრი | მ² | 1.05 | 13.335 |  | 0 |  |  |  | 0 | 0 |  | 5.0847 | 0 | 0.1
3.2.2 |  | გრუნტი | მ² | 1.05 | 13.335 |  | 0 |  |  |  |  | 0 |  | 5.0847 | 0 | 0.1
4 | სხვა | [12 empty] | 0 | 0
4.1 |  | საფეხურები ბეტონის | ც |  | 18 |  |  |  | 0 |  |  | 0 |  | 0 | 31.25
4.1.1 |  | ფიბრობეტონის საფეხურები | ც | 1 | 18 |  | 0 |  |  |  | 0 | 0 |  | 5.0847 | 0 | 0.1
4.1.2 |  | ქვეკონსტრუქცია და სამაგრები | ც | 1 | 18 |  | 0 |  |  |  |  | 0 |  | 5.0847 | 0 | 0.1
4.2 |  | მოაჯირი ზედაპირი შეღებილი მდფ | მ |  | 9 |  |  |  | 0 |  |  | 0 |  | 0 | 31.25
4.2.1 |  | ზედაპირი შეღებილი მდფ | მ | 1.1 | 9.9 |  | 0 |  |  |  | 0 | 0 |  | 5.0847 | 0 | 0.1
|  | ჯამი |  |  |  |  | 0 |  | 0 |  | 0 | 0
|  | ზედნადები ხარჯები |  |  | 0% |  | 0 |  | 0 |  | 0 | 0
|  | ჯამი |  |  |  |  | 0 |  | 0 |  | 0 | 0
|  | გეგმიური დაგროვება |  |  | 0% |  | 0 |  | 0 |  | 0 | 0
|  | ჯამი |  |  |  |  | 0 |  | 0 |  | 0 | 0

## 1.02.3_SANITARY ACCESSORIES
მ2 -ის ახალი ოფისი - "Office N2"
1.02.3 | სანტექნიკა
N | ნახაზის კოდი | სამუშაოების დასახელება | განზ. ერთ. | ნორმატიული |  | მასალა |  | ხელფასი |  | მექანიზმი/ტრანსპორტი |  | სულ | შენიშვნა
|  |  |  | ერთ. | რაოდ | ერთ. | ჯამი | ერთ. | ჯამი | ერთ. | ჯამი
[6 empty] | ფასი |  | ფასი |  | ფასი
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1.1 | SF-01 | ონკანი - VitrA A41936EXP Spout length: 125 mm • Spout height: 88 mm • Cache coin slot aerator • Max. 5 L/min. flow rate • Cartridge with temperature limite | ც |  | 2 |  | 0 |  | 0 |  | 0 | 0 |  | 0 | 5
1.2 | SF-02 | უნიტაზი - VitrA 5332L003-0096 5422B003-5450 Close-coupled WC pan, back-towall, 65 cm , Bottom inlet, dual flush cistern mechanism included Universal outlet. White | ც |  | 2 |  | 0 |  | 0 |  | 0 | 0 |  | 5.0847 | 0 | 0.1
1.3 | SF-03 | ხელსაბანი -VitrA 7076B003-0937 One tap hole, without overflow hole, for countertop use. White | ც |  | 2 |  | 0 |  | 0 |  | 0 | 0 |  | 5.0847 | 0 | 0.1
1.4 | SF-04 | სიფონი - VitrA A45123 • For 1 1/4” waste sets • Adjustment range: 69-125 mm • Distance to wall: 76-290 mm • Refer to page 652 to choose waste set or choose a basin mixer with pop-up | ც |  | 3 |  | 0 |  | 0 |  | 0 | 0 |  | 5.0847 | 0 | 0.1
1.5 | SF-05 | ჩამკეტი - VitrA A45149 For basins with overflow hole • Push-open plug • For 1 1/4” traps • Refer to page 650-651 to choose trap | ც |  | 3 |  | 0 |  | 0 |  | 0 | 0 |  | 5.0847 | 0 | 0.1
1.6 | SF-06 | ტრაპი | ც |  | 4 |  | 0 |  | 0 |  | 0 | 0 |  | 0 | 31.25
1.7 | SF-07 | სარკე | ც |  | 2 |  | 0 |  | 0 |  | 0 | 0 |  | 0 | 5
1.8 | SF-08 | საქაღალდე (ხელსახოცი) | ც |  | 3 |  | 0 |  | 0 |  | 0 | 0 |  | 5.0847 | 0 | 0.1
1.9 | SF-09 | დისპენსერი საპნის | ც |  | 3 |  | 0 |  | 0 |  | 0 | 0 |  | 5.0847 | 0 | 0.1
1.1 | SF-10 | უნიტაზის ჩოთქი | ც |  | 3 |  | 0 |  | 0 |  | 0 | 0 |  | 5.0847 | 0 | 0.1
1.11 | SF-11 | ტუალეტის ქაღალდის დამჭერი | ც |  | 3 |  | 0 |  | 0 |  | 0 | 0 |  | 5.0847 | 0 | 0.1
1.12 | SF-12 | ხელსაბანი შშმ | ც |  | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 5.0847 | 0 | 0.1
1.13 | SF-13 | უნიტაზი შშმ ცისტერნით და ჩამრეცხით | ც |  | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 5.0847 | 0 | 0.1
1.14 | SF-14 | ონკანი შშმ | ც |  | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 5.0847 | 0 | 0.1
1.15 | SF-15 | შშმ სახელური | ც |  | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 5.0847 | 0 | 0.1
1.16 | SF-16 | სარკე შშმ | ც |  | 1 |  | 0 |  | 0 |  | 0 | 0 |  | 0 | 5
|  | ჯამი |  |  |  |  | 0 |  | 0 |  | 0 | 0
|  | ზედნადები ხარჯები |  |  | 0% |  | 0 |  | 0 |  | 0 | 0
|  | ჯამი |  |  |  |  | 0 |  | 0 |  | 0 | 0
|  | გეგმიური დაგროვება |  |  | 0% |  | 0 |  | 0 |  | 0 | 0
|  | ჯამი |  |  |  |  | 0 |  | 0 |  | 0 | 0

## 1.02.4_DOOR AN IRONMONGERY
მ2 -ის ახალი ოფისი - "Office N2" | [13 empty] | #REF! | #REF!
1.02.4 | კარები და აქსესუარები
N | ნახაზის კოდი | სამუშაოების დასახელება | განზ. ერთ. | ნორმატიული |  | მასალა |  | ხელფასი |  | მექანიზმი/ტრანსპორტი |  | სულ | შენიშვნა
|  |  |  | ერთ. | რაოდ | ერთ. | ჯამი | ერთ. | ჯამი | ერთ. | ჯამი
[6 empty] | ფასი |  | ფასი |  | ფასი
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | კარები
1.1 | Type 1 | MDF-ის შეღებილი კარი | ც |  | 1 |  | 0 |  | 0 |  | 0 | 0 | 90X220 |  |  | 0 | 5
1.2 | Type 2 | MDF-ის შეღებილი კარი | ც |  | 2 |  | 0 |  | 0 |  | 0 | 0 | 80X220 |  |  | 0 | 5
1.3 | Type 3 | MDF-ის შეღებილი კარი | ც |  | 1 |  | 0 |  | 0 |  | 0 | 0 | 100X220 |  |  | 0 | 5
1.4 | Type 4 | რკინის კარი | ც |  | 1 |  | 0 |  | 0 |  | 0 | 0 | 100X220 |  |  | 0 | 5
1.5 |  | სლაიდერი კარი (მექანიზმით, სახელურით და კედლებით) | ც |  | 2 |  | 0 |  | 0 |  | 0 | 0 |  |  |  | 0 | 5
1.6 |  | სახელური | ც |  | 12 |  | 0 |  | 0 |  | 0 | 0 |  |  |  | 33.8983 | 0 | 2
1.7 |  | საკეტი | ც |  | 12 |  | 0 |  | 0 |  | 0 | 0 |  |  |  | 33.8983 | 0 | 2
1.8 |  | სტოპერი | ც |  | 12 |  | 0 |  | 0 |  | 0 | 0 |  |  |  | 33.8983 | 0 | 2
|  | ჯამი |  |  |  |  | 0 |  | 0 |  | 0 | 0
|  | ზედნადები ხარჯები |  |  | 0% |  | 0 |  | 0 |  | 0 | 0
|  | ჯამი |  |  |  |  | 0 |  | 0 |  | 0 | 0
|  | გეგმიური დაგროვება |  |  | 0% |  | 0 |  | 0 |  | 0 | 0
|  | ჯამი |  |  |  |  | 0 |  | 0 |  | 0 | 0

## 1.02.5_LIGHTING
მ2 -ის ახალი ოფისი - "Office N2"
1.02.5 | განათება, როზეტები და ჩამრთველები
N | ნახაზის კოდი | სამუშაოების დასახელება | განზ. ერთ. | ნორმატიული |  | მასალა |  | ხელფასი |  | მექანიზმი/ტრანსპორტი |  | სულ | შენიშვნა
|  |  |  | ერთ. | რაოდ | ერთ. | ჯამი | ერთ. | ჯამი | ერთ. | ჯამი
[6 empty] | ფასი |  | ფასი |  | ფასი
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | განათება
1.1 | LF-01 | წერტილოვანი სანათი | ც |  | 19 |  | 0 |  | 0 |  | 0 | 0 |  | 0 | 5
1.2 | LF-02 | სანათი | ც |  | 72 |  | 0 |  | 0 |  | 0 | 0 |  | 5.0847 | 0 | 0.1
1.3 | LF-03 | სანათი | ც |  | 12 |  | 0 |  | 0 |  | 0 | 0 |  | 5.0847 | 0 | 0.1
2 | როზეტები
2.1 | SO-1 | როზეტი დამიწებით | ც |  | 102 |  | 0 |  | 0 |  | 0 | 0
2.2 |  | ჩარჩო 2-იანი | ც |  | 25 |  | 0 |  | 0 |  | 0 | 0
2.3 |  | ჩარჩო 3-იანი | ც |  | 10 |  | 0 |  | 0 |  | 0 | 0
2.4 |  | ოატაკის როზეტები ყუთი FB-01 5 დენი და 3 ქსელის როზეტთ | ც |  | 6 |  | 0 |  | 0 |  | 0 | 0
2.5 |  | ოატაკის როზეტები ყუთი FB-04 3 დენი, 3 HDMI და 3 ქსელის როზეტთ | ც |  | 2 |  | 0 |  | 0 |  | 0 | 0
2.6 | SO-3 | HDMI როზეტი | ც |  | 2 |  | 0 |  | 0 |  | 0 | 0
3 | ჩამრთველები
3.1 | LT01 | ჩამრთველი 1 კლავიშიანი | ც |  | 16 |  | 0 |  | 0 |  | 0 | 0
3.2 | LT02 | ჩამრთველი 2 კლავიშიანი | ც |  | 4 |  | 0 |  | 0 |  | 0 | 0
|  | ჯამი |  |  |  |  | 0 |  | 0 |  | 0 | 0
|  | ზედნადები ხარჯები |  |  | 0% |  | 0 |  | 0 |  | 0 | 0
|  | ჯამი |  |  |  |  | 0 |  | 0 |  | 0 | 0
|  | გეგმიური დაგროვება |  |  | 0% |  | 0 |  | 0 |  | 0 | 0
|  | ჯამი |  |  |  |  | 0 |  | 0 |  | 0 | 0

## 1.03.2_LV
მ2 -ის ახალი ოფისი - "Office N2"
1.03.2 | სუსტი დენები
N | ნახაზის კოდი | სამუშაოების დასახელება | განზ. ერთ. | ნორმატიული |  | მასალა |  | ხელფასი |  | მექანიზმი/ტრანსპორტი |  | სულ | შენიშვნა
|  |  |  | ერთ. | რაოდ | ერთ. | ჯამი | ერთ. | ჯამი | ერთ. | ჯამი
[6 empty] | ფასი |  | ფასი |  | ფასი
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1
1.1 |  | სახანძრო სიგნალიზაციის პანელი 1 ლუპზე | კომპ. |  | 1 |  | 0 |  | 0 |  | 0 | 0
1.2 |  | კვამლის დეტექტორი ბაზით | ც. |  | 16 |  | 0 |  | 0 |  | 0 | 0
1.3 |  | ხანძარ მაუწყებელი ღილაკი | ც. |  | 2 |  | 0 |  | 0 |  | 0 | 0
1.4 |  | ხანძარ მაუწყებელი გარე გამოყენების სტროპ სირენა | ც. |  | 2 |  | 0 |  | 0 |  | 0 | 0
1.5 |  | 2x2x0.8 mm სახანძრო | მ |  | 400 |  | 0 |  | 0 |  | 0 | 0
1.6 |  | სპიკერი 6-8 W | მ |  | 4 |  | 0 |  | 0 |  | 0 | 0
1.7 |  | გახმოვანები ტავარი პანლეი ბატერით და დამტენით 50 W | ც. |  | 1 |  | 0 |  | 0 |  | 0 | 0
1.8 |  | გახმოანების კაბელი 2x1.5 | მ |  | 160 |  | 0 |  | 0 |  | 0 | 0
1.9 |  | საკომუნიკაციო რეკი 22 U | ც. |  | 1 |  | 0 |  | 0 |  | 0 | 0
1.1 | SO-2 | RJ45 როზეტი | ც. |  | 51 |  | 0 |  | 0 |  | 0 | 0
1.11 |  | ქსელი კაბელი cat6 | კომპ. |  | 2250 |  | 0 |  | 0 |  | 0 | 0
|  | ჯამი |  |  |  |  | 0 |  | 0 |  | 0 | 0
|  | ზედნადები ხარჯები |  |  | 0% |  | 0 |  | 0 |  | 0 | 0
|  | ჯამი |  |  |  |  | 0 |  | 0 |  | 0 | 0
|  | გეგმიური დაგროვება |  |  | 0% |  | 0 |  | 0 |  | 0 | 0
|  | ჯამი |  |  |  |  | 0 |  | 0 |  | 0 | 0

## 1.03.1_EL
მ2 -ის ახალი ოფისი - "Office N2"
1.03.1 | ელექტრო სამონტაჟო სამუშაოები
N | ნახაზის კოდი | სამუშაოების დასახელება | განზ. ერთ. | ნორმატიული |  | მასალა |  | ხელფასი |  | მექანიზმი/ტრანსპორტი |  | სულ | შენიშვნა
|  |  |  | ერთ. | რაოდ | ერთ. | ჯამი | ერთ. | ჯამი | ერთ. | ჯამი
[6 empty] | ფასი |  | ფასი |  | ფასი
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 | კაბელი
1.1 |  | სპილენძის კაბელი 3x2,5 მმ² NYM | მ. |  | 600 |  | 0 |  | 0 |  | 0 | 0
1.2 |  | სპილენძის კაბელი 3x1,5 მმ² NYM | მ. |  | 130 |  | 0 |  | 0 |  | 0 | 0
2 | გამანაილებელი ფარები
2.1 |  | DB OF 03 (იხილეთ საკაბელო ჟირნალი) | კომ. |  |  |  | 0 |  | 0 |  | 0 | 0
|  | ჯამი |  |  |  |  | 0 |  | 0 |  | 0 | 0
|  | ზედნადები ხარჯები |  |  | 0% |  | 0 |  | 0 |  | 0 | 0
|  | ჯამი |  |  |  |  | 0 |  | 0 |  | 0 | 0
|  | გეგმიური დაგროვება |  |  | 0% |  | 0 |  | 0 |  | 0 | 0
|  | ჯამი |  |  |  |  | 0 |  | 0 |  | 0 | 0

## W (hidden)
სამუშაოების მონაცემთა ბაზა
N | ნახაზის კოდი | სამუშაოების დასახელება | განზ. ერთ. | ნორმატიული |  | მასალა |  | ხელფასი |  | მექანიზმი/ტრანსპორტი |  | სულ | შენიშვნა
|  |  |  | ერთ. | რაოდ | ერთ. | ჯამი | ერთ. | ჯამი | ერთ. | ჯამი
[6 empty] | ფასი |  | ფასი |  | ფასი
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
1 |  | მიწის სამუშაოები
1.1 |  | არაკდლოვანი გრუნტის დამუშავება ხელით | მ³ |  | 1 | [6 empty] | 0
|  | შრომითი დანახარჯი | მ³ | 1 | 1 |  |  |  |  | 4.65 | 4.65 | 4.65
1.1 |  | არაკდლოვანი გრუნტის დატვირთვა ავტოთვითმცლელზე ხელით | მ³ |  | 1 | [6 empty] | 0
|  | შრომითი დანახარჯი | მ³ | 1 | 1 |  |  |  |  | 1.56 | 1.56 | 1.56
1.1 |  | არაკდლოვანი გრუნტის დამუშავება ქვაბულში და დატვირთვა ექსკავატორით ავტოთვითმცლელზე | მ³ |  | 1 | [6 empty] | 0 | 0-500 მ³
|  | ექსაკავტორი 0.5 მ³ მუხლუხა სვლაზე | მ³ | 1 | 1 |  |  |  |  | 1.36 | 1.36 | 1.36
1.1 |  | კდლოვანი გრუნტის დამუშავება ქვაბულში და დატვირთვა ექსკავატორით ავტოთვითმცლელზე | მ³ |  | 1 | [6 empty] | 0 | 0-500 მ³
|  | ექსაკავტორი 0.5 მ³ მუხლუხა სვლაზე | მ³ | 1 | 1 |  |  |  |  | 1.58 | 1.58 | 1.58
1.1 |  | არაკდლოვანი გრუნტის დამუშავება ქვაბულში და დატვირთვა ექსკავატორით ავტოთვითმცლელზე | მ³ |  | 1 | [6 empty] | 0 | 500-1000 მ³
|  | ექსაკავტორი 0.5 მ³ მუხლუხა სვლაზე | მ³ | 1 | 1 |  |  |  |  | 0.89 | 0.89 | 0.89
1.1 |  | კდლოვანი გრუნტის დამუშავება ქვაბულში და დატვირთვა ექსკავატორით ავტოთვითმცლელზე | მ³ |  | 1 | [6 empty] | 0 | 500-1000 მ³
|  | ექსაკავტორი 0.5 მ³ მუხლუხა სვლაზე | მ³ | 1 | 1 |  |  |  |  | 1.8 | 1.8 | 1.8
1.1 |  | არაკდლოვანი გრუნტის დამუშავება ქვაბულში და დატვირთვა ექსკავატორით ავტოთვითმცლელზე | მ³ |  | 1 | [6 empty] | 0 | 1000-3000 მ³
|  | ექსაკავტორი 0.5 მ³ მუხლუხა სვლაზე | მ³ | 1 | 1 |  |  |  |  | 0.89 | 0.89 | 0.89
1.1 |  | კდლოვანი გრუნტის დამუშავება ქვაბულში და დატვირთვა ექსკავატორით ავტოთვითმცლელზე | მ³ |  | 1 | [6 empty] | 0 | 1000-3000 მ³
|  | ექსაკავტორი 0.5 მ³ მუხლუხა სვლაზე | მ³ | 1 | 1 |  |  |  |  | 1.86 | 1.86 | 1.86
1.1 |  | არაკდლოვანი გრუნტის დამუშავება ქვაბულში და დატვირთვა ექსკავატორით ავტოთვითმცლელზე | მ³ |  | 1 | [6 empty] | 0 | 3000-7000 მ³
|  | ექსაკავტორი 1 მ³ მუხლუხა სვლაზე | მ³ | 1 | 1 |  |  |  |  | 0.98 | 0.98 | 0.98
1.1 |  | კდლოვანი გრუნტის დამუშავება ქვაბულში და დატვირთვა ექსკავატორით ავტოთვითმცლელზე | მ³ |  | 1 | [6 empty] | 0 | 3000-7000 მ³
|  | ექსაკავტორი 1 მ³ მუხლუხა სვლაზე | მ³ | 1 | 1 |  |  |  |  | 1.93 | 1.93 | 1.93
1.1 |  | გრუნტის უკუჩაყრა ბულდოზერით ქვაბულში | მ³ |  | 1 | [6 empty] | 0
|  | ბულდოზერი 96 კვტ (130 ც.ძ) | მ³ | 1 | 1 |  |  |  |  | 0.13 | 0.13 | 0.13
1.1 |  | ზედაპირის მოსწორება ბულდოზერით | მ² |  | 1 | [6 empty] | 0
|  | ბულდოზერი 96 კვტ (130 ც.ძ) | მ³ | 1 | 1 |  |  |  |  | 0.01 | 0.01 | 0.01
1.1 |  | გრუნტის ტრანსპორტირება ნაყარში 30 კმ-ზე | ტ |  | 1 | [6 empty] | 0
|  | ავტოთვითმცლელი 20 ტ, მანძილი 30 კმ | ტ | 1 | 1 |  |  |  |  | 2.81 | 2.81 | 2.81
2 |  | რკინაბეტონის სამუშაოები
2.1 |  | ბეტონის მომზადების მოწყობა | მ³ |  | 1 |  |  | 7.4 | 7.4 |  |  | 7.4
|  | ბეტონი B-7,5 | მ³ | 1.02 | 1.02 | 31.17 | 31.79 |  |  | 0.64 | 0.65 | 32.44
2.1 |  | საძირკვლის ჰიდროიზოლაციის მოწყობა, 1 ფენა | მ² |  | 1 |  |  | 1.2 | 1.2 |  |  | 1.2
|  | ჰიდროსაიზოლაციო მასალა, Icopal ultra N | მ² | 1.1 | 1.1 | 2.56 | 2.82 |  |  | 0.05 | 0.06 | 2.88
|  | ბიტუმის პრაიმერი, Icopal | ლ | 0.2 | 0.2 | 0.94 | 0.19 |  |  | 0.02 | 0 | 0.19
|  | დამხმარე მასალები | მ² | 1 | 1 | 0.63 | 0.63 |  |  | 0.01 | 0.01 | 0.64
2.1 |  | კედლის ჰიდროიზოლაციის მოწყობა, 1 ფენა | მ² |  | 1 |  |  | 1.71 | 1.71 |  |  | 1.71
|  | ჰიდროსაიზოლაციო მასალა, Icopal ultra N | მ² | 1.1 | 1.1 | 2.56 | 2.82 |  |  | 0.05 | 0.06 | 2.88
|  | ბიტუმის პრაიმერი, Icopal | ლ | 0.2 | 0.2 | 0.94 | 0.19 |  |  | 0.02 | 0 | 0.19
|  | ვილადრეინი 500, Icopal | მ² | 1.1 | 1.1 | 1.13 | 1.24 |  |  | 0.02 | 0.02 | 1.26
|  | დამხმარე მასალები | მ² | 1 | 1 | 0.31 | 0.31 |  |  | 0.01 | 0.01 | 0.32
2.1 |  | სახურავის ჰიდროიზოლაციის მოწყობა, 2 ფენა | მ² |  | 1 |  |  | 1.03 | 1.03 |  |  | 1.03
|  | ლინოკრომი, ქვედა ფენა | მ² | 1.1 | 1.1 | 1.64 | 1.8 |  |  | 0.03 | 0.03 | 1.83
|  | ლინოკრომი, ზედა ფენა | მ² | 1.1 | 1.1 | 1.43 | 1.57 |  |  | 0.03 | 0.03 | 1.6
|  | დამხმარე მასალები | მ² | 1 | 1 | 0.31 | 0.31 |  |  | 0.01 | 0.01 | 0.32
2.1 |  | რკინაბეტონის საძირკვლის ფილის მოწყობა | მ³ |  | 1 |  |  | 10.59 | 10.59 |  |  | 10.59
|  | ბეტონი B-25 | მ³ | 1.015 | 1.015 | 37.08 | 37.64 |  |  | 0.76 | 0.77 | 38.41
|  | არმატურა A500C | ტ | 0.084199 | 0.084199 | 496.64 | 41.82 |  |  | 10.24 | 0.86 | 42.68
|  | არმატურა A240C | ტ | 0.0008505 | 0.0008505 | 531.49 | 0.45 |  |  | 10.91 | 0.01 | 0.46
|  | საძირკვლის ფილის ყალიბი | მ² | 0.036 | 0.036 | 9.38 | 0.34 |  |  | 0.19 | 0.01 | 0.35
|  | საძირკვლის ფილის დამხმარე მასალები | მ³ | 1 | 1 | 0.94 | 0.94 |  |  | 0.02 | 0.02 | 0.96
2.1 |  | რკინაბეტონის სვეტის მოწყობა, პერიმეტრი P ≤ 2 მ | მ³ |  | 1 |  |  | 48.41 | 48.41 |  |  | 48.41
|  | ბეტონი B-25 | მ³ | 1.015 | 1.015 | 37.08 | 37.64 |  |  | 0.76 | 0.77 | 38.41
|  | არმატურა A500C | ტ | 0.078246 | 0.078246 | 496.64 | 38.86 |  |  | 10.24 | 0.8 | 39.66
|  | არმატურა A240C | ტ | 0.006804 | 0.006804 | 531.49 | 3.62 |  |  | 10.97 | 0.07 | 3.69
|  | სვეტის ყალიბი | მ² | 1.35 | 1.35 | 7.81 | 10.54 |  |  | 0.16 | 0.22 | 10.76
|  | სვეტის დამხმარე მასალები | მ³ | 1 | 1 | 1.56 | 1.56 |  |  | 0.03 | 0.03 | 1.59
2.1 |  | რკინაბეტონის სვეტის მოწყობა, პერიმეტრი P ≤ 2 მ | მ³ |  | 1 |  |  | 40.68 | 40.68 |  |  | 40.68
|  | ბეტონი B-25 | მ³ | 1.015 | 1.015 | 37.08 | 37.64 |  |  | 0.76 | 0.77 | 38.41
|  | არმატურა A500C | ტ | 0.24247 | 0.24247 | 496.64 | 120.42 |  |  | 10.24 | 2.48 | 122.9
|  | არმატურა A240C | ტ | 0.021084 | 0.021084 | 531.49 | 11.21 |  |  | 10.97 | 0.23 | 11.44
|  | სვეტის DOKA ყალიბი | მ² | 0.33 | 0.33 | 10.94 | 3.61 |  |  | 0.23 | 0.08 | 3.69
|  | სვეტის დამხმარე მასალები | მ³ | 1 | 1 | 1.56 | 1.56 |  |  | 0.03 | 0.03 | 1.59
2.1 |  | რკინაბეტონის კედლის მოწყობა, სისქით 200 მმ | მ³ |  | 1 |  |  | 45.68 | 45.68 |  |  | 45.68
|  | ბეტონი B-25 | მ³ | 1.015 | 1.015 | 37.08 | 37.64 |  |  | 0.76 | 0.77 | 38.41
|  | არმატურა A500C | ტ | 0.20992 | 0.20992 | 496.64 | 104.25 |  |  | 10.24 | 2.15 | 106.4
|  | არმატურა A240C | ტ | 0.004284 | 0.004284 | 531.49 | 2.28 |  |  | 10.98 | 0.05 | 2.33
|  | კედლის ყალიბი | მ² | 1.47 | 1.47 | 7.81 | 11.48 |  |  | 0.16 | 0.24 | 11.72
|  | კედლის დამხმარე მასალები | მ³ | 1 | 1 | 1.56 | 1.56 |  |  | 0.03 | 0.03 | 1.59
2.1 |  | რკინაბეტონის კედლის მოწყობა, სისქით 200 მმ | მ³ |  | 1 |  |  | 26.83 | 26.83 |  |  | 26.83
|  | ბეტონი B-25 | მ³ | 1.015 | 1.015 | 37.08 | 37.64 |  |  | 0.76 | 0.77 | 38.41
|  | არმატურა A500C | ტ | 0.1137 | 0.1137 | 496.64 | 56.47 |  |  | 10.24 | 1.16 | 57.63
|  | არმატურა A240C | ტ | 0.0023205 | 0.0023205 | 531.49 | 1.23 |  |  | 10.93 | 0.03 | 1.26
|  | კედლის DOKA ყალიბი | მ² | 0.5375 | 0.5375 | 10.94 | 5.88 |  |  | 0.23 | 0.12 | 6
|  | კედლის დამხმარე მასალები | მ³ | 1 | 1 | 1.56 | 1.56 |  |  | 0.03 | 0.03 | 1.59
2.1 |  | რკინაბეტონის კოჭის მოწყობა, h ≤ 500 მმ | მ³ |  | 1 |  |  | 47.95 | 47.95 |  |  | 47.95
|  | ბეტონი B-25 | მ³ | 1.015 | 1.015 | 37.08 | 37.64 |  |  | 0.76 | 0.77 | 38.41
|  | არმატურა A500C | ტ | 0.17184 | 0.17184 | 496.64 | 85.34 |  |  | 10.24 | 1.76 | 87.1
|  | არმატურა A240C | ტ | 0.003507 | 0.003507 | 531.49 | 1.86 |  |  | 10.94 | 0.04 | 1.9
|  | კოჭის ყალიბი | მ² | 1.55 | 1.55 | 7.81 | 12.11 |  |  | 0.16 | 0.25 | 12.36
|  | კოჭის დამხმარე მასალები | მ³ | 1 | 1 | 1.56 | 1.56 |  |  | 0.03 | 0.03 | 1.59
2.1 |  | რკინაბეტონის კოჭის მოწყობა, h ≤ 500 მმ | მ³ |  | 1 |  |  | 44.61 | 44.61 |  |  | 44.61
|  | ბეტონი B-25 | მ³ | 1.015 | 1.015 | 37.08 | 37.64 |  |  | 0.76 | 0.77 | 38.41
|  | არმატურა A500C | ტ | 0.31899 | 0.31899 | 496.64 | 158.42 |  |  | 10.24 | 3.27 | 161.69
|  | არმატურა A240C | ტ | 0.00651 | 0.00651 | 531.49 | 3.46 |  |  | 10.96 | 0.07 | 3.53
|  | კოჭის DOKA ყალიბი | მ² | 0.4222 | 0.4222 | 10.94 | 4.62 |  |  | 0.23 | 0.1 | 4.72
|  | კოჭის დამხმარე მასალები | მ³ | 1 | 1 | 1.56 | 1.56 |  |  | 0.03 | 0.03 | 1.59
2.1 |  | რკინაბეტონის გადახურვის ფილის მოწყობა, სისქით 200 მმ | მ³ |  | 1 |  |  | 50.47 | 50.47 |  |  | 50.47
|  | ბეტონი B-25 | მ³ | 1.015 | 1.015 | 37.08 | 37.64 |  |  | 0.76 | 0.77 | 38.41
|  | არმატურა A500C | ტ | 0.078821 | 0.078821 | 496.64 | 39.15 |  |  | 10.24 | 0.81 | 39.96
|  | არმატურა A240C | ტ | 0.0016086 | 0.0016086 | 531.49 | 0.85 |  |  | 10.9 | 0.02 | 0.87
|  | ფილის ყალიბი | მ² | 0.861 | 0.861 | 7.81 | 6.72 |  |  | 0.16 | 0.14 | 6.86
|  | ფილის დამხმარე მასალები | მ³ | 1 | 1 | 1.56 | 1.56 |  |  | 0.03 | 0.03 | 1.59
2.1 |  | რკინაბეტონის გადახურვის ფილის მოწყობა, მალი L ≤ 6 მ-ზე | მ³ |  | 1 |  |  | 22.86 | 22.86 |  |  | 22.86
|  | ბეტონი B-25 | მ³ | 1.015 | 1.015 | 37.08 | 37.64 |  |  | 0.76 | 0.77 | 38.41
|  | არმატურა A500C | ტ | 0.1101 | 0.1101 | 496.64 | 54.68 |  |  | 10.24 | 1.13 | 55.81
|  | არმატურა A240C | ტ | 0.002247 | 0.002247 | 531.49 | 1.19 |  |  | 10.92 | 0.02 | 1.21
|  | ფილის DOKA ყალიბი | მ² | 0.57171 | 0.57171 | 10.94 | 6.25 |  |  | 0.23 | 0.13 | 6.38
|  | ფილის დამხმარე მასალები | მ³ | 1 | 1 | 1.56 | 1.56 |  |  | 0.03 | 0.03 | 1.59
2.1 |  | რკინაბეტონის კიბის მოწყობა | მ³ |  | 1 |  |  | 37.85 | 37.85 |  |  | 37.85
|  | ბეტონი B-25 | მ³ | 1.015 | 1.015 | 37.08 | 37.64 |  |  | 0.76 | 0.77 | 38.41
|  | არმატურა A500C | ტ | 0.078821 | 0.078821 | 496.64 | 39.15 |  |  | 10.24 | 0.81 | 39.96
|  | არმატურა A240C | ტ | 0.0016086 | 0.0016086 | 531.49 | 0.85 |  |  | 10.9 | 0.02 | 0.87
|  | კიბის ყალიბი | მ³ | 0.88597 | 0.88597 | 7.81 | 6.92 |  |  | 0.16 | 0.14 | 7.06
|  | კიბის დამხმარე მასალები | მ³ | 1 | 1 | 1.56 | 1.56 |  |  | 0.03 | 0.03 | 1.59
2.1 |  | რკინაბეტონის კიბის მოწყობა | მ³ |  | 1 |  |  | 66.15 | 66.15 |  |  | 66.15
|  | ბეტონი B-25 | მ³ | 1.015 | 1.015 | 37.08 | 37.64 |  |  | 0.76 | 0.77 | 38.41
|  | არმატურა A500C | ტ | 0.16155 | 0.16155 | 496.64 | 80.23 |  |  | 10.24 | 1.65 | 81.88
|  | არმატურა A240C | ტ | 0.003297 | 0.003297 | 531.49 | 1.75 |  |  | 10.95 | 0.04 | 1.79
|  | კიბის DOKA ყალიბი | მ³ | 0.292 | 0.292 | 10.94 | 3.19 |  |  | 0.23 | 0.07 | 3.26
|  | კიბის დამხმარე მასალები | მ³ | 1 | 1 | 1.56 | 1.56 |  |  | 0.03 | 0.03 | 1.59

## M (hidden)
მასალების მონაცემთა ბაზა | [5 empty] | მასალის K | ხელფასის K | ტრანსპ. K | მასალის ხარისხი
[6 empty] | 1 | 1.0967 | 0.066 | L
N | კატეგორია | ქვეკატეგორია | მასალის დასახელება | განზ. ერთ. | წონა (კგ) | ფასი ₾ |  |  | შენიშვნა
[6 empty] | მინ | მაქ | საშ.
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
1 | არქიტექტურა
|  |  | კერამიკული ფილა | მ² |  | 10 | 50 | 35
2 | კონსტრუქცია
|  | არმატურა | არმატურა A240C | ტ | 1000 | 1700.76 | 1735.59 | 1718.175
|  | არმატურა | არმატურა A500C | ტ | 1000 | 1589.24 | 1600 | 1594.62
|  | არმატურა | გამომწვარი მავთული | კგ | 1 | 2.54 | 2.7 | 2.62
|  | ბეტონი | ბეტონი B-7,5 | მ³ | 2400 | 99.75
|  | ბეტონი | ბეტონი B-10 | მ³ | 2400 | 103.95
|  | ბეტონი | ბეტონი B-15 | მ³ | 2400 | 109.2
|  | ბეტონი | ბეტონი B-20 | მ³ | 2400 | 113.4
|  | ბეტონი | ბეტონი B-22,5 | მ³ | 2400 | 116.55
|  | ბეტონი | ბეტონი B-25 | მ³ | 2400 | 118.65
|  | ბეტონი | ბეტონი B-30 | მ³ | 2400 | 122.85
|  | ბეტონი | ბეტონი B-35 | მ³ | 2400 | 131.25
|  | ბეტონი | ბეტონი B-40 | მ³ | 2400 | 140.7
|  | ლითონი | ორტესებრი კოჭი | ტ | 1000 | 1885
|  | ლითონი | შველერი | ტ | 1000 | 1940
|  | ლითონი | კუთხოვანა | ტ | 1000 | 1820
|  | ლითონი | საძირკვლის ფილის ყალიბი | მ² |  | 30 |  |  | 14
|  | ლითონი | საძირკვლის ფილის დამხმარე მასალები | მ³ |  | 3
|  | ლითონი | სვეტის ყალიბი | მ² |  | 25 |  |  | 9
|  | ლითონი | სვეტის DOKA ყალიბი | მ² |  | 35 |  |  | 9
|  | ლითონი | სვეტის დამხმარე მასალები | მ² |  | 5
|  | ლითონი | კედლის ყალიბი | მ² |  | 25 |  |  | 8
|  | ლითონი | კედლის DOKA ყალიბი | მ² |  | 35 |  |  | 6
|  | ლითონი | კედლის დამხმარე მასალები | მ² |  | 5
|  | ლითონი | კოჭის ყალიბი | მ² |  | 25 |  |  | 8
|  | ლითონი | კოჭის DOKA ყალიბი | მ² |  | 35 |  |  | 8
|  | ლითონი | კოჭის დამხმარე მასალები | მ² |  | 5
|  | ლითონი | ფილის ყალიბი | მ² |  | 25 |  |  | 8
|  | ლითონი | ფილის DOKA ყალიბი | მ² |  | 35 |  |  | 8
|  | ლითონი | ფილის დამხმარე მასალები | მ² |  | 5
|  | ლითონი | კიბის ყალიბი | მ² |  | 25 |  |  | 8
|  | ლითონი | კიბის DOKA ყალიბი | მ² |  | 35 |  |  | 8
|  | ლითონი | კიბის დამხმარე მასალები | მ² |  | 5
|  | ჰიდროიზოლაცია | ლინოკრომი, ქვედა ფენა | მ² |  | 5.25
|  | ჰიდროიზოლაცია | ლინოკრომი, ზედა ფენა | მ² |  | 4.56
|  |  | ბიტუმის პრაიმერი, Icopal | ლ |  | 3
|  |  | ჰიდროსაიზოლაციო მასალა, Icopal ultra N | მ² |  | 8.2
|  |  | ვილადრეინი 500, Icopal | მ² |  | 3.6
3 | მექანიზმები
|  | ექსკავატორი | ექსაკავტორი 1 მ³ მუხლუხა სვლაზე | მანქ/სთ | - | 95 | 70 | 82.5
|  | ექსკავატორი | ექსაკავტორი 0.5 მ³ მუხლუხა სვლაზე | მანქ/სთ | - | 55 | 55 | 55
|  | ბულდოზერი | ბულდოზერი 96 კვტ (130 ც.ძ) | მანქ/სთ | - | 55 | 50 | 52.5
|  | ბულდოზერი | ბულდოზერი 59 კვტ (80 ც.ძ) | მანქ/სთ | - | 40 | 40 | 40
|  | ავტოთვითმცლელი | ავტოთვითმცლელი 20 ტ | მანქ/სთ | - | 1.96 | 8 | 4.98
|  | ავტოთვითმცლელი | ავტოთვითმცლელი 20 ტ, მანძილი 30 კმ | მანქ/სთ | - | 9 | 11 | 10
4