## ENG
Annex N1 BOQ
N | Description | Q-ty | Unit | Unit Price (GEL) | Total Price (GEL) | Comment
1 | Steel pipe (new), One Seam, with factory anti-corrosion external insulation DN 426X10 PN25 | 1114.5 | m
2 | Steel pipe (new), One Seam, with factory anti-corrosion external insulation DN 426X8 PN16 | 215 | m
3 | Steel pipe (new), seamless, without insulation DN 57X3 PN16 | 108 | m