## Price Table
N | Description | Q-ty | Unit | Manufacturer Company / Country | Warranty | Unit Price, GEL Incl. VAT | Total Price GEL Incl. VAT
1 | Multi-Stage Centrifugal Pump stations with power engines: Q=300 m3/h; H=230 m; P=315kW | 6 | Set |  |  |  | 0
1.1 | Installation and start up | [5 empty] | 0
2 | Multi-Stage Centrifugal Pump stations with power engines: Q=300 m3/h; H=360 m; P=450kW | 2 | Set
2.1 | Installation and start up
3 | Single Stage Centrifugal Pump stations with power engines: Q=300 m3/h; H=100 m; P=132kW | 5 | Set
3.1 | Installation and start up
| Total: | [5 empty] | 0