## ICMS (hidden)
პროექტის მახასიათებლები | მაჩვენებლები
პროექტის დასახელება
ანგარიშის სტატუსი | საორიენტაციო ღირებულება | საორიენტაციო ღირებულება
ანგარიშის თარიღი |  | სატენდერო ღირებულება
ანგარიშის რევიზიის № |  | მშენებლობის ღირებულება
პროექტის ზოგადი აღწერილობა |  | სამშენებლობო ღირებულება
• დამკვეთის დასახელება
• ძირითადი პროექტის ტიპი
• ზოგადი აღწერილობა |  | შენობა
პროექტის მდებარეობა |  | გზა,მაგისრალი,ასაფრენი ზოლი
დამატებითი პროექტის ტიპი |  | რკინიგზა
ენა | GEO | ხიდი
მშენებლობის ღირებულების დონე |  | გვირაბი
ISO ვალუტის კოდი | (GEL) ₾ | waste water treatment works
ერთეული ფასების საფუძველი | fixed unit rates ¦ unit rates subject to fluctuating adjustment | water treatment works
ძირითადი ვალუტა | (GEL) ₾ | pipelines
Construction Cost Currency Conversion |  | wells and boreholes
Conversion date |  | power-generating plants
Exchange rates | 1 | chemical plants
Construction Programme |  | refineries
Project status | initiation and concept phase ¦ design phase ¦ construction and commissioning phase ¦ complete | dams and reservoirs
Construction period |  | mines and quarries
• Number of months |  | common
• Start date (planned or actual) |  | other stated
• End date (planned or actual)
Site
Existing site status
• state of use | greenfield ¦ brownfield
• type of use | urban ¦ rural ¦ agricultural
Legal status of site | freehold ¦ leasehold ¦ joint venture ¦ not owned ¦ other stated
Site topography | principally flat ¦ principally hilly ¦ mountainous ¦ offshore ¦ other stated
Ground conditions (predominant) | soft ¦ rocky ¦ reclaimed ¦ submerged ¦ swampy
Seismic zones (state more than one if applicable based on location)
Site conditions and constraints
• access problems | difficult ¦ average ¦ easy
• extreme climatic conditions | difficult ¦ average ¦ easy
• environmental constraints | difficult ¦ average ¦ easy
• statutory planning constraints | difficult ¦ average ¦ easy
Construction Procurement
Funding | private ¦ public ¦ public and private in partnership
Project delivery
• pricing method | lump sum ¦ stipulated price ¦ re-measurement ¦ cost reimbursement ¦ other stated
• mode of procurement | design bid build ¦ design and build (turnkey) ¦ build operate and transfer ¦ public private partnership ¦ management contracting ¦ construction management ¦ engineer procure construct ¦ target ¦ other stated
• joint venture foreign Constructor | yes ¦ no
• predominant source of Constructors | local ¦ foreign
Life Cycle Cost Related
Life cycle costing
• purpose | for a business case ¦ for option appraisals ¦ for producing a sinking fund ¦ for cost analysis ¦ other stated
• method of presentation of costs | net present value
• common date (to which all costs are discounted or compounded)
• project status at common date | initiation and concept phase ¦ design phase ¦ construction and commissioning phase ¦ in use ¦ close to end of life
• discount rate | real discount rate ¦ nominal discount rate
Expected constructed asset life span after completion of construction | design life ¦ alternative life span
Period of analysis for life cycle costing
• until | end of life ¦ end of interest
• from | • to
• number of months l years
Primary usage type constraints affecting expected life and life cycle costs (if applicable)
• hours of operation (e.g. office hours 9 to 5.30 Monday to Friday)
• access restrictions
• environmental
• statutory
• contractual
• others
Renewals planned (during period of analysis)
• scope of renewal (stating key Cost Groups/Sub-Groups included)
• respective cycle (e.g. every 5 years)
• number of renewal cycles included (during the period of analysis)
End of Life Costs
• handback obligations at end of life/ period of analysis (if applicable)
Table 4: Buildings
Code
Local functional classification standard
• name of standard
• code number of construction
Works
Functional type | residential ¦ office ¦ commercial ¦ shopping centre ¦ industrial ¦ hotel ¦ car park ¦ warehouse ¦ educational ¦ hospital ¦ airport terminal ¦ railway station ¦ ferry terminal ¦ plant facility ¦ other stated
Nature | new build ¦ major adaptation ¦ temporary
Grade (qualitative description to be read in conjunction with the location) | ordinary quality ¦ medium quality ¦ high quality
Hotel grade | international below 4-star ¦ international 4-star ¦ international 5-star ¦ international over 5-star ¦ local below 4-star ¦ local 4-star ¦ local 5-star ¦ local over 5-star
Environmental grade
• grade and name of environmental certification
• status | targeted ¦ achieved ¦ none
Principal design features
• structural (predominant) | timber ¦ concrete ¦ steel ¦ load bearing masonry ¦ other stated
• external walls (predominant) | stone ¦ brick/block ¦ render/block ¦ curtain walling ¦ other stated
• environmental control | non-air conditioned ¦ air conditioning
• degree of prefabrication | less than 25% ¦ up to 50% ¦ up to 75% ¦ up to 100%, of Construction Costs
• major prefabricated work | suites (inclusive of toilets, kitchens and the like) ¦ standalone toilets, bathrooms, shower rooms and the like ¦ standalone kitchens ¦ classrooms ¦ heathcare rooms ¦ operating theatres ¦ plant rooms, pipe ducts and the like ¦ soundproof rooms ¦ computer rooms ¦ cold rooms ¦ kiosks ¦ balconies ¦ corridors ¦ staircases ¦ other stated
Project Complexity
• shape (on plan) | circular, elliptical or similar ¦ square, rectangular, or similar ¦ complex
• shape (vertical section) | circular, elliptical or similar ¦ square, rectangular, or similar ¦ complex
• design | simple ¦ bespoke ¦ complex
• method of working | sectional completion ¦ out-of-hours working ¦ confined working ¦ other stated
Design life
Average height of site above or below sea level
Dimensions (overall length × width × height of each building to highest point of the building)
Typical storey height (floor level to floor level)
Other storey heights and applicable floors
Number of storeys above ground (qualitative description to be read in conjunction with the location) | house ¦ low rise ¦ medium rise ¦ high rise
Number of storeys above ground (quantitative) | specific number 0–3 ¦ 4–7 ¦ 8–20 ¦ 21–30 ¦ 31–50 ¦ over 50
Number of storeys below ground | specific number
Project Quantities
Site area (within legal boundary of building site, excluding temporary working areas outside the site)
Covered area on plan
Gross external floor area as IPMS 1 (EXTERNAL)
Gross internal floor area as IPMS 2 (INTERNAL)
Functional units | number of occupants ¦ number of bedrooms ¦ number of hospital beds ¦ number of hotel rooms ¦ number of car parking spaces ¦ number of classrooms ¦ number of students ¦ number of passengers ¦ number of boarding gates ¦ other stated
Table 5: Roads, Runways and Motorways
Code
Local functional classification standard
• name of standard
• code number of construction
Works
Functional type | motorway ¦ highway ¦ freeway ¦ expressway ¦ road ¦ lane ¦ runway ¦ hardstanding
Nature | new build ¦ major adaptation ¦ temporary
Environmental grade
• grade and name of environmental certification
• status | targeted ¦ achieved ¦ none
Principal design features
• position | at grade ¦ in cutting ¦ on embankment ¦ elevated
• design speed | 60
• number of carriageways
• number of lanes per carriageway
• lane width
• hard shoulders | yes ¦ no
• footways | yes ¦ no
• footway width
• surfacing | flexible construction ¦ concrete pavement
• vertical profile | switchbacks ¦ undulating ¦ flat
• plan profile | straight ¦ winding
Project Complexity
• number of grade-separated intersections
• number of at-grade intersections
• number of crossings over other roads, railways, waterways, valleys and the like
• number of access ramps
Design life
Altitude
• minimum height of passageway above or below sea level
• maximum height of passageway above or below sea level
Dimensions
Total width of metalled surface of each road, runway or motorway (including hard shoulders but excluding footways)
Project Quantities
Total length (between two places, irrespective of number of lanes)
Equated lane length (being the length of all lanes along the route, including those in passing loops, sidings and depots reduced to a single length)
Total paved area
Functional units
• capacity
Table 7: Bridges
Code
Local functional classification standard
• name of standard
• code number of construction
Works
Functional type | roads ¦ rail ¦ conveyors ¦ pipeline ¦ canal ¦ pedestrians ¦ other stated
Nature | new build ¦ major adaptation ¦ temporary
Environmental grade
• grade and name of environmental certification
• status | targeted ¦ achieved ¦ none
Principal design features
• support | arch ¦ post and beam ¦ cantilever ¦ suspension ¦ cable-stayed ¦ other stated
• mobility | fixed ¦ movable ¦ temporary
• materials | natural materials ¦ wood ¦ concrete ¦ steel ¦ advanced materials ¦ other stated
Types of obstacles crossed | river and canal ¦ roads and motorways ¦ railways ¦ other stated
Project Complexity
• curvature (predominant) | straight ¦ curved
• number of access ramps
• number each of abutments/piers/towers with foundations in water
• number each of abutments/piers/towers with foundations not in water
Design life
Altitude
• average height of deck above or below sea level
Dimensions
• width (including walkways, hard shoulders and the like)
• maximum height above the lowest point land/water
• minimum clearance height
Project Quantities
Deck length measured from face to face of abutments
Surface area of deck
Functional units
• capacity | vehicles ¦ litres ¦ gallons ¦ tonnes ¦ tons per hour

## წყალმომარაგება-წყალარინება
N | სამუშაოების დასახელება | განზ. ერთ. | რაოდ | მასალა |  | ხელფასი |  | მექანიზმი/ტრანსპორტი |  | სულ | შენიშვნა
|  |  |  | ერთ. | ჯამი | ერთ. | ჯამი | ერთ. | ჯამი
|  |  |  | ფასი |  | ფასი |  | ფასი
1 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
წყალმომარაგება
1 | წყლის ელექტრო გამაცხელებელი, 80ლ. | კომლექტი | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | პოლიპროპილენის მილი Ø 20mm. PN20. | გრძ. მ. | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | პოლიპროპილენის მილი Ø 25mm. PN20. | გრძ. მ. | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | პოლიპროპილენის იზოლირებული მილი Ø 50mm. PN20. | გრძ. მ. | 450 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | პოლიპროპილენის მილების ფიტინგები Ø 20mm - Ø 50mm (მილების ღირებულების 40%) | კომპლექტი | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | ფოლგირებული ქვაბამბა 50მმ. (ავზის შესაფუთად) | მ2 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 13mm კაუჩუკის შეფუთვა. Ø 20mm მილისთვის | გრძ. მ. | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 13mm კაუჩუკის შეფუთვა. Ø 25mm მილისთვის | გრძ. მ. | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | ბურთულიანი ვენტილი Ø 20mm. | ცალი | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | ბურთულიანი ვენტილი Ø 25mm | ცალი | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | ბურთულიანი ვენტილი Ø 50mm. | ცალი | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | სამაგრი Ø 20mm მილისთვის | ცალი | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | სამაგრი Ø 25mm მილისთვის | ცალი | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | მანომეტრი Ø 20mm | ცალი | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | კუთხის ვენტილი Ø 20mm | ცალი | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | მიწის სამუშაოები (წყალმომარაგების მილის მოსაწყობად) | კომპლექტი | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | მიწის სამუშოები | კომპლექტი | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | დამხმარე მასალები (მთლიანი ღირებულების 5%) | კომპლექტი | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
კანალიზაცია/სანიაღვრე
1 | PVC კანალიზაციის მილი Ø50mm. L=0.5m | ცალი | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | PVC კანალიზაციის მილი Ø50mm. L=1.0m | ცალი | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | PVC კანალიზაციის მილი Ø110mm. L=0.5m. | ცალი | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | PVC კანალიზაციის მილი Ø110mm. L=2.0m. | ცალი | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | PVC კანალიზაციის მილი Ø110mm. L=3.0m. | ცალი | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | გოფრირებული სანიაღვრე მილი Ø160mm. L=1.0m. | ცალი | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | PVC მუხლი Ø50mm. 45° | ცალი | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | PVC სამკაპი Ø50mm. 45° | ცალი | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | PVC მუხლი Ø110mm. 45° | ცალი | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | PVC სამკაპი Ø110mm. 45° | ცალი | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | PVC გადამყვანი Ø110-50mm. | ცალი | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | იატაკის ტრაპი სიფონით 100x100 დაერთება Ø50 | ცალი | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | ბეტონის სანიაღვრე არხი 9300X300X250 | ცალი | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | ბეტონის სანიაღვრე არხი 8500X300X250 | ცალი | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | მეტალის გისოსი სანიაღვრე არხისთვის 9300X300X250 | ცალი | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | მეტალის გისოსი სანიაღვრე არხისთვის 8500X300X250 | ცალი | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | კანალიზაციის ჭის ხუფი(ბალიში) ბეტონის 1.2m-1.2m | ცალი | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | კანალიზაციის ჭის ხუფი თუჯის d=0.8m | ცალი | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | კანალიზაციის ჭის ბეტონის რგოლი d=1.5m h=1.0m | ცალი | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | კანალლიზაციის ჭის ქვაღორღის ბალიში | კომპლექტი | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | მიწის სამუშაოები (კანალიზაციის და სანიაღვრე მილების მოსაწყობად) | კომპლექტი | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | მიწის სამუშოები | კომპლექტი | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | დამხმარე მასალები (მთლიანი ღირებულების 5%) | კომპლექტი | 1 | 0 | 0 |  | 0 | 0 | 0 | 0

## ელექტროობა
N | ნახაზის კოდი | სამუშაოების დასახელება | განზ. ერთ. | რაოდ
1 | 2 | 3 | 4 | 6
1
განათება
1 |  | ლედ სანათი 120W 5000K IP 65 (განათების ბოძის) | ცალი | 32
2 |  | განათების ბოძი 6 მ | ცალი | 32
3 |  | გამანაწილებელი კოლოფი | ცალი | 32
4 |  | საკლემო ბლოკი უხრახნო მიერთებით 3-ანი (100ც) | კომპლექტი | 4
5 |  | საკლემო ბლოკი უხრახნო მიერთებით 5-ანი (25ც) | კომპლექტი | 4
ელ. გამანაწილებელი ფარი
6 |  | გამანაწილებელი კარადა გარე მონტაჟის 1573x595mm IP65 | ცალი | 1
7 |  | ავტომატური ამომრთველი MCCB 3P C400A /275A | ცალი | 2
8 |  | ავტომატური ამომრთველი 3P C100A | ცალი | 1
9 |  | ავტომატური ამომრთველი 3P C40A | ცალი | 5
10 |  | ავტომატური ამომრთველი 3P C16A | ცალი | 1
11 |  | დიფერენციალური ავტომატური ამომრთველი 3P+N C6A 30mA | ცალი | 3
12 |  | კონტაქტორი 4P 1NO 25A 220v კოჭით | ცალი | 1
13 |  | ფოტორელე ფარში სამონტაჟო 16A 250V | ცალი | 1
კაბელები
14 |  | სპილენძის კაბელი 5x1.5მმ2 | მეტრი | 400
15 |  | სპილენძის კაბელი 5x2.5მმ2 | მეტრი | 300
16 |  | სპილენძის კაბელი 5x16მმ2 | მეტრი | 640
17 |  | სპილენძის კაბელი 4x50+1x35მმ2 | მეტრი | 190
18 |  | სპილენძის კაბელი 4x150+1x95მმ2 | მეტრი | 950
გოფრირებული მილები
19 |  | გოფრირებული მილი d=20მმ | მეტრი | 400
20 |  | გოფრირებული მილი d=25მმ | მეტრი | 300
21 |  | გოფრირებული მილი d=40მმ | მეტრი | 640
22 |  | გოფრირებული მილი d=63მმ | მეტრი | 190
23 |  | მიწის სამუშოები | კომპლექტი | 1
დამიწება
24 |  | დამიწების ზოლოვანა ლენტი (სალტის ზომა 40x4მმ) | მეტრი | 40
25 |  | დამიწების ელექტროდი გალვანური L=3000mm d=20mm | ცალი | 32
26 |  | უნივერსალური სამაგრი | ცალი | 32
27 |  | ანტიკოროზიული ლენტი | ცალი | 30

## CCTV
N | ნახაზის კოდი | სამუშაოების დასახელება | განზ. ერთ. | რაოდ
1 | 2 | 3 | 4 | 6
1
განათება
1 |  | რეკი U16 | ცალი | 1
2 |  | Router | ცალი | 1
3 |  | Network Video Recorder | კომპლექტი | 1
4 |  | Managed POE Switch 48-Port | ცალი | 1
5 |  | Managed POE Switch 8-Port | ცალი | 1
6 |  | გარე მონტაჟის კამერა 4mp | ცალი | 29
7 |  | ქსელის კაბელი FTP CAT-5e | მეტრი | 2500
8 |  | გოფრირებული მილი ორ შრიანი გარე გამოყენების 20მმ. | მეტრი | 2500
9 |  | RJ45 connector | ცალი | 60