## ICMS (hidden)
პროექტის მახასიათებლები | მაჩვენებლები
პროექტის დასახელება
ანგარიშის სტატუსი | საორიენტაციო ღირებულება | საორიენტაციო ღირებულება
ანგარიშის თარიღი |  | სატენდერო ღირებულება
ანგარიშის რევიზიის № |  | მშენებლობის ღირებულება
პროექტის ზოგადი აღწერილობა |  | სამშენებლობო ღირებულება
• დამკვეთის დასახელება
• ძირითადი პროექტის ტიპი
• ზოგადი აღწერილობა |  | შენობა
პროექტის მდებარეობა |  | გზა,მაგისრალი,ასაფრენი ზოლი
დამატებითი პროექტის ტიპი |  | რკინიგზა
ენა | GEO | ხიდი
მშენებლობის ღირებულების დონე |  | გვირაბი
ISO ვალუტის კოდი | (GEL) ₾ | waste water treatment works
ერთეული ფასების საფუძველი | fixed unit rates ¦ unit rates subject to fluctuating adjustment | water treatment works
ძირითადი ვალუტა | (GEL) ₾ | pipelines
Construction Cost Currency Conversion |  | wells and boreholes
Conversion date |  | power-generating plants
Exchange rates | 1 | chemical plants
Construction Programme |  | refineries
Project status | initiation and concept phase ¦ design phase ¦ construction and commissioning phase ¦ complete | dams and reservoirs
Construction period |  | mines and quarries
• Number of months |  | common
• Start date (planned or actual) |  | other stated
• End date (planned or actual)
Site
Existing site status
• state of use | greenfield ¦ brownfield
• type of use | urban ¦ rural ¦ agricultural
Legal status of site | freehold ¦ leasehold ¦ joint venture ¦ not owned ¦ other stated
Site topography | principally flat ¦ principally hilly ¦ mountainous ¦ offshore ¦ other stated
Ground conditions (predominant) | soft ¦ rocky ¦ reclaimed ¦ submerged ¦ swampy
Seismic zones (state more than one if applicable based on location)
Site conditions and constraints
• access problems | difficult ¦ average ¦ easy
• extreme climatic conditions | difficult ¦ average ¦ easy
• environmental constraints | difficult ¦ average ¦ easy
• statutory planning constraints | difficult ¦ average ¦ easy
Construction Procurement
Funding | private ¦ public ¦ public and private in partnership
Project delivery
• pricing method | lump sum ¦ stipulated price ¦ re-measurement ¦ cost reimbursement ¦ other stated
• mode of procurement | design bid build ¦ design and build (turnkey) ¦ build operate and transfer ¦ public private partnership ¦ management contracting ¦ construction management ¦ engineer procure construct ¦ target ¦ other stated
• joint venture foreign Constructor | yes ¦ no
• predominant source of Constructors | local ¦ foreign
Life Cycle Cost Related
Life cycle costing
• purpose | for a business case ¦ for option appraisals ¦ for producing a sinking fund ¦ for cost analysis ¦ other stated
• method of presentation of costs | net present value
• common date (to which all costs are discounted or compounded)
• project status at common date | initiation and concept phase ¦ design phase ¦ construction and commissioning phase ¦ in use ¦ close to end of life
• discount rate | real discount rate ¦ nominal discount rate
Expected constructed asset life span after completion of construction | design life ¦ alternative life span
Period of analysis for life cycle costing
• until | end of life ¦ end of interest
• from | • to
• number of months l years
Primary usage type constraints affecting expected life and life cycle costs (if applicable)
• hours of operation (e.g. office hours 9 to 5.30 Monday to Friday)
• access restrictions
• environmental
• statutory
• contractual
• others
Renewals planned (during period of analysis)
• scope of renewal (stating key Cost Groups/Sub-Groups included)
• respective cycle (e.g. every 5 years)
• number of renewal cycles included (during the period of analysis)
End of Life Costs
• handback obligations at end of life/ period of analysis (if applicable)
Table 4: Buildings
Code
Local functional classification standard
• name of standard
• code number of construction
Works
Functional type | residential ¦ office ¦ commercial ¦ shopping centre ¦ industrial ¦ hotel ¦ car park ¦ warehouse ¦ educational ¦ hospital ¦ airport terminal ¦ railway station ¦ ferry terminal ¦ plant facility ¦ other stated
Nature | new build ¦ major adaptation ¦ temporary
Grade (qualitative description to be read in conjunction with the location) | ordinary quality ¦ medium quality ¦ high quality
Hotel grade | international below 4-star ¦ international 4-star ¦ international 5-star ¦ international over 5-star ¦ local below 4-star ¦ local 4-star ¦ local 5-star ¦ local over 5-star
Environmental grade
• grade and name of environmental certification
• status | targeted ¦ achieved ¦ none
Principal design features
• structural (predominant) | timber ¦ concrete ¦ steel ¦ load bearing masonry ¦ other stated
• external walls (predominant) | stone ¦ brick/block ¦ render/block ¦ curtain walling ¦ other stated
• environmental control | non-air conditioned ¦ air conditioning
• degree of prefabrication | less than 25% ¦ up to 50% ¦ up to 75% ¦ up to 100%, of Construction Costs
• major prefabricated work | suites (inclusive of toilets, kitchens and the like) ¦ standalone toilets, bathrooms, shower rooms and the like ¦ standalone kitchens ¦ classrooms ¦ heathcare rooms ¦ operating theatres ¦ plant rooms, pipe ducts and the like ¦ soundproof rooms ¦ computer rooms ¦ cold rooms ¦ kiosks ¦ balconies ¦ corridors ¦ staircases ¦ other stated
Project Complexity
• shape (on plan) | circular, elliptical or similar ¦ square, rectangular, or similar ¦ complex
• shape (vertical section) | circular, elliptical or similar ¦ square, rectangular, or similar ¦ complex
• design | simple ¦ bespoke ¦ complex
• method of working | sectional completion ¦ out-of-hours working ¦ confined working ¦ other stated
Design life
Average height of site above or below sea level
Dimensions (overall length × width × height of each building to highest point of the building)
Typical storey height (floor level to floor level)
Other storey heights and applicable floors
Number of storeys above ground (qualitative description to be read in conjunction with the location) | house ¦ low rise ¦ medium rise ¦ high rise
Number of storeys above ground (quantitative) | specific number 0–3 ¦ 4–7 ¦ 8–20 ¦ 21–30 ¦ 31–50 ¦ over 50
Number of storeys below ground | specific number
Project Quantities
Site area (within legal boundary of building site, excluding temporary working areas outside the site)
Covered area on plan
Gross external floor area as IPMS 1 (EXTERNAL)
Gross internal floor area as IPMS 2 (INTERNAL)
Functional units | number of occupants ¦ number of bedrooms ¦ number of hospital beds ¦ number of hotel rooms ¦ number of car parking spaces ¦ number of classrooms ¦ number of students ¦ number of passengers ¦ number of boarding gates ¦ other stated
Table 5: Roads, Runways and Motorways
Code
Local functional classification standard
• name of standard
• code number of construction
Works
Functional type | motorway ¦ highway ¦ freeway ¦ expressway ¦ road ¦ lane ¦ runway ¦ hardstanding
Nature | new build ¦ major adaptation ¦ temporary
Environmental grade
• grade and name of environmental certification
• status | targeted ¦ achieved ¦ none
Principal design features
• position | at grade ¦ in cutting ¦ on embankment ¦ elevated
• design speed | 60
• number of carriageways
• number of lanes per carriageway
• lane width
• hard shoulders | yes ¦ no
• footways | yes ¦ no
• footway width
• surfacing | flexible construction ¦ concrete pavement
• vertical profile | switchbacks ¦ undulating ¦ flat
• plan profile | straight ¦ winding
Project Complexity
• number of grade-separated intersections
• number of at-grade intersections
• number of crossings over other roads, railways, waterways, valleys and the like
• number of access ramps
Design life
Altitude
• minimum height of passageway above or below sea level
• maximum height of passageway above or below sea level
Dimensions
Total width of metalled surface of each road, runway or motorway (including hard shoulders but excluding footways)
Project Quantities
Total length (between two places, irrespective of number of lanes)
Equated lane length (being the length of all lanes along the route, including those in passing loops, sidings and depots reduced to a single length)
Total paved area
Functional units
• capacity
Table 7: Bridges
Code
Local functional classification standard
• name of standard
• code number of construction
Works
Functional type | roads ¦ rail ¦ conveyors ¦ pipeline ¦ canal ¦ pedestrians ¦ other stated
Nature | new build ¦ major adaptation ¦ temporary
Environmental grade
• grade and name of environmental certification
• status | targeted ¦ achieved ¦ none
Principal design features
• support | arch ¦ post and beam ¦ cantilever ¦ suspension ¦ cable-stayed ¦ other stated
• mobility | fixed ¦ movable ¦ temporary
• materials | natural materials ¦ wood ¦ concrete ¦ steel ¦ advanced materials ¦ other stated
Types of obstacles crossed | river and canal ¦ roads and motorways ¦ railways ¦ other stated
Project Complexity
• curvature (predominant) | straight ¦ curved
• number of access ramps
• number each of abutments/piers/towers with foundations in water
• number each of abutments/piers/towers with foundations not in water
Design life
Altitude
• average height of deck above or below sea level
Dimensions
• width (including walkways, hard shoulders and the like)
• maximum height above the lowest point land/water
• minimum clearance height
Project Quantities
Deck length measured from face to face of abutments
Surface area of deck
Functional units
• capacity | vehicles ¦ litres ¦ gallons ¦ tonnes ¦ tons per hour

## გათბობა გაგრილება
N | ნახაზის კოდი | სამუშაოების დასახელება | განზ. ერთ. | რაოდ
1 | 2 | 3 | 4 | 6
1
გათბობა-გაგრილება
1 |  | VRF/VRV ორმილოვანი სისტემის V6 ტიპის გარე ბლოკი, Qс=25.2Kw Qh=25.2kw სრული ინვერტორი, მართვის პანელით. გარე ჰაერის საანგარიშო პირობები: ზაფხული 38°С. ზამთარი -8°С | კომპლექტი | 1
2 |  | VRF/VRV სისტემის კომპაქტური არხული ტიპის შიდა ბლოკი, 7 სიჩქარიანი. Qс=2.2Kw Qh=2.6Kw საშ. წნევის. კონდენსატის ტუმბოთი. | კომპლექტი | 6
3 |  | VRF/VRV სისტემის კომპაქტური არხული ტიპის შიდა ბლოკი, 7 სიჩქარიანი. Qс=3.6Kw Qh=4.0Kw საშ. წნევის. კონდენსატის ტუმბოთი. | კომპლექტი | 3
4 |  | VRF/VRV სისტემის გარე ბლოკის სადგამ-სამაგრი კომპლექტი | კომპლექტი | 1
5 |  | VRF/VRV სისტემის გარე ბლოკის ანტივიბრაციული სადგამი | კომპლექტი | 1
6 |  | VRF/VRV სისტემის შიდა ბლოკის მართვის პანელი (არხული ტიპის შიდა ბლოკებისთვის) | კომპლექტი | 9
7 |  | VRF/VRV სისტემის შიდა ბლოკის საკიდი კომპლექტი | კომპლექტი | 9
8 |  | სპილენძის რეფნეტი (წყვილი) ტიპი-01 | კომპლექტი | 7
9 |  | სპილენძის რეფნეტი (წყვილი) ტიპი-02 | კომპლექტი | 1
10 |  | სპილენძის მილი იზოლაციით Ø 6.35mm. კედლის სისქე Ø 0.8-0.9mm. | გრძ. მ. | 38
11 |  | სპილენძის მილი იზოლაციით Ø 9.53mm. კედლის სისქე Ø 0.8-0.9mm. | გრძ. მ. | 32
12 |  | სპილენძის მილი იზოლაციით Ø 12.7mm. კედლის სისქე Ø 0.8-0.9mm. | გრძ. მ. | 36
13 |  | სპილენძის მილი იზოლაციით Ø 15.9mm. კედლის სისქე Ø 1.0mm. | გრძ. მ. | 18
14 |  | სპილენძის მილი Ø 19.1mm. კედლის სისქე Ø 1.0mm. | გრძ. მ. | 10
15 |  | სპილენძის მილი Ø 22.2mm. კედლის სისქე Ø 1.0mm. | გრძ. მ. | 15
16 |  | სპილენძის მილის Ø 19.1mm. 13mm. კაუჩუკის იზოლაცია | გრძ. მ. | 10
17 |  | სპილენძის მილის Ø 22.2mm. 13mm. კაუჩუკის იზოლაცია | გრძ. მ. | 15
18 |  | სპილენძის მილის სამაგრები | კომპლექტი | 1
19 |  | სპილენძის მილის ფიტინგები Ø 15.9mm.-Ø 19.1mm. (მილის ღირებულების 20%) | კომპლექტი | 1
20 |  | ფრეონის - სამაცივრე სითხე | კგ. | 4
21 |  | აზოტის ბალონი | ცალი | 2
22 |  | ჟანგბადის ბალონი | ცალი | 2
23 |  | შედუღების ჩხირი | კომპლექტი | 1
24 |  | ეკრანიზირებული კაბელი 5X1.5 | გრძ. მ. | 100
25 |  | საკომუნიკაციო კაბელი 3X1.5 წვერა | გრძ. მ. | 40
26 |  | სკოჩი 50მ | კომპლექტი | 1
27 |  | ხამუთი 30სმ | კომპლექტი | 1
28 |  | კონდენსატის მილი PVC Ø32 | გრძ. მ. | 60
29 |  | კონდენსატის მილის ფიტინგები (მილების ღირებულების 20%) | კომპლექტი | 1
30 |  | კონდენსატის სიფონი | ცალი | 4
31 |  | მილების იზოლაციის დამცავი შრის მოწყობა- კლადინგი (ფოლგირებული ქვაბამბა 50მმ. ალუმინის ფურცელი 0.5mm.) | მ² | 3
32 |  | დამხმარე მასალები (მთლიანი ღირებულების 3%) | კომპლექტი | 1

## ვენტილაცია
N | სამუშაოების დასახელება | განზ. ერთ. | რაოდ
1 | 3 | 4 | 6
1
ვენტილაცია
1 | ჭერში შესაკიდი ტიპის სავენტილაციო დანადგარი AHU ჰაერის მოდინება 3000m3/h, გაწოვა 3000m3/h. ფირფიტოვანი რეკუპერატორით. აღჭურვილი ელ.ტენით 9kw . ჰაერის სტატიკური წნევა გამოსვლაზე 180პა. ძრავების სიხშირული მართვით. ხმაურდამხშობით. G4 ტიპის ფილტრით. | კომპლექტი | 1
2 | სავენტილაციო დანადგარის სამაგრი/საკიდი კომპლექტი | კომპლექტი | 1
3 | სან.კვანძის გამწოვი ვენტილატორი 500m3/h. 120პა. | კომპლექტი | 1
4 | ვენტილატორების სამაგრი კომპლექტი | კომპლექტი | 1
5 | ანტივიბრაციული გადამყვანი ვენტილატორისთვის | კომპლექტი | 1
6 | თუნუქის მოთუთიებული ჰაერსატარი 0.55mm | მ² | 270
7 | 13mm კაუჩუკის შეფუთვა. | მ² | 270
8 | ანკერი Ø 8mm | ცალი | 800
9 | ხრახნიანი ღერო Ø 8mm | გრძ. მ. | 1200
10 | ქანჩი საყელოთი Ø 8mm | ცალი | 2400
11 | ლითონის პერფორირებული პროფილი | გრძ. მ. | 70
12 | მარეგულირებელი დამპერი d125 | ცალი | 3
13 | მარეგულირებელი დამპერი d160 | ცალი | 5
14 | მარეგულირებელი დამპერი d200 | ცალი | 4
15 | მარეგულირებელი დამპერი d250 | ცალი | 11
16 | სან. კვანძების გამწოვი სავენტილაციო გისოსი d125 | ცალი | 10
17 | სავენტილაციო გისოსი 600X600 | ცალი | 22
18 | ფასადის გისოსი 450x350 | ცალი | 2
19 | ფასადის გისოსი d250 | ცალი | 1
20 | დამხმარე მასალები (მთლიანი ღირებულების 5%) | კომპლექტი | 1

## წყალმომარაგება-წყალარინება
N | სამუშაოების დასახელება | განზ. ერთ. | რაოდ | მასალა |  | ხელფასი |  | მექანიზმი/ტრანსპორტი |  | სულ | შენიშვნა
|  |  |  | ერთ. | ჯამი | ერთ. | ჯამი | ერთ. | ჯამი
|  |  |  | ფასი |  | ფასი |  | ფასი
1 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
წყალმომარაგება
1 | პოლიპროპილენის მილი(ცივი წყლის) Ø 20mm. PN20. | გრძ. მ. | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | პოლიპროპილენის მილი(ცივი წყლის) Ø 25mm. PN20. | გრძ. მ. | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | პოლიპროპილენის მილი(ცივი წყლის) Ø 32mm. PN20. | გრძ. მ. | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | პოლიპროპილენის მილი(ცხელი წყლის) Ø 20mm. PN20. | გრძ. მ. | 62 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | პოლიპროპილენის მილი(ცხელი წყლის) Ø 25mm. PN20. | გრძ. მ. | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | პოლიპროპილენის მილი(ცხელი წყლის) Ø 32mm. PN20. | გრძ. მ. | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | პოლიპროპილენის მილების ფიტინგები Ø 20mm - Ø32mm (მილების ღირებულების 40%) | კომპლექტი | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 13mm კაუჩუკის შეფუთვა. Ø 20mm მილისთვის | გრძ. მ. | 102 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 13mm კაუჩუკის შეფუთვა. Ø 25mm მილისთვის | გრძ. მ. | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 13mm კაუჩუკის შეფუთვა. Ø 32mm მილისთვის | გრძ. მ. | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | სამაგრი Ø 20mm მილისთვის | ცალი | 51 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | სამაგრი Ø 25mm მილისთვის | ცალი | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | სამაგრი Ø 32mm მილისთვის | ცალი | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | კუთხის ვენტილი Ø 20mm. | ცალი | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | შემრევი ორმაგი მუხლით Ø 20mm. | ცალი | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | ჩამკეტი ვენტილი Ø 20mm. | ცალი | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | ჩამკეტი ვენტილი Ø 25mm. | ცალი | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | ჩამკეტი ვენტილი Ø 32mm. | ცალი | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | დამხმარე მასალები (მთლიანი ღირებულების 5%) | კომპლექტი | 1 | 0 | 0 |  | 0 | 0 | 0 | 0
კანალიზაცია
1 | PVC კანალიზაციის მილი Ø50mm. L=0.5m | ცალი | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | PVC კანალიზაციის მილი Ø50mm. L=1m | ცალი | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | PVC კანალიზაციის მილი Ø50mm. L=1.5m | ცალი | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | PVC კანალიზაციის მილი Ø50mm. L=2m | ცალი | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | PVC კანალიზაციის მილი Ø50mm. L=3m | ცალი | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | PVC კანალიზაციის მილი Ø75mm. L=0.5m | ცალი | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | PVC კანალიზაციის მილი Ø75mm. L=1m | ცალი | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | PVC კანალიზაციის მილი Ø75mm. L=1.5m | ცალი | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | PVC კანალიზაციის მილი Ø110mm. L=0.5m | ცალი | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | PVC კანალიზაციის მილი Ø110mm. L=1m | ცალი | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | PVC კანალიზაციის მილი Ø110mm. L=2m | ცალი | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | PVC კანალიზაციის მილი Ø110mm. L=3m | ცალი | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | PVC მუხლი Ø50mm. 45° | ცალი | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | PVC სამკაპი Ø50/50/50mm. 45° | ცალი | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | PVC მუხლი Ø75mm. 45° | ცალი | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | PVC მუხლი Ø110mm. 45° | ცალი | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | PVC სამკაპი Ø110/110/50mm. 45° | ცალი | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | PVC სამკაპი Ø75/75/50mm. 45° | ცალი | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | PVC სამკაპი Ø110/110/75mm. 45° | ცალი | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | PVC სამკაპი Ø110/110/110mm. 45° | ცალი | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | PVC გადამყვანი Ø75-50mm. | ცალი | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | PVC გადამყვანი Ø110-50mm. | ცალი | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | PVC რევიხია Ø110 | ცალი | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | იატაკის ტრაპი სიფონით 100x100mm. დაერთბა 50mm. | ცალი | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | სამაგრი Ø 110mm მილისთვის | ცალი | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | სამაგრი Ø 50mm მილისთვის | ცალი | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | დამხმარე მასალები (მთლიანი ღირებულების 5%) | კომპლექტი | 1 | 0 | 0 |  | 0 | 0 | 0 | 0
| ჯამი |  |  |  | 0 |  | 0 |  | 0 | 0
| ზედნადები ხარჯები |  | 6% | [6 empty] | 0
| ჯამი | [8 empty] | 0
| გეგმიური დაგროვება |  | 5% | [6 empty] | 0
| ჯამი | [8 empty] | 0

## ხანძარქრობა
N | ნახაზის კოდი | სამუშაოების დასახელება | განზ. ერთ. | რაოდ
1 | 2 | 3 | 4 | 6
ხანძარქრობა
1 |  | მეტალის უნაკერო მილი Ø 50mm. (Fe-35 Series) | გრძ. მ. | 25
2 |  | მეტალის უნაკერო მილის სამაგრი Ø 50mm. (Fe-35 Series) | ცალი | 20
3 |  | ანკერი Ø 10mm | ცალი | 15
4 |  | ხრახნიანი ღერო 10mm | გრძ. მ. | 12
5 |  | ქანჩი საყელოთი 10mm | ცალი | 45
6 |  | მეტალის მუხლი-50 (Fe-35 Series) | ცალი | 4
7 |  | სახანძრო კარადა 25მ. შლანგით, ვენტილით და ცეცხლმაქრით | ცალი | 1
8 |  | დამხმარე მასალა (ღირებულების 3%) | კომპლექტი | 1

## ელექტროობა
N | ნახაზის კოდი | სამუშაოების დასახელება | განზ. ერთ. | რაოდ
1 | 2 | 3 | 4 | 6
1
ფურნიტურა
1 |  | სანათი 25w 4000K (145მმ დიამეტრით) | ცალი | 7
2 |  | სანათი 25w 4000K (145მმ დიამეტრით IP 65 დაცვით. საშხაპეებისთვის) | ცალი | 10
3 |  | არმსტრონგის ლედ სანათი 35w 4000K (600x600) | ცალი | 68
4 |  | ლენტური ლედ სანათი 4000K (12w მეტრზე) | მეტრი | 6
5 |  | ლენტური სანათის კვების ბლოკი 75W | ცალი | 1
6 |  | ავარიული სანათი 12W | ცალი | 17
7 |  | როზეტი | ცალი | 108
8 |  | იატაკის როზეტი 45x45 | ცალი | 33
9 |  | florbox 4 მოდულიანი | ცალი | 11
10 |  | ჩამრთველი ერთკლავიშა | ცალი | 10
11 |  | ჩამრთველი ორკლავიშა | ცალი | 6
12 |  | ჩამრთველი ერთკლავიშა რევერსული | ცალი | 4
13 |  | სამონტაჟო კოლოფი | ცალი | 129
14 |  | ფურნიტურის ჩარჩო ერთ მოდულიანი | ცალი | 50
15 |  | ფურნიტურის ჩარჩო ორ მოდულიანი | ცალი | 15
16 |  | ფურნიტურის ჩარჩო სამ მოდულიანი | ცალი | 1
17 |  | ფურნიტურის ჩარჩო ოთხ მოდულიანი | ცალი | 15
18 |  | საკლემო ბლოკი უხრახნო მიერთებით 3-ანი (100ც) | კომპლექტი | 5
19 |  | საკლემო ბლოკი უხრახნო მიერთებით 5-ანი (25ც) | კომპლექტი | 5
ელ. გამანაწილებელი ფარი
20 |  | გამანაწილებელი კარადა შიდა მონტაჟის 96 მოდულიანი | ცალი | 1
21 |  | ავტომატური ამომრთველი 3P C80A | ცალი | 1
22 |  | დიფერენციალური გაჟონვის რელე 3P+N 100A 100mA | ცალი | 1
23 |  | დიფერენციალური ავტომატური ამომრთველი 1P+N C16A 30mA | ცალი | 12
24 |  | ავტომატური ამომრთველი 3P C20A | ცალი | 1
25 |  | ავტომატური ამომრთველი 3P C16A | ცალი | 1
26 |  | ავტომატური ამომრთველი 1P C16A | ცალი | 17
27 |  | ავტომატური ამომრთველი 1P C10A | ცალი | 12
28 |  | ავტომატური ამომრთველი 1P C6A | ცალი | 7
კაბელები
29 |  | სპილენძის კაბელი N2XH 3x1.5მმ2 | მეტრი | 1100
30 |  | სპილენძის კაბელი N2XH 3x2.5მმ2 | მეტრი | 1000
31 |  | სპილენძის კაბელი N2XH 5x2.5მმ2 | მეტრი | 45
32 |  | სპილენძის კაბელი N2XH 5x4მმ2 | მეტრი | 35
33 |  | სპილენძის კაბელი N2XH 5x16მმ2 | მეტრი | 10
გოფრირებული მილები
34 |  | გოფრირებული მილი d=16მმ | მეტრი | 1000
35 |  | გოფრირებული მილი d=20მმ | მეტრი | 900
36 |  | გოფრირებული მილი d=25მმ | მეტრი | 80

## სუსტი დენები
N | სამუშაოების დასახელება | განზ. ერთ. | რაოდ
1 | 3 | 4 | 6
1
სახანძრო დეტექცია
1 | სამისამართო კვამლის დეტექტორი | ცალი | 16
2 | სამისამართო თბური დეტექტორი | ცალი | 1
3 | სამისამართო დაქტის დეტექტორი | ცალი | 1
4 | სამისამართო საგანგაშო ღილაკი | ცალი | 2
5 | სამისამართო სახანძრო სირენა | ცალი | 3
6 | სამისამართო In/Out მოდული | ცალი | 2
7 | ვიზუალური მანიშნებელი სტრობით | ცალი | 4
8 | დეტექტორის სამონტაჟო ბაზა | ცალი | 3
9 | საევაკუაციო გასასვლელი EXIT | ცალი | 2
10 | საევაკუაციო გასასვლელი მარჯვნივ EXIT | ცალი | 1
11 | საევაკუაციო გასასვლელი მარცხნივ EXIT | ცალი | 3
12 | სახანძრო კაბელი, JE-H(St)H FE180/E90 - 2x2x1.5 | მეტრი | 250
13 | დამხმარე მასალები (მთლიანი ღირებულების 8%) | ცალი | 1
ქსელი
1 | შიდა მონტაჟის კამერა 4mp | ცალი | 3
2 | Router | ცალი | 1
3 | Network Video Recorder | კომპლექტი | 1
4 | Managed POE Switch 24-Port | ცალი | 2
5 | Managed non-POE Switch 24-Port | ცალი | 1
6 | Managed non-POE Switch 48-Port | ცალი | 1
7 | Pach Panel CAT5E FTP | ცალი | 4
8 | Cable Organizer | ცალი | 4
9 | პაჩკორდი Cat5e UTP RJ45 1 მეტრიანი | ცალი | 60
10 | Rack U16 | კომპლექტი | 1
11 | UPS 2 KW | კომპლექტი | 2
12 | Wifi modem | ცალი | 1
13 | ქსელის კაბელი FTP CAT-5e | მეტრი | 2000
14 | HDMI კაბელი | მეტრი | 5
15 | გოფრირებული მილი 20მმ. | მეტრი | 500
16 | კედელში ჩასაშენებელი HDMI როზეტი | ცალი | 1
17 | იატაკში ჩასაშენებელი HDMI როზეტი | ცალი | 1
18 | კედელში ჩასაშენებელი ქსელის როზეტი RJ45 1-Port connector | ცალი | 4
19 | კედელში ჩასაშენებელი ქსელის როზეტი RJ45 2-Port connector | ცალი | 14
20 | იატაკში ჩასაშენებელი ქსელის როზეტი RJ45 2-Port connector | ცალი | 10
21 | სამონტაჟო ბუდე 72mm | ცალი | 33
22 | დამხმარე მასალები (მთლიანი ღირებულების 8%) | ცალი | 1