Scope of work for Sheraton Grand Tbilisi Metechi Palace Hotel Solar system installation work

General:

- Detail shop drawings is attached

- Quality and brand of materials is defined of can be proposed similar.

- All equipment’s needs to be commercial use.

- Any material or equipment will require approval, prior delivery, or installation.

- Any activities will require proper planning and approval with technical manager.

- Proper barricades, wall, floor, or ceiling closure to be made to eliminate any damages of exiting installation.

- Constructive elements installation is provided in design sketch, which is mandatory to be followed any other element installation needs to be agreed with technical department.

- Any subsidizing program from government to be considered and detailed in the offer.

Solar System:

- Financial analysis to be provided including and not limited to investment cost, return on assets, amortization period, electricity production costs, remuneration and savings, cash flow etc.

- Type of system to be provided in detail.

- Any changes from design to be detailed.

- Warranty period and maintenance schedule to be included.

Contractor needs to represent following minimum staff all the time during installation activities:

- Safety representative.

- Foreman.

- MEP engineer.

- Skilled workers.