## GWP-RWC
Pipes
Fittings
Sewerage Pipe
PE 100 Materials
Item number | Item group | Name | Item Name by manufacturer | Annual Purchase | Unit | Comment | Image of sample per material type
I25A-16241 | Pipe | 63/16 PE 100 PIPE |  | 32940 | m
I25A-16732 | Pipe | 75/16 PE 100 PIPE |  | 24100 | m
I25A-12928 | Pipe | 90/16 PE 100 PIPE |  | 26178 | m
I25A-12106 | Pipe | 110/16 PE 100 PIPE |  | 30661.5 | m
I25A-12107 | Pipe | 250/16 PE 100 PIPE |  | 3864 | m
I25A-12109 | Pipe | 315/16 PE 100 PIPE |  | 4252.5 | m
J20B-14580 | Fitting | 63 MM PN16 FLANGE ADAPTER |  | 771 | PCS
J20B-12024 | Fitting | 75 MM PN16 FLANGE ADAPTER |  | 525 | PCS
J20B-12941 | Fitting | 110 MM PN16 FLANGE ADAPTER |  | 814 | PCS
J20B-12939 | Fitting | 160 MM PN16 FLANGE ADAPTER |  | 519 | PCS
J20B-12947 | Fitting | 200 MM PN16 FLANGE ADAPTER |  | 28 | PCS
J20B-26678 | Fitting | 225 MM PN16 FLANGE ADAPTER |  | 124 | PCS
L85A-18583 | Fitting | 63 MM PN16 GALVANIZED STEEL FLANGE |  | 130 | PCS
L85A-18509 | Fitting | 75 MM PN16 GALVANIZED STEEL FLANGE |  | 150 | PCS
L85A-21023 | Fitting | 225 MM PN16 GALVANIZED STEEL FLANGE |  | 10 | PCS
L85A-21019 | Fitting | 250 MM PN16 GALVANIZED STEEL FLANGE |  | 5 | PCS
J20K-12045 | Fitting | 110-63/16 PE 100 REDUCING TEE |  | 41 | PCS
J20K-16731 | Fitting | 110-75/16 PE 100 REDUCING TEE |  | 21 | PCS
J20K-20332 | Fitting | 110-90/16 PE 100 REDUCING TEE |  | 56 | PCS
J20G-12032 | Fitting | 75/63 MM PN16 PE 100 REDUCER |  | 199 | PCS
L85A-19484 | Fitting | 200 MM PN16 GALVANIZED STEEL FLANGE |  | 10 | PCS
J20B-19208 | Fitting | 355 MM PN16 FLANGE ADAPTER |  | 40 | PCS
I25A-12932 | Sewerage Pipe | 400 MM SN8/SN12/SN16 Triplex pipe (Double wall corrugated pipe) |  | 5417.1 | m
J20F-20515 | Fitting | 400 mm Triplex socket |  | 82 | PCS
J20F-20514 | Fitting | 300 mm Triplex socket |  | 161 | PCS
J20F-17618 | Fitting | 200 mm Triplex socket |  | 549 | PCS
J20F-20513 | Fitting | 150 mm Triplex socket |  | 512 | PCS
I25A-20511 | Fitting | 400 mm Triplex O-Ring |  | 982 | PCS
I25A-20510 | Fitting | 300 mm Triplex O-Ring |  | 2896 | PCS
I25A-20508 | Fitting | 200 mm Triplex O-Ring |  | 3026 | PCS
I25A-18088 | Fitting | 150 mm Triplex O-Ring |  | 1546 | PCS
L85A-23305 | Fitting | 315 MM PN16 GALVANIZED STEEL FLANGE |  | 10 | PCS
J20B-12944 | Fitting | 315 MM PN16 FLANGE ADAPTER |  | 69 | PCS
J20G-27253 | Fitting | 355-315 MM PN16 PE 100 REDUCER |  | 21 | PCS
J20G-12028 | Fitting | 40-25 MM PN16 PE 100 REDUCER |  | 45 | PCS
I25A-12102 | Pipe | 32/16 PE 100 PIPE |  | 12750 | m
I25A-13294 | Sewerage Pipe | 100 MM SN8/SN12/SN16 Triplex pipe (Double wall corrugated pipe) |  | 11316 | m
I25A-12099 | Pipe | 20/16 PE 100 PIPE |  | 8600 | m
J20E-34005 | Fitting | 20 MM PE 100 90' ELBOW |  | 677 | PCS
I25A-13197 | Pipe | 50/16 PE 100 PIPE |  | 17100 | m
J20G-12034 | Fitting | 90/63 MM PN16 PE 100 REDUCER |  | 85 | PCS
J20G-12959 | Fitting | 40-32 MM PN16 PE 100 REDUCER |  | 59 | PCS
J20G-23274 | Fitting | 32-25 MM PN16 PE 100 REDUCER |  | 60 | PCS
J20D-18587 | Fitting | 75 MM PE 100 end CAP |  | 209 | PCS
J20D-20955 | Fitting | 160 MM PE 100 end CAP |  | 101 | PCS
J20G-20537 | Fitting | 110-90 MM PN16 PE 100 REDUCER |  | 89 | PCS
J20D-23028 | Fitting | 50 MM PE 100 end CAP |  | 157 | PCS
L85A-19486 | Fitting | 110 MM PN16 GALVANIZED STEEL FLANGE |  | 191 | PCS
L85A-19485 | Fitting | 160 MM PN16 GALVANIZED STEEL FLANGE |  | 82 | PCS
J20K-45701 | Fitting | 355-160/16 PE 100 REDUCING TEE |  | 29 | PCS
J20K-49525 | Fitting | 355-90/16 PE 100 REDUCING TEE |  | 54 | PCS
J20K-45700 | Fitting | 355-110/16 PE 100 REDUCING TEE |  | 51 | PCS
J20E-45184 | Fitting | 355 MM PE 100 45' ELBOW |  | 20 | PCS
J20E-45796 | Fitting | 225 MM PE 100 45' ELBOW |  | 73 | PCS
J20E-12094 | Fitting | 110 MM PE 100 45' ELBOW |  | 158 | PCS
J20E-13481 | Fitting | 50 MM PE 100 45' ELBOW |  | 20 | PCS
I25A-43955 | Pipe | 355/16 PE 100 PIPE |  | 10449 | m
I25A-12930 | Sewerage Pipe | 500 MM SN8/SN12/SN16 Triplex pipe (Double wall corrugated pipe) |  | 7032 | m
I25A-24648 | Sewerage Pipe | 800 MM SN8/SN12/SN16 Triplex pipe (Double wall corrugated pipe) |  | 516 | m
J20F-20516 | Fitting | 500 mm Triplex socket |  | 51 | PCS
I25A-25546 | Fitting | 800 mm Triplex O-Ring |  | 138 | PCS
I25A-21325 | Fitting | 500 mm Triplex O-Ring |  | 1131 | PCS
I25A-16024 | Pipe | 200/16 PE 100 PIPE |  | 4536 | m
J20B-12942 | Fitting | 90 MM PN16 FLANGE ADAPTER |  | 888 | PCS
I25A-12100 | Pipe | 25/16 PE 100 PIPE |  | 15800 | m
I25A-12103 | Pipe | 40/16 PE 100 PIPE |  | 8800 | m
I25A-17076 | Pipe | 225/16 PE 100 PIPE |  | 10597 | m
I25A-14819 | Sewerage Pipe | 250 MM SN8/SN12/SN16 Triplex pipe (Double wall corrugated pipe) |  | 14426.1 | m
L85A-19853 | Fitting | 90 MM PN16 GALVANIZED STEEL FLANGE |  | 130 | PCS
J20G-12961 | Fitting | 25-20 MM PN16 PE 100 REDUCER |  | 103 | PCS
J20G-14091 | Fitting | 160-110 MM PN16 PE 100 REDUCER |  | 65 | PCS
J20G-19264 | Fitting | 75-50 MM PN16 PE 100 REDUCER |  | 30 | PCS
J20G-21362 | Fitting | 90-75 MM PN16 PE 100 REDUCER |  | 53 | PCS
J20K-23704 | Fitting | 63-50/16 PE 100 REDUCING TEE |  | 16 | PCS
J20G-20714 | Fitting | 200-160 MM PN16 PE 100 REDUCER |  | 14 | PCS
I25A-12929 | Sewerage Pipe | 150 MM SN8/SN12/SN16 Triplex pipe (Double wall corrugated pipe) |  | 11010 | m
I25A-21355 | Fitting | 100 mm Triplex O-Ring |  | 781 | PCS
J20F-20512 | Fitting | 100 mm Triplex socket |  | 668 | PCS
I25A-13196 | Pipe | 160/16 PE 100 PIPE |  | 26676 | m
J20F-17617 | Fitting | 250 mm Triplex socket |  | 436 | PCS
I25A-20509 | Fitting | 250 mm Triplex O-Ring |  | 2155 | PCS
J20K-20715 | Fitting | 90-90/16 PE 100 REDUCING TEE |  | 51 | PCS
J20K-12039 | Fitting | 32-32/16 PE 100 REDUCING TEE |  | 19 | PCS
J20D-18153 | Fitting | 110 MM PE 100 end CAP |  | 122 | PCS
J20G-12027 | Fitting | 90-50 MM PN16 PE 100 REDUCER |  | 5 | PCS
J20B-19470 | Fitting | 50 MM PN16 FLANGE ADAPTER |  | 53 | PCS
J20G-20991 | Fitting | 160-90 MM PN16 PE 100 REDUCER |  | 10 | PCS
I25A-46516 | Pipe | 500/16 PE 100 PIPE |  | 540 | m
J20G-12963 | Fitting | 50-32 MM PN16 PE 100 REDUCER |  | 60 | PCS
I25A-12931 | Sewerage Pipe | 300 MM SN8/SN12/SN16 Triplex pipe (Double wall corrugated pipe) |  | 15432.3 | m
I25A-12920 | Sewerage Pipe | 200 MM SN8/SN12/SN16 Triplex pipe (Double wall corrugated pipe) |  | 31272 | m
I25A-51925 | Sewerage Pipe | 1000 MM SN8/SN12/SN16 Triplex pipe (Double wall corrugated pipe) |  | 1188 | m
I25A-51927 | Fitting | 1000 mm Triplex O-Ring |  | 380 | PCS
J20G-12035 | Fitting | 110-63 MM PN16 PE 100 REDUCER |  | 27 | PCS
J20E-12056 | Fitting | 63 MM PE 100 90' ELBOW |  | 310 | PCS
J20E-12060 | Fitting | 75 MM PE 100 90' ELBOW |  | 203 | PCS
J20G-20524 | Fitting | 110-75 MM PN16 PE 100 REDUCER |  | 26 | PCS
J20E-12980 | Fitting | 50 MM PE 100 90' ELBOW |  | 200 | PCS
J20E-14319 | Fitting | 110 MM PE 100 90' ELBOW |  | 273 | PCS
J20D-20341 | Fitting | 90 MM PE 100 end CAP |  | 170 | PCS
J20G-12031 | Fitting | 63-40 MM PN16 PE 100 REDUCER |  | 25 | PCS
J20G-20704 | Fitting | 250-160 MM PN16 PE 100 REDUCER |  | 11 | PCS
J20G-22620 | Fitting | 160-75 MM PN16 PE 100 REDUCER |  | 16 | PCS
J20G-24861 | Fitting | 50-20 MM PN16 PE 100 REDUCER |  | 10 | PCS
J20G-41420 | Fitting | 75-40 MM PN16 PE 100 REDUCER |  | 10 | PCS
J20E-12973 | Fitting | 200 MM PE 100 90' ELBOW |  | 17 | PCS
J20G-41094 | Fitting | 75-32 MM PN16 PE 100 REDUCER |  | 1 | PCS
J20K-12043 | Fitting | 75-63/16 PE 100 REDUCING TEE |  | 3 | PCS
J20K-12046 | Fitting | 110-110/16 PE 100 EQUAL TEE |  | 46 | PCS
J20G-12030 | Fitting | 63-32 MM PN16 PE 100 REDUCER |  | 121 | PCS
J20G-22586 | Fitting | 50-25 MM PN16 PE 100 REDUCER |  | 27 | PCS
J20G-12029 | Fitting | 63-25 MM PN16 PE 100 REDUCER |  | 20 | PCS
J20G-14596 | Fitting | 225-110 MM PN16 PE 100 REDUCER |  | 7 | PCS
J20G-20536 | Fitting | 63-50 MM PN16 PE 100 REDUCER |  | 130 | PCS
J20E-14320 | Fitting | 160 MM PE 100 90' ELBOW |  | 213 | PCS
J20E-20352 | Fitting | 63 MM PE 100 45' ELBOW |  | 72 | PCS
J20E-20538 | Fitting | 90 MM PE 100 90' ELBOW |  | 171 | PCS
J20E-12055 | Fitting | 40 MM PE 100 90' ELBOW |  | 228 | PCS
J20B-12025 | Fitting | 250 MM PN16 FLANGE ADAPTER |  | 39 | PCS
J20K-14592 | Fitting | 160-110/16 PE 100 REDUCING TEE |  | 36 | PCS
J20G-42440 | Fitting | 90-32 MM PN16 PE 100 REDUCER |  | 10 | PCS
J20D-27406 | Fitting | 32 MM PE 100 end CAP |  | 114 | PCS
J20G-40111 | Fitting | 125-110 MM PN16 PE 100 REDUCER |  | 15 | PCS
J20K-23238 | Fitting | 250-110/16 PE 100 REDUCING TEE |  | 7 | PCS
J20K-12042 | Fitting | 63-63/16 PE 100 EQUAL TEE |  | 75 | PCS
J20E-12979 | Fitting | 32 MM PE 100 90' ELBOW |  | 560 | PCS
I25A-27343 | Pipe | 630/16 PE 100 PIPE |  | 216 | m
I25A-16724 | Pipe | 125/16 PE 100 PIPE |  | 40.5 | m
J20D-20354 | Fitting | 63 MM PE 100 end CAP |  | 222 | PCS
J20D-20416 | Fitting | 40 MM PE 100 end CAP |  | 77 | PCS
J20E-12065 | Fitting | 75 MM PE 100 45' ELBOW |  | 38 | PCS
J20E-12066 | Fitting | 90 MM PE 100 45' ELBOW |  | 98 | PCS
J20E-12071 | Fitting | 160 MM PE 100 45' ELBOW |  | 192 | PCS
J20E-14594 | Fitting | 225 MM PE 100 90' ELBOW |  | 43 | PCS
I25A-23163 | Sewerage Pipe | 600 MM SN8/SN12/SN16 Triplex pipe (Double wall corrugated pipe) |  | 1938 | m
J20F-24738 | Fitting | 600 mm Triplex socket |  | 15 | PCS
J20D-22378 | Fitting | 25 MM PE 100 end CAP |  | 1 | PCS
J20G-12960 | Fitting | 50-40 MM PN16 PE 100 REDUCER |  | 35 | PCS
J20K-19482 | Fitting | 160-50/16 PE 100 REDUCING TEE |  | 4 | PCS
J20K-20986 | Fitting | 160-90/16 PE 100 REDUCING TEE |  | 63 | PCS
J20K-14086 | Fitting | 160-160/16 PE 100 EQUAL TEE |  | 8 | PCS
J20K-26661 | Fitting | 110-40/16 PE 100 REDUCING TEE |  | 2 | PCS
J20K-23161 | Fitting | 63-32/16 PE 100 REDUCING TEE |  | 49 | PCS
J20K-40123 | Fitting | 90-75/16 PE 100 REDUCING TEE |  | 21 | PCS
I25A-42295 | Pipe | 280/16 PE 100 PIPE |  | 243 | m
I25A-45210 | Pipe | 180/16 PE 100 PIPE |  | 297 | m
J20E-18349 | Fitting | 40 MM PE 100 45' ELBOW |  | 10 | PCS
J20E-44345 | Fitting | 25 MM PE 100 45' ELBOW |  | 68 | PCS
J20K-12052 | Fitting | 160-75/16 PE 100 REDUCING TEE |  | 2 | PCS
J20K-22645 | Fitting | 75-75/16 PE 100 EQUAL TEE |  | 28 | PCS
J20K-25283 | Fitting | 315-110/16 PE 100 REDUCING TEE |  | 2 | PCS
I25A-23218 | Fitting | 600 mm Triplex O-Ring |  | 598 | PCS
J20K-26660 | Fitting | 110/32 mm PN 16 PE 100 Reducing Tee |  | 137 | PCS
J20K-46381 | Fitting | 355/225 mm PN 16 PE 100 Reducing Tee |  | 14 | PCS
J20K-23025 | Fitting | 90/63 mm PN 16 PE 100 Reducing Tee (inj.) |  | 42 | PCS
J20G-27519 | Fitting | 225/160 mm PN 16 PE 100 Reducer (Inj.) |  | 14 | PCS
J25A-63120 | Pipe | 800 mm SDR 17 PN 10 PE 100 Pipe (L=13.5 mt) |  | 27 | m
J20B-12938 | Fitting | 180 mm PN 16 PE 100 Flange Adapter (lnj.) |  | 2 | PCS
J20G-59240 | Fitting | 225/180 mm PN 16 PE 100 Reducer |  | 2 | PCS
J20G-43835 | Fitting | 160/125 mm PN 16 PE 100 Reducer (lnj.) |  | 18 | PCS
J20K-14587 | Fitting | 225/110 mm PN 16 PE 100 Reducing Tee (lnj.) |  | 11 | PCS
J20K-62213 | Fitting | 225/50 mm PN 16 PE 100 Reducing Tee |  | 11 | PCS
J20E-12098 | Fitting | 200 mm PN 16 PE 100 Elbow 45° (Inj. ) |  | 28 | PCS
J20K-58576 | Fitting | 355/50 mm PN 16 PE 100 Reducing Tee |  | 12 | PCS
J20K-14583 | Fitting | 315/160 mm PN 16 PE 100 Reducing Tee (Inj.) |  | 7 | PCS
J20K-40122 | Fitting | 90/32 mm PN 16 PE 100 Reducing Tee |  | 43 | PCS
J20K-40708 | Fitting | 63/40 mm PN 16 PE 100 Reducing Tee |  | 12 | PCS
J20K-23160 | Fitting | 63/25 mm PN 16 PE 100 Reducing Tee |  | 88 | PCS
J20K-13461 | Fitting | 50/50 mm PN 16 PE 100 Reducing Tee |  | 59 | PCS
J20K-40112 | Fitting | 315/90 mm PN 16 PE 100 Reducing Tee |  | 9 | PCS
J20K-19477 | Fitting | 200/110 mm PN 16 PE 100 Reducing Tee |  | 10 | PCS
J20K-28643 | Fitting | 20/20 mm PN 16 PE 100 Reducing Tee |  | 8 | PCS
J20K-12049 | Fitting | 160/32 mm PN 16 PE 100 Reducing Tee |  | 201 | PCS
J20E-20994 | Fitting | 315 mm PN 16 PE 100 Elbow 45° |  | 14 | PCS
I25A-53025 | Pipe | 140 mm SDR 11 PN 16 PE 100 Pipe (L=13mt) |  | 40 | m
J20K-51805 | Fitting | 315/32 mm PN 16 PE 100 Reducing Tee |  | 8 | PCS
J20D-23973 | Fitting | 200 mm PN 16 PE 100 End Cap (Inj. ) |  | 11 | PCS
J20G-46355 | Fitting | 355/160 mm PN 16 PE 100 Reducer |  | 10 | PCS
J20G-42307 | Fitting | 250/110 mm PN 16 PE 100 Reducer |  | 2 | PCS
J20K-12053 | Fitting | 200/63 mm PN 16 PE 100 Reducing Tee |  | 7 | PCS
J20K-16729 | Fitting | 200/160 mm PN 16 PE 100 Reducing Tee |  | 7 | PCS
J20K-20525 | Fitting | 250/250 mm PN 16 PE 100 Reducing Tee |  | 3 | PCS
J20K-27250 | Fitting | 355/355 mm PN 16 PE 100 Reducing Tee |  | 2 | PCS
J20G-41115 | Fitting | 250/225 mm PN 16 PE 100 Reducer |  | 11 | PCS
J20G-27348 | Fitting | 250/200 mm PN 16 PE 100 Reducer |  | 6 | PCS
J20K-40128 | Fitting | 75/50 mm PN 16 PE 100 Reducing Tee |  | 9 | PCS
J20E-12104 | Fitting | 250 mm PN 16 PE 100 Elbow 45° |  | 18 | PCS
J20G-48336 | Fitting | 225/200 mm PN 16 PE 100 Reducer |  | 10 | PCS
J20G-43732 | Fitting | 315/160 mm PN 16 PE 100 Reducer |  | 5 | PCS
J20G-34126 | Fitting | 110/32 mm PN 16 PE 100 Reducer |  | 12 | PCS
J20G-14597 | Fitting | 160/63 mm PN 16 PE 100 Reducer |  | 11 | PCS
J20K-20583 | Fitting | 110/50 mm PN 16 PE 100 Reducing Tee |  | 8 | PCS
J20E-12108 | Fitting | 315 mm PN 16 PE 100 Elbow 30° |  | 3 | PCS
J20G-44336 | Fitting | 160/50 mm PN 16 PE 100 Reducer |  | 5 | PCS
J20K-46358 | Fitting | 355/315 mm PN 16 PE 100 Reducing Tee |  | 4 | PCS
J20G-51698 | Fitting | 355/225 mm PN 16 PE 100 Reducer |  | 9 | PCS
J20G-23235 | Fitting | 200/110 mm PN 16 PE 100 Reducer |  | 10 | PCS
J20K-20533 | Fitting | 315/200 mm PN 16 PE 100 Reducing Tee |  | 5 | PCS
J20K-14585 | Fitting | 225/225 mm PN 16 PE 100 Reducing Tee |  | 9 | PCS
J20K-12051 | Fitting | 160/63 mm PN 16 PE 100 Reducing Tee |  | 50 | PCS
J20G-27390 | Fitting | 315/250 mm PN 16 PE 100 Reducer |  | 4 | PCS
A00A-55798 | Fitting | 160/25 mm PN 16 PE 100 Reducing Tee |  | 80 | PCS
J20K-20584 | Fitting | 225/90 mm PN 16 PE 100 Reducing Tee |  | 25 | PCS
J20K-20727 | Fitting | 225/63 mm PN 16 PE 100 Reducing Tee |  | 54 | PCS
J20K-62214 | Fitting | 225/25 mm PN 16 PE 100 Reducing Tee |  | 6 | PCS
J20K-19480 | Fitting | 200/50 mm PN 16 PE 100 Reducing Tee |  | 2 | PCS
J20E-20526 | Fitting | 250 mm PN 16 PE 100 Elbow 90° |  | 2 | PCS
J20K-23239 | Fitting | 250/160 mm PN 16 PE 100 Reducing Tee |  | 5 | PCS
J20G-43731 | Fitting | 315/225 mm PN 16 PE 100 Reducer |  | 6 | PCS
J20K-51360 | Fitting | 355/75 mm PN 16 PE 100 Reducing Tee |  | 5 | PCS
I25A-63768 | Pipe | 200 mm SN8 Triplex Perforated Pipe(Plain End, L=6m) |  | 144 | m
J20D-25720 | Fitting | 225 mm PN 16 PE 100 End Cap (inj.) |  | 4 | PCS
J20K-44503 | Fitting | 300 mm Triplex Equal Tee 90° |  | 3 | PCS
I25A-56845 | Pipe | 560 mm SDR 11 PN 16 PE 100 Pipe (L=13.5 mt) |  | 67.5 | m
J20K-53240 | Fitting | 250/200 mm PN 16 PE 100 Reducing Tee |  | 1 | PCS
J20K-23240 | Fitting | 250/90 mm PN 16 PE 100 Reducing Tee |  | 11 | PCS
J20K-20529 | Fitting | 315/315 mm PN 16 PE 100 Reducing Tee |  | 1 | PCS
J20G-42647 | Fitting | 110/40 mm PN 16 PE 100 Reducer |  | 6 | PCS
J20D-42311 | Fitting | 250 mm PN 16 PE 100 End Cap (inj.) |  | 3 | PCS
J20K-41417 | Fitting | 315/225 mm PN 16 PE 100 Reducing Tee |  | 2 | PCS
J20E-12970 | Fitting | 140 mm PN 16 PE 100 Elbow 90° |  | 4 | PCS
J20K-44502 | Fitting | 400 mm Triplex Equal Tee 90° |  | 4 | PCS
J20F-51926 | Fitting | 1000 mm Triplex Socket |  | 10 | PCS
J20F-25545 | Fitting | 800 mm Triplex Socket |  | 12 | PCS
J20D-45703 | Fitting | 315 mm PN 16 PE 100 End Cap (inj.) |  | 1 | PCS
J20B-12023 | Fitting | 40 mm PN 16 PE 100 Flange Adapter |  | 2 | PCS
J20K-27251 | Fitting | 355/63 mm PN 16 PE 100 Reducing Tee |  | 6 | PCS
J20K-53658 | Fitting | 355/250 mm PN 16 PE 100 Reducing Tee |  | 6 | PCS
J20K-49290 | Fitting | 355/200 mm PN 16 PE 100 Reducing Tee |  | 2 | PCS
J20K-40121 | Fitting | 90/25 mm PN 16 PE 100 Reducing Tee |  | 66 | PCS
J20K-40126 | Fitting | 75/32 mm PN 16 PE 100 Reducing Tee |  | 108 | PCS
J20K-40119 | Fitting | 110/25 mm PN 16 PE 100 Reducing Tee |  | 113 | PCS
J20K-26663 | Fitting | 90/40 mm PN 16 PE 100 Reducing Tee |  | 1 | PCS
I25A-56439 | Pipe | 630 mm SDR 17 PN 10 PE 100 Pipe (L=13.5 mt) |  | 148.5 | m
J20K-12038 | Fitting | 25/25 mm PN 16 PE 100 Reducing Tee |  | 15 | PCS
J20E-44346 | Fitting | 32 mm PN 16 PE 100 Elbow 45° |  | 9 | PCS
J15E-62361 | Fitting | 90 mm PN 16 PE 100 Elbow 90° (Inj.) |  | 1 | PCS
J20K-20985 | Fitting | 90/50 mm PN 16 PE 100 Reducing Tee |  | 1 | PCS
J20K-41331 | Fitting | 225/160 mm PN 16 PE 100 Reducing Tee |  | 8 | PCS
J20E-64530 | Fitting | 150 mm Triplex Elbow 90° (Inj.) |  | 1 | PCS
J20E-64535 | Fitting | 200 mm Triplex Elbow 90° (Inj.) |  | 1 | PCS
J20E-64536 | Fitting | 250 mm Triplex Elbow 45° |  | 2 | PCS
J20K-64537 | Fitting | 300/200 mm Triplex Reducing Tee 90° |  | 1 | PCS
J20K-64538 | Fitting | 300/150 mm Triplex Reducing Tee 90° |  | 1 | PCS
J20K-40116 | Fitting | 225/75 mm PN 16 PE 100 Reducing Tee |  | 2 | PCS
J20K-26662 | Fitting | 315/63 mm PN 16 PE 100 Reducing Tee |  | 3 | PCS
J20K-62210 | Fitting | 315/25 mm PN 16 PE 100 Reducing Tee |  | 1 | PCS
J20K-40120 | Fitting | 90/20 mm PN 16 PE 100 Reducing Tee |  | 8 | PCS
J20G-51699 | Fitting | 225/90 mm PN 16 PE 100 Reducer |  | 1 | PCS
J20K-40125 | Fitting | 75/25 mm PN 16 PE 100 Reducing Tee |  | 27 | PCS
J20K-40127 | Fitting | 75/40 mm PN 16 PE 100 Reducing Tee |  | 1 | PCS
I25A-20372 | Pipe | 90 mm SDR 17 PN 10 PE 100 Pipe (L=100 mt coils) |  | 300 | m
I25A-14323 | Pipe | 110 mm SDR 17 PN 10 PE 100 Pipe (L=13.5 mt) |  | 162 | m
J20B-34092 | Fitting | 110 mm PN 10 PE 100 Flange Adapter (Inj.) |  | 33 | PCS
I25A-14322 | Pipe | 160 mm SDR 17 PN 10 PE 100 Pipe (L=13.5 mt) |  | 688.5 | m
J20B-40142 | Fitting | 160 mm PN 10 PE 100 Flange Adapter (Inj.) |  | 5 | PCS
J20G-58466 | Fitting | 160/140 mm PN 16 PE 100 Reducer (Inj.) |  | 2 | PCS
J20B-17550 | Fitting | 140 mm PN 16 PE 100 Flange Adapter (Inj.) |  | 2 | PCS