## Equipment list
Date:2023-7-1
Project Name:
Equipment List
Model | Quantity | Description | Unit Price | Ratio | Total Amount
MV6-i560WV2GN1 | 1 | V6-i VRF (380-415V) | 0 | 1 | 0
MV6-i450WV2GN1 | 3 | V6-i VRF (380-415V) | 0 | 1 | 0
MDV-D71T2/N1-DA5(B) | 2 | Medium Static Pressure Duct | 0 | 1 | 0
MDV-D56T2/N1-DA5(B) | 9 | Medium Static Pressure Duct | 0 | 1 | 0
MDV-D45T2/N1-DA5(B) | 1 | Medium Static Pressure Duct | 0 | 1 | 0
MDV-D36T2/N1-DA5(B) | 3 | Medium Static Pressure Duct | 0 | 1 | 0
MDV-D28T2/N1-DA5(B) | 20 | Medium Static Pressure Duct | 0 | 1 | 0
MDV-D22T2/N1-DA5(B) | 4 | Medium Static Pressure Duct | 0 | 1 | 0
FQZHN-02D | 16 | Branch joint | 0 | 1 | 0
FQZHN-01D | 16 | Branch joint | 0 | 1 | 0
FQZHN-03D | 4 | Branch joint | 0 | 1 | 0
AHUKZ-03B | 1 | AHU Kit(Standard wired controller KJR-29B) | 0 | 1 | 0
Ф12.7<->Ф15.9 | 4 | Reducer | 0 | 1 | 0
Ф22.2<->Ф25.4 | 1 | Reducer | 0 | 1 | 0
Total Amount |  |  |  |  | 0

## Field providing list
Date:2023-7-1
Project Name:
Field Providing List
Refrigerant Piping Materials
Pipe Size(mm) | Total Length(m) | Number of Bends
Ф6.35 | 80,00 | 0
Ф9.53 | 128,00 | 0
Ф12.7 | 154,00 | 0
Ф15.9 | 145,00 | 0
Ф19.1 | 63,00 | 0
Ф22.2 | 23,00 | 0
Ф25.4 | 5,00 | 0
Ф28.6 | 8,00 | 0
Ф31.8 | 40,00 | 0
Notes:
All refrigerant piping and branch joints should be completely insulated.
Recommended insulation casing thickness:
Pipe Size (mm) | Thickness (mm)
| Humidity<80%RH | Humidity≥80%RH
Φ6.35~Φ38.1 | ≥15 | ≥20
Φ41.3~Φ38.1 | ≥20 | ≥25
Refrigerant charge
Refrigerant Type | Amount(kg) | Description
R410A | 26,44 | Extra refrigerant charge
Electrical Cables
Type | Size | Length
Power supply cable | Select based on MCA of each unit | According to the actual system design
Communication cable | 0.75mm2 3-core shielded | According to the actual system design

## Quotation
Project Quotation
No. | Name | Series | Model | Quantity | Unit | Unit Price | Ratio | Total Amount
System1
1 | V6-i VRF (380-415V) | VRF 50Hz R410A | MV6-i560WV2GN1 | 1 |  | 0 | 1 | 0
2 | Medium Static Pressure Duct | VRF 50Hz R410A | MDV-D71T2/N1-DA5(B) | 2 |  | 0 | 1 | 0
3 | Medium Static Pressure Duct | VRF 50Hz R410A | MDV-D56T2/N1-DA5(B) | 6 |  | 0 | 1 | 0
4 | Medium Static Pressure Duct | VRF 50Hz R410A | MDV-D45T2/N1-DA5(B) | 1 |  | 0 | 1 | 0
5 | Medium Static Pressure Duct | VRF 50Hz R410A | MDV-D28T2/N1-DA5(B) | 1 |  | 0 | 1 | 0
6 | Branch joint |  | FQZHN-02D | 1 |  | 0 | 1 | 0
7 | Branch joint |  | FQZHN-01D | 6 |  | 0 | 1 | 0
8 | Branch joint |  | FQZHN-03D | 2 |  | 0 | 1 | 0
9 | Pipe |  | Ф6.35 | 7 | m | 0 | 1 | 0
10 | Pipe |  | Ф9.53 | 67 | m | 0 | 1 | 0
11 | Pipe |  | Ф12.7 | 8 | m | 0 | 1 | 0
12 | Pipe |  | Ф15.9 | 61 | m | 0 | 1 | 0
13 | Pipe |  | Ф19.1 | 10 | m | 0 | 1 | 0
14 | Pipe |  | Ф22.2 | 1 | m | 0 | 1 | 0
15 | Pipe |  | Ф28.6 | 6 | m | 0 | 1 | 0
16 | R410A refrigerant |  | R410A | 5.27 | kg | 0 | 1 | 0
System2
17 | V6-i VRF (380-415V) | VRF 50Hz R410A | MV6-i450WV2GN1 | 1 |  | 0 | 1 | 0
18 | Medium Static Pressure Duct | VRF 50Hz R410A | MDV-D36T2/N1-DA5(B) | 2 |  | 0 | 1 | 0
19 | Medium Static Pressure Duct | VRF 50Hz R410A | MDV-D28T2/N1-DA5(B) | 11 |  | 0 | 1 | 0
20 | Medium Static Pressure Duct | VRF 50Hz R410A | MDV-D22T2/N1-DA5(B) | 3 |  | 0 | 1 | 0
21 | Branch joint |  | FQZHN-02D | 14 |  | 0 | 1 | 0
22 | Branch joint |  | FQZHN-03D | 1 |  | 0 | 1 | 0
23 | Pipe |  | Ф6.35 | 42 | m | 0 | 1 | 0
24 | Pipe |  | Ф12.7 | 105 | m | 0 | 1 | 0
25 | Pipe |  | Ф15.9 | 32 | m | 0 | 1 | 0
26 | Pipe |  | Ф19.1 | 39 | m | 0 | 1 | 0
27 | Pipe |  | Ф22.2 | 19 | m | 0 | 1 | 0
28 | Pipe |  | Ф25.4 | 5 | m | 0 | 1 | 0
29 | Pipe |  | Ф31.8 | 32 | m | 0 | 1 | 0
30 | Reducer |  | Ф12.7<->Ф15.9 | 2 |  | 0 | 1 | 0
31 | Reducer |  | Ф22.2<->Ф25.4 | 1 |  | 0 | 1 | 0
32 | R410A refrigerant |  | R410A | 14.15 | kg | 0 | 1 | 0
System3
33 | V6-i VRF (380-415V) | VRF 50Hz R410A | MV6-i450WV2GN1 | 1 |  | 0 | 1 | 0
34 | Medium Static Pressure Duct | VRF 50Hz R410A | MDV-D56T2/N1-DA5(B) | 3 |  | 0 | 1 | 0
35 | Medium Static Pressure Duct | VRF 50Hz R410A | MDV-D36T2/N1-DA5(B) | 1 |  | 0 | 1 | 0
36 | Medium Static Pressure Duct | VRF 50Hz R410A | MDV-D28T2/N1-DA5(B) | 8 |  | 0 | 1 | 0
37 | Medium Static Pressure Duct | VRF 50Hz R410A | MDV-D22T2/N1-DA5(B) | 1 |  | 0 | 1 | 0
38 | Branch joint |  | FQZHN-01D | 10 |  | 0 | 1 | 0
39 | Branch joint |  | FQZHN-02D | 1 |  | 0 | 1 | 0
40 | Branch joint |  | FQZHN-03D | 1 |  | 0 | 1 | 0
41 | Pipe |  | Ф6.35 | 31 | m | 0 | 1 | 0
42 | Pipe |  | Ф9.53 | 61 | m | 0 | 1 | 0
43 | Pipe |  | Ф12.7 | 31 | m | 0 | 1 | 0
44 | Pipe |  | Ф15.9 | 52 | m | 0 | 1 | 0
45 | Pipe |  | Ф19.1 | 14 | m | 0 | 1 | 0
46 | Pipe |  | Ф22.2 | 3 | m | 0 | 1 | 0
47 | Pipe |  | Ф31.8 | 8 | m | 0 | 1 | 0
48 | R410A refrigerant |  | R410A | 5.92 | kg | 0 | 1 | 0
System4
49 | V6-i VRF (380-415V) | VRF 50Hz R410A | MV6-i450WV2GN1 | 1 |  | 0 | 1 | 0
50 | AHU Kit |  | AHUKZ-03B | 1 |  | 0 | 1 | 0
51 | Pipe |  | Ф12.7 | 10 | m | 0 | 1 | 0
52 | Pipe |  | Ф28.6 | 2 | m | 0 | 1 | 0
53 | Reducer |  | Ф12.7<->Ф15.9 | 2 |  | 0 | 1 | 0
54 | R410A refrigerant |  | R410A | 1.1 | kg | 0 | 1 | 0
Total | [7 empty] | 0