## Project_Valve list
[5 empty] | Name: | Manual Valves |  | Dwg.No. | P1364-PR-016c Combined v4 |  | CONNECTION: F = Flanged FT = Flanged (tongue and groove) BF = Between flanges S = Screwed W = Welded |  |  | MATERIAL MARKINGS SS= Stainless steel CS = Carbon steel PP = Plastic GGG = Scheroidal steel GS = Cast steel |  | PFT= Slurry WPR = Process water WFR = Gland Seal Water LFR = Flocculent
[5 empty] | Client: |  |  | Drawn: | LCR | 2022-01-24
[8 empty] | Chk'd | LCR | 2022-04-04
[5 empty] | Project: |  |  | Appr'd | LCR | 2022-07-19
[8 empty] | Revision | 11 | Issued for Construction
Dep. | Valve/ Armatur Number |  | DN | Type / Code | Medium | Material |  | PN | Supplier / Manufacture | Manufacture's type | Connection | Line /Equipment Number | Remarks | PID Number | Price Option Carbon steel in € | Price Option Stainless steel in € | Link to datasheet | Note
[6 empty] | Body | Inner Parts
ZF01 | V | 2001 | 150 | Knife Gate Valve | PFT | CS or SS | CS or SS | 10 |  |  | F | ZF01-2001-PFT |  | P1364-PR-14
ZF01 | V | 2002 | 150 | Knife Gate Valve | PFT | CS or SS | CS or SS | 10 |  |  | F | ZF01-2002-PFT |  | P1364-PR-14
ZF01 | V | 2003 | 15 | Ball Valve | WFR | CS or SS | CS or SS | 16 |  |  | W | ZF01-2048-WFR |  | P1364-PR-14
ST02 | V | 2004 | 50 | Ball Valve | PFT | CS or SS | CS or SS | 10 |  |  | F | ST02-2005-PFT |  | P1364-PR-14
ST02 | V | 2005 | 50 | Ball Valve | PFT | CS or SS | CS or SS | 10 |  |  | F | ST02.2050-PFT |  | P1364-PR-14
ZF01 | V | 2006 | 15 | Ball Valve | WFR | CS or SS | CS or SS | 16 |  |  | W | ZF01-2049-WFR |  | P1364-PR-14
ST02 | V | 2011 | 200 | Ball Valve | AIR | CS or SS | CS or SS | 10 |  |  | F | ST02-2020-AIR |  | P1364-PR-14
ST02 | V | 2013 | 50 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2032-WPR |  | P1364-PR-14
ST02 | V | 2014 | 50 | Check valve | WPR | CS or SS | CS or SS | 10 |  |  | BF | ST02-2032-WPR |  | P1364-PR-14
ST02 | V | 2015 | 50 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2071-WPR |  | P1364-PR-14
ST02 | V | 2016 | 100 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2070-WPR |  | P1364-PR-14
ST02 | V | 2017 | 200 | Knife Gate Valve | WPR | CS or SS | CS or SS | 10 |  |  | BF | ST02-2029-WPR |  | P1364-PR-14
ST02 | V | 2018 | 15 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | W | ST02-2024-WPR |  | P1364-PR-14
ST02 | V | 2019 | 50 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | BF | ST02-2022-WPR |  | P1364-PR-14
ST02 | V | 2021 | 15 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | W | ST02-2025-WPR |  | P1364-PR-14
ST02 | V | 2023 | 50 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | BF | ST02-2023-WPR |  | P1364-PR-14
ST02 | V | 2034 | 400 | Knife Gate Valve | PFT | CS or SS | CS or SS | 10 |  |  | F | ST02-2015-PFT |  | P1364-PR-14
ST02 | V | 2037 | 350 | Knife Gate Valve | PFT | CS or SS | CS or SS | 10 |  |  | F | ST02-2015-PFT |  | P1364-PR-14
ST02 | V | 2038 | 350 | Knife Gate Valve | PFT | CS or SS | CS or SS | 10 |  |  | F | ST02-2016-PFT |  | P1364-PR-14
ST02 | V | 2139 | 200 | Ball Valve | AIR | CS or SS | CS or SS | 10 |  |  | F | ST02-2120-AIR |  | P1364-PR-14
ST02 | V | 2140 | 50 | Check valve | WPR | CS or SS | CS or SS | 10 |  |  | BF | ST02-2132-WPR |  | P1364-PR-14
ST02 | V | 2142 | 50 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2132-WPR |  | P1364-PR-14
ST02 | V | 2143 | 50 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2171-WPR |  | P1364-PR-14
ST02 | V | 2044 | 50 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2174-WPR |  | P1364-PR-14
ST02 | V | 2045 | 50 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2074-WPR |  | P1364-PR-14
ST02 | V | 2046 | 50 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2073-WPR |  | P1364-PR-14
ST02 | V | 2047 | 125 | Knife Gate Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2034-WPR |  | P1364-PR-14
ST02 | V | 2051 | 150 | Knife Gate Valve | PFT | CS or SS | CS or SS | 10 |  |  | F | ST02-2005-PFT |  | P1364-PR-14
ST02 | V | 2052 | 150 | Knife Gate Valve | PFT | CS or SS | CS or SS | 10 |  |  | F | ST02-2050-PFT |  | P1364-PR-14
ST02 | V | 2053 | 80 | Ball Valve | WFR | CS or SS | CS or SS | 10 |  |  | F | ST02-2051-WFR |  | P1364-PR-14
ST02 | V | 2054 | 65 | Ball Valve | WFR | CS or SS | CS or SS | 10 |  |  | F | ST02-2053-WFR |  | P1364-PR-14
ST02 | V | 2055 | 50 | Ball Valve | WFR | CS or SS | CS or SS | 10 |  |  | F | ST02-2052-WFR |  | P1364-PR-14
ST02 | V | 2056 | 25 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | W | ST02-2026-WPR |  | P1364-PR-14
ST02 | V | 2057 | 250 | Knife Gate Valve | PFT | CS or SS | CS or SS | 16 |  |  | F | ST02-2011-PFT |  | P1364-PR-14
ST02 | V | 2058 | 50 | Knife Gate Valve | PFT | CS or SS | CS or SS | 16 |  |  | F | ST02-2011-PFT |  | P1364-PR-14
ST02 | V | 2059 | 250 | Knife Gate Valve | PFT | CS or SS | CS or SS | 16 |  |  | F | ST02-2012-PFT |  | P1364-PR-14
ST02 | V | 2060 | 50 | Knife Gate Valve | PFT | CS or SS | CS or SS | 16 |  |  | F | ST02-2012-PFT |  | P1364-PR-14
ST02 | V | 2062 | 250 | Knife Gate Valve | PFT | CS or SS | CS or SS | 10 |  |  | F | ST02-2040-PFT |  | P1364-PR-14
ST02 | V | 2066 | 25 | Ball Valve | WFR | CS or SS | CS or SS | 40 |  |  | W | ST02-2080-WFR |  | P1364-PR-14
ST02 | V | 2073 | 65 | Ball Valve | WFR | CS or SS | CS or SS | 10 |  |  | F | ST02-2076-WFR |  | P1364-PR-14
ST02 | V | 2074 | 65 | Check Valve | WFR | CS or SS | CS or SS | 40 |  |  | BF | ST02-2077-WFR |  | P1364-PR-14
ST02 | V | 2075 | 65 | Ball Valve | WFR | CS or SS | CS or SS | 10 |  |  | F | ST02-2078-WFR |  | P1364-PR-14
ST02 | V | 2076 | 65 | Check Valve | WFR | CS or SS | CS or SS | 40 |  |  | BF | ST02-2079-WFR |  | P1364-PR-14
ST02 | V | 2077 | 25 | Ball Valve | WFR | CS or SS | CS or SS | 10 |  |  | F | ST02-2076-WFR |  | P1364-PR-14
ST02 | V | 2078 | 25 | Ball Valve | WFR | CS or SS | CS or SS | 10 |  |  | F | ST02-2078-WFR |  | P1364-PR-14
ST02 | V | 2079 | 15 | Ball Valve | WFR | CS or SS | CS or SS | 40 |  |  | W | ST02-2077-WFR |  | P1364-PR-14
ST02 | V | 2080 | 15 | Ball Valve | WFR | CS or SS | CS or SS | 40 |  |  | W | ST02-2079-WFR |  | P1364-PR-14
ST02 | V | 2081 | 65 | Ball Valve | WFR | CS or SS | CS or SS | 40 |  |  | F | ST02-2081-WFR |  | P1364-PR-14
ST02 | V | 2082 | 15 | Ball Valve | WFR | CS or SS | CS or SS | 40 |  |  | W | ST02-2082-WFR |  | P1364-PR-14
ST02 | V | 2083 | 15 | Ball Valve | WFR | CS or SS | CS or SS | 40 |  |  | W | ST02-2083-WFR |  | P1364-PR-14
ST02 | V | 2084 | 15 | Ball Valve | WFR | CS or SS | CS or SS | 40 |  |  | W | ST02-2084-WFR |  | P1364-PR-14
ST02 | V | 2085 | 15 | Ball Valve | WFR | CS or SS | CS or SS | 40 |  |  | W | ST02-2085-WFR |  | P1364-PR-14
ST02 | V | 2090 | 32 | Check Valve | WFR | CS or SS | CS or SS | 40 |  |  | BF | ST02-2082-WFR |  | P1364-PR-14
ST02 | V | 2094 | 15 | Ball Valve | WFR | CS or SS | CS or SS | 40 |  |  | W | ST02-2082-WFR |  | P1364-PR-14
ST02 | V | 2101 | 65 | Ball Valve | WFR | CS or SS | CS or SS | 40 |  |  | F | ST02-2086-WFR |  | P1364-PR-14
ST02 | V | 2102 | 100 | Ball Valve | WFR | CS or SS | CS or SS | 40 |  |  | F | ST02-2087-WFR |  | P1364-PR-14
ST02 | V | 2103 | 100 | Ball Valve | WFR | CS or SS | CS or SS | 40 |  |  | F | ST02-2088-WFR |  | P1364-PR-14
ST02 | V | 2104 | 100 | Ball Valve | WFR | CS or SS | CS or SS | 40 |  |  | F | ST02-2089-WFR |  | P1364-PR-14
ST02 | V | 2105 | 100 | Ball Valve | WFR | CS or SS | CS or SS | 40 |  |  | F | ST02-2090-WFR |  | P1364-PR-14
ST02 | V | 2110 | 32 | Check Valve | WFR | CS or SS | CS or SS | 40 |  |  | BF | ST02-2087-WFR |  | P1364-PR-14
ST02 | V | 2114 | 15 | Ball Valve | WFR | CS or SS | CS or SS | 40 |  |  | W | ST02-2087-WFR |  | P1364-PR-14
ST02 | V | 2118 | 350 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2091-WPR |  | P1364-PR-14
ST02 | V | 2119 | 250 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2092-WPR |  | P1364-PR-14
ST02 | V | 2120 | 200 | Ball Valve | WFR | CS or SS | CS or SS | 10 |  |  | F | ST02-2043-WFR |  | P1364-PR-14
ST02 | V | 2121 | 250 | Knife Gate Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2042-WPR |  | P1364-PR-14
ST02 | V | 2122 | 250 | Knife Gate Valve | PFT | CS or SS | CS or SS | 10 |  |  | F | ST02-2041-PFT |  | P1364-PR-14
ST02 | V | 2123 | 250 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2092-WPR |  | P1364-PR-14
ST02 | V | 2124 | 250 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2094-WPR |  | P1364-PR-14
ST02 | V | 2125 | 250 | Ball Valve | WPR | CS or SS | CS or SS | 63 |  |  | F | ST02-2095-WPR |  | P1364-PR-14
ST02 | V | 2126 | 250 | Ball Valve | WPR | CS or SS | CS or SS | 63 |  |  | F | ST02-2093-WPR |  | P1364-PR-14
ST02 | V | 2127 | 150 | Check Valve | WPR | CS or SS | CS or SS | 10 |  |  | BF | ST02-2131-WPR |  | P1364-PR-14
ST02 | V | 2128 | 100 | Check Valve | WPR | CS or SS | CS or SS | 10 |  |  | BF | ST02-2130-WPR |  | P1364-PR-14
ST02 | V | 2129 | 150 | Check Valve | WPR | CS or SS | CS or SS | 10 |  |  | BF | ST02-2031-WPR |  | P1364-PR-14
ST02 | V | 2130 | 100 | Check Valve | WPR | CS or SS | CS or SS | 10 |  |  | BF | ST02-2030-WPR |  | P1364-PR-14
ST02 | V | 2131 | 15 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | W | ST02-2092-WPR |  | P1364-PR-14
ST02 | V | 2134 | 350 | Knife Gate Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2035-WPR |  | P1364-PR-14
ST02 | V | 2135 | 350 | Knife Gate Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2098-WPR |  | P1364-PR-14
ZF01 | V | 2150 | 15 | Check Valve | WFR | CS or SS | CS or SS | 16 |  |  | BF | ZF01-2048-WFR |  | P1364-PR-14
ZF01 | V | 2151 | 15 | Check Valve | WFR | CS or SS | CS or SS | 16 |  |  | BF | ZF01-2049-WFR |  | P1364-PR-14
ST02 | V | 2152 | 80 | Check Valve | LFR | CS or SS | CS or SS | 10 |  |  | BF | ST02-2037-LFR |  | P1364-PR-14
ST02 | V | 2153 | 80 | Check Valve | LFR | CS or SS | CS or SS | 10 |  |  | BF | ST02-2038-LFR |  | P1364-PR-14
ST02 | V | 2154 | 80 | Check Valve | LFR | CS or SS | CS or SS | 10 |  |  | BF | ST02-2039-LFR |  | P1364-PR-14
ST02 | V | 2156 | 50 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2097-WPR |  | P1364-PR-14
ST02 | V | 2157 | 50 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2099-WPR |  | P1364-PR-14
ST02 | V | 2158 | 200 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2028-WPR |  | P1364-PR-14
ST02 | V | 2159 | 1000*1000 | Square Knife Gate Valves | PFT | CS or SS | CS or SS | 10 |  |  | F | BA-001 |  | P1364-PR-14
ST02 | V | 2161 | 1000*1000 | Square Knife Gate Valves | PFT | CS or SS | CS or SS | 10 |  |  | F | BA-003 |  | P1364-PR-14
ST02 | V | 2162 | 250 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2096-WPR |  | P1364-PR-14
ST02 | V | 2163 | 250 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2096-WPR |  | P1364-PR-14
ST02 | V | 2164 | 250 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2096-WPR |  | P1364-PR-14
ST02 | V | 2165 | 250 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2096-WPR |  | P1364-PR-14
ZF01 | V | 2026 | 15 | Ball Valve | WFR | CS or SS | CS or SS | 16 |  |  | W | ZF01-2048-WFR |  | P1364-PR-14
ZF01 | V | 2027 | 15 | Ball Valve | WFR | CS or SS | CS or SS | 16 |  |  | W | ZF01-2049-WFR |  | P1364-PR-14
ST02 | V | 2028 | 600 | Knife Gate Valve | PFT | CS or SS | CS or SS | 10 |  |  | F | ST02-2007-PFT |  | P1364-PR-14
ST02 | V | 2166 | 600 | Knife Gate Valve | PFT | CS or SS | CS or SS | 10 |  |  | F | ST02-2107-PFT |  | P1364-PR-14
ST02 | V | 2029 | 400 | Knife Gate Valve | PFT | CS or SS | CS or SS | 10 |  |  | F | ST02-2008-PFT |  | P1364-PR-14
ST02 | V | 2031 | 200 | Knife Gate Valve | PFT | CS or SS | CS or SS | 10 |  |  | F | ST02-2019-PFT |  | P1364-PR-14
ST02 | V | 2040 | 200 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2029-WPR |  | P1364-PR-14
ST02 | V | 2132 | 400 | Knife Gate Valve | PFT | CS or SS | CS or SS | 10 |  |  | F | ST02-2108-PFT |  | P1364-PR-14
ST02 | V | 2136 | 200 | Knife Gate Valve | PFT | CS or SS | CS or SS | 10 |  |  | F | ST02-2119-PFT |  | P1364-PR-14
ST02 | V | 2141 | 200 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2129-WPR |  | P1364-PR-14
ST02 | V | 2041 | 200 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2047-WPR |  | P1364-PR-14
ST02 | V | 2042 | 200 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2047-WPR |  | P1364-PR-14
ST02 | V | 2043 | 200 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2047-WPR |  | P1364-PR-14
ST02 | V | 2048 | 350 | Knife Gate Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2027-WPR |  | P1364-PR-14
ST02 | V | 2049 | 350 | Knife Gate Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2027-WPR |  | P1364-PR-14
ST02 | V | 2063 | 350 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2027-WPR |  | P1364-PR-14
ST02 | V | 2064 | 400 | Knife Gate Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2024-WPR |  | P1364-PR-14
ST02 | V | 2065 | 400 | Knife Gate Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2025-WPR |  | P1364-PR-14
ST02 | V | 2067 | 500 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2022-WPR |  | P1364-PR-14
ST02 | V | 2068 | 500 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2023-WPR |  | P1364-PR-14
ST02 | V | 2069 | 65 | Ball Valve | WFR | CS or SS | CS or SS | 10 |  |  | F | ST02-2053-WFR |  | P1364-PR-14
ST02 | V | 2070 | 65 | Ball Valve | WFR | CS or SS | CS or SS | 10 |  |  | F | ST02-2053-WFR |  | P1364-PR-14
ST02 | V | 2071 | 65 | Ball Valve | WFR | CS or SS | CS or SS | 10 |  |  | F | ST02-2053-WFR |  | P1364-PR-14
ST02 | V | 2072 | 250 | Ball Valve | PFT | CS or SS | CS or SS | 10 |  |  | F | ST02-2075-PFT |  | P1364-PR-14
ST02 | V | 2098 | 250 | Knife Gate Valve | WPR | CS or SS | CS or SS | 63 |  |  | F | ST02-2093-WPR |  | P1364-PR-14
ST02 | V | 2020 | 400 | Knife Gate Valve | PFT | CS or SS | CS or SS | 10 |  |  | F | ST02-2005-PFT |  | P1364-PR-14
ST02 | V | 2172 | 100 | Check Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2054-WPR |  | P1364-PR-14
ST02 | V | 2146 | 400 | Knife Gate Valve | PFT | CS or SS | CS or SS | 10 |  |  | F | ST02-2005-PFT |  | P1364-PR-14
ST02 | V | 2147 | 400 | Knife Gate Valve | PFT | CS or SS | CS or SS | 10 |  |  | F | ST02-2050-PFT |  | P1364-PR-14
ST02 | V | 2148 | 400 | Knife Gate Valve | PFT | CS or SS | CS or SS | 10 |  |  | F | ST02-2005-PFT |  | P1364-PR-14
ST02 | V | 2149 | 400 | Knife Gate Valve | PFT | CS or SS | CS or SS | 10 |  |  | F | ST02-2050-PFT |  | P1364-PR-14
ST02 | V | 2155 | 50 | Ball Valve | PFT | CS or SS | CS or SS | 10 |  |  | F | ST02-2005-PFT |  | P1364-PR-14
ST02 | V | 2173 | 100 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2054-WPR |  | P1364-PR-14
ST02 | V | 2174 | 250 | Check Valve | WPR | CS or SS | CS or SS | 63 |  |  | F | ST02-2095-WPR |  | P1364-PR-14
ST02 | V | 2099 | 200 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2029-WPR |  | P1364-PR-14
ST02 | V | 2171 | 250 | Check Valve | WPR | CS or SS | CS or SS | 63 |  |  | F | ST02-2093-WPR |  | P1364-PR-14
ST02 | V | 2089 | 250 | Knife Gate Valve | WPR | CS or SS | CS or SS | 63 |  |  | F | ST02-2095-WPR |  | P1364-PR-14
ST02 | V | 2086 | 65 | Ball Valve | WFR | CS or SS | CS or SS | 40 |  |  | F | ST02-2080-WFR |  | P1364-PR-14
ST02 | V | 2087 | 65 | Ball Valve | WFR | CS or SS | CS or SS | 40 |  |  | F | ST02-2080-WFR |  | P1364-PR-14
ST02 | V | 2088 | 65 | Ball Valve | WFR | CS or SS | CS or SS | 40 |  |  | F | ST02-2080-WFR |  | P1364-PR-14
ST02 | V | 2066 | 15 | Ball Valve | WFR | CS or SS | CS or SS | 40 |  |  | F | ST02-2080-WFR |  | P1364-PR-14
ST02 | V | 2010 | 15 | Ball Valve | WPR | CS or SS | CS or SS | 10 |  |  | F | ST02-2045-WPR |  | P1364-PR-14
ST02 | V | VKG - 001 | 300 | Knife Gate Valve | PFT | CS or SS | CS or SS | 10 |  |  | F | ST02-20002-PFT |  | P1364-PR-14