## BOQ
N | Description | Code | Unit | Dim | Unit Price (USD) | Total Cost (USD)
1 | BR4 El.Board's PLC and I/O Controllers |  | 1 | Set.
1.1 | SMARTX CONTROLLER AS-P | SXWASPXXX10001 | 1 | Pcs | 0 | 0
1.2 | STX - Controller TB-ASP-W1 Term Base AS-P W1 | SXWTBASW110002 | 1 | Pcs | 0 | 0
1.3 | STX - Controller PS-24V Power Supply 24VAC/VDC | SXWPS24VX10001 | 1 | Pcs | 0 | 0
1.4 | STX - Controller TB-ASP-W1 Term Base AS-P W1 | SXWTBPSW110001 | 1 | Pcs | 0 | 0
1.5 | STX - Controller DG-16 16 Digital Input | SXWDI16XX10001 | 1 | Pcs | 0 | 0
1.6 | STX - Controller UI-16 16 Universal Input | SXWUI16XX10001 | 2 | Pcs | 0 | 0
1.7 | STX - Controller DO-FA-12 12 Digital Output FormA | SXWDOA12X10001 | 2 | Pcs | 0 | 0
1.8 | STX - Controller TB-IO-W1 Term Base I/O W1 | SXWTBIOW110001 | 5 | Pcs | 0 | 0
1.9 | El.Board's Assembling and disassembling |  | 1 | Set. | 0 | 0
1.10 | Works on Programming and comissioning |  | 1 | Set. | 0 | 0
1 | BR5 El.Board's PLC and I/O Controllers |  | 1 | Set.
1.1 | SMARTX CONTROLLER AS-P | SXWASPXXX10001 | 1 | Pcs | 0 | 0
1.2 | STX - Controller TB-ASP-W1 Term Base AS-P W1 | SXWTBASW110002 | 1 | Pcs | 0 | 0
1.3 | STX - Controller PS-24V Power Supply 24VAC/VDC | SXWPS24VX10001 | 1 | Pcs | 0 | 0
1.4 | STX - Controller TB-ASP-W1 Term Base AS-P W1 | SXWTBPSW110001 | 1 | Pcs | 0 | 0
1.5 | STX - Controller DG-16 16 Digital Input | SXWDI16XX10001 | 1 | Pcs | 0 | 0
1.6 | STX - Controller UI-16 16 Universal Input | SXWUI16XX10001 | 2 | Pcs | 0 | 0
1.7 | STX - Controller DO-FA-12 12 Digital Output FormA | SXWDOA12X10001 | 2 | Pcs | 0 | 0
1.8 | STX - Controller TB-IO-W1 Term Base I/O W1 | SXWTBIOW110001 | 5 | Pcs | 0 | 0
1.9 | El.Board's Assembling and disassembling |  | 1 | Set. | 0 | 0
1.10 | Works on Programming and comissioning |  | 1 | Set. | 0 | 0
1 | BR6 El.Board's PLC and I/O Controllers |  | 1 | Set.
1.1 | SMARTX CONTROLLER AS-P | SXWASPXXX10001 | 1 | Pcs | 0 | 0
1.2 | STX - Controller TB-ASP-W1 Term Base AS-P W1 | SXWTBASW110002 | 1 | Pcs | 0 | 0
1.3 | STX - Controller PS-24V Power Supply 24VAC/VDC | SXWPS24VX10001 | 1 | Pcs | 0 | 0
1.4 | STX - Controller TB-ASP-W1 Term Base AS-P W1 | SXWTBPSW110001 | 1 | Pcs | 0 | 0
1.5 | STX - Controller DG-16 16 Digital Input | SXWDI16XX10001 | 1 | Pcs | 0 | 0
1.6 | STX - Controller UI-16 16 Universal Input | SXWUI16XX10001 | 2 | Pcs | 0 | 0
1.7 | STX - Controller DO-FA-12 12 Digital Output FormA | SXWDOA12X10001 | 2 | Pcs | 0 | 0
1.8 | STX - Controller TB-IO-W1 Term Base I/O W1 | SXWTBIOW110001 | 5 | Pcs | 0 | 0
1.9 | El.Board's Assembling and disassembling |  | 1 | Set. | 0 | 0
1.10 | Works on Programming and comissioning |  | 1 | Set. | 0 | 0
2 | AHU El.Board's PLC and I/O Controllers |  | 34 | Set.
2.1 | SMARTX CONTROLLER AS-P | SXWASPXXX10001 | 34 | Pcs | 0 | 0
2.2 | STX - Controller TB-ASP-W1 Term Base AS-P W1 | SXWTBASW110002 | 34 | Pcs | 0 | 0
2.3 | STX - Controller PS-24V Power Supply 24VAC/VDC | SXWPS24VX10001 | 34 | Pcs | 0 | 0
2.4 | STX - Controller TB-ASP-W1 Term Base AS-P W1 | SXWTBPSW110001 | 34 | Pcs | 0 | 0
2.5 | STX - Controller DG-16 16 Digital Input | SXWDI16XX10001 | 34 | Pcs | 0 | 0
2.6 | STX - Controller UI-16 16 Universal Input | SXWUI16XX10001 | 34 | Pcs | 0 | 0
2.7 | STX - Controller DO-FA-12 12 Digital Output FormA | SXWDOA12X10001 | 34 | Pcs | 0 | 0
2.8 | STX - Controller AO-V-8 8 Analog Output Voltaj | SXWAOV8XX10001 | 34 | Pcs | 0 | 0
2.9 | STX - Controller TB-IO-W1 Term Base I/O W1 | SXWTBIOW110001 | 136 | Pcs | 0 | 0
2.10 | El.Board's Assembling and disassembling |  | 34 | Set. | 0 | 0
2.11 | Works on Programming and comissioning |  | 34 | Set. | 0 | 0
0