Request for Proposal (RFP)

Tbilisi Mall - Scope of Work for Replacement of Air Handling Unit (AHU) Controllers

1. Project Overview

- The project involves replacing the existing AHU controllers at Shopping Center Tbilisi Mall due to aging equipment, communication issues, and the discontinuation of Xenta PLCs.

- The upgrade will include the installation of new-generation PLCs with decentralized Ethernet IP connections to the Central BMS server, enhancing the reliability and efficiency of the HVAC systems.

2. Objectives

- Improve communication speed and data transfer reliability within the AHU systems.

- Replace outdated Xenta PLCs with modern, BACnet IP-based PLCs.

- Integrate the new PLCs with the existing IT infrastructure, ensuring compatibility and seamless operation.

3. Scope of Work

- 3.1. Equipment Supply

  - Provide new-generation PLCs compatible with the existing Smartsruxture Enterprise Server.

  - Supply additional hardware as per the attached list of items required for the integration.

- 3.2. Installation and Integration

  - Remove the existing Xenta PLCs and any associated outdated hardware.

  - Install new PLCs and integrate them with the facility’s existing IT infrastructure.

  - Connect the PLCs via decentralized Ethernet IP connections to the Central BMS server.

  - Ensure compatibility with the current system components, including lighting control, parking ventilation, and fire system pumps and valves.

- 3.3. Testing and Commissioning

  - Perform thorough testing of the new PLCs to ensure proper communication and data transfer within the AHU systems.

  - Verify that all alarms, monitoring systems, and heating elements are functioning correctly without data loss.

  - Provide detailed documentation of the testing results and any necessary adjustments made during commissioning.

4. Timeline

- Provide a project timeline, including key milestones such as delivery of equipment, installation, integration, and final commissioning.

5. Deliverables

- Supply and installation of new PLCs and associated hardware.

- Comprehensive testing and commissioning report.

- Training for the facility’s maintenance team on operating and troubleshooting the new PLCs.

6. Quality Assurance

- All equipment and installation work must adhere to industry standards and the manufacturer’s specifications.

- Ensure minimal disruption to the facility’s operations during the replacement process.

7. Warranty and Support

- Provide a warranty period for the new equipment and installation work.

- Offer post-installation support and maintenance services as needed.

8. Evaluation Criteria

- Proposals will be evaluated based on the vendor’s experience, the quality of the equipment proposed, the timeline, and cost-effectiveness

Interested companies must demonstrate:

- Proven Experience in similar system installation and upgrades

- Successful completion of similar projects

- Valid insurance and licenses

Proposal must include:

- Company profile including history, qualifications and experience

- List of key personnel who will be involved in the project, including their qualifications and experience

- References from similar projects

- Proof of insurance and relevant licenses

9. WARRANTY AND COMMERCIAL TERMS

- A minimum warranty period of 2 years is required, which includes site visits diagnosis of malfunctions and rectification of problems within 24 hours

Commercial Terms:

- Contractor’s All risk insurance: Project cost amount

- Third-Pary liability: 50% of project cost

- Advance Payment: 50% is available upon bank guarantee until the project completion date

- Retention: 5% for one year

- No interim Payments

SUBMISSION DEADLINE AND CONTACT INFORMATION

Proposals Must be submitted by tenders.ge within the platform deadlines. Use attached contact information in case of questions to tender procedures and proposals 

Beka Tsiklauri
Procurement Manager
E-Mail: b.tsiklauri@tbilisimall.com
Mobile: +995 591 51 43 09

Thank you for your interest in this project. We look forward to receiving your proposal.