Request: Welded gratings 280 metric cube + 1200 pcs fasteners.

Dimensions per piece: 1500 X 1000mm

Description:

Bearing bar Mesh size: 34mm

Cross Bar mesh size: 38mm

Bearing Bar height: 40mm

Bearing Bar Thickness:4mm

Edges height: 40mm

Edges Thickness: 4mm

Hot Dip galvanized acc. to DIN EN ISO 1461

Material: S235 JR