Request for Proposal (RFP)

Painting & Associated Works – Tbilisi Mall

1. Project Overview

Tbilisi Mall seeks qualified contractors to carry out comprehensive painting and related finishing works across multiple areas of the facility. The project includes ceiling and wall painting, repairs of damaged gypsum board sections, dismantling of existing advertising frames, and integration of new lighting fixtures.

The works must be executed with high-quality materials and professional craftsmanship, while ensuring minimal disruption to mall operations.

2. Objectives

- Restore and enhance the visual appearance of designated mall areas.

- Ensure a durable and uniform paint finish across all surfaces, including ceilings, wooden elements, and fire doors.

- Repair structural and cosmetic defects (damaged gypsum board, voids after dismantling, plaster failures).

- Upgrade existing lighting infrastructure by installing new fixtures and ensuring proper integration into the painted ceilings.

- Comply with all applicable Health & Safety and fire protection standards.

3. Scope of Work

3.1 Painting Works

- Ceiling painting (all designated areas).

- Forehead (bulkhead) painting.

- Ceiling pocket painting.

- Painting of wooden ceiling elements, including dismantling of diffusers, FA/FP detectors, and emergency signs. All dismantled elements to be painted in matching ceiling color and reinstalled.

- Repainting of existing fire-rated doors.

3.2 Repairs & Preparatory Works

- Dismantling of existing advertising frames, filling voids with gypsum board, plastering, and painting.

- Repair of damaged ceilings, including replacement of gypsum boards, plaster, and painting to match adjacent finishes.

3.3 Electrical & Lighting Works

- Installation of new lighting fixtures, including:

  - Cutting openings in the ceiling as required.

  - Installation of cables, cable trays, circuit breakers, and all necessary accessories.

  - Coordination with mall’s electrical systems for safe connection and testing.

4. Timeline

- Provide a detailed project schedule including mobilization, preparation works, painting phases, installation of lighting, final finishing, and handover.

- All works to be carried out in phases to minimize disruption to mall operations.

5. Deliverables

- Completed painting and repair works as per scope.

- Installation and commissioning of new lighting fixtures.

- Photo documentation of completed works.

- As-built drawings/sketches for electrical modifications.

- Final completion report confirming compliance with specifications.

6. Quality Assurance

- Use of high-quality, durable paints and materials approved by the client.

- All works must comply with relevant fire protection, safety, and building standards.

- Ensure proper surface preparation, including cleaning, priming, plastering, and finishing.

- Maintain cleanliness and protect mall assets during works.

7. Safety & Coordination

- Contractor must ensure safe access and working conditions at all times.

- Coordinate with mall management to schedule works outside peak hours where possible.

- Ensure proper signage, barriers, and housekeeping throughout project duration.

8. Evaluation Criteria

Proposals will be evaluated based on:

- Relevant experience in painting, gypsum, and electrical works.

- Technical qualifications of proposed personnel.

- Quality of proposed materials and methodology.

- Cost-effectiveness and completeness of the proposal.

Required Submission Content:

- Company profile, history, and relevant experience.

- CVs of key technical personnel (if requested).

- References from similar projects.

- Proof of insurance and applicable licenses.

- Material and paint specifications to be used.

9. Commercial Terms

Proposal should include

• Performance Security: 10% of project cost

• Contractor’s All Risk Insurance: Total project cost
• Third-Party Liability: 50% of project cost
• Advance Payment: 30% available upon submission of bank guarantee, valid until project completion
• Retention: 5% for one year
• No interim payments

Submission Deadline and Contact Information

Proposals must be submitted via the tenders.ge platform before the platform’s published deadline.
For questions related to the tender process or project details, please contact:

Beka Tsiklauri
Procurement Manager
E-Mail: b.tsiklauri@tbilisimall.com
Mobile: +995 591 51 43 09

Thank you for your interest in this project. We look forward to receiving your proposal.