## Schedule
Engineering equipment list and system maintenance schedule
System | Equipment | Equipment location | Comments | Amount of equipment | Maintenance frequency | January | February | March | April | May | June | July | August | September | October | November | December
Electrical system Building A
Main distribution board | MDB1 | L-1 |  | kit | 1 times a year | [5 empty] | M1
Main distribution board | MDB2 | L-1 |  | kit | 1 times a year | [5 empty] | M1
Main distribution board | GSS1 MDB | L-1 |  | kit | 1 times a year | [5 empty] | M1
Main distribution board | GSS2 MDB | L-1 |  | kit | 1 times a year | [5 empty] | M1
Distribution board | GSS Emergency | L-1 | From GSS1 MDB | 1 | 1 time a year | [5 empty] | M1
Distribution board | UPS1 | L-1 | From GSS1 MDB | 1 | 1 time a year | [5 empty] | M1
Distribution board | UPSS1 | L-1 | From GSS1 MDB | 1 | 1 time a year | [5 empty] | M1
Distribution board | GSS 0.1 DB | L-1 | From GSS1 MDB | 1 | 1 time a year | [5 empty] | M1
Distribution board | VS 0.1 DB | L-1 | From GSS1 MDB | 1 | 1 time a year | [5 empty] | M1
Distribution board | ESS0 | L-1 | From MDB1 | 1 | 1 time a year | [5 empty] | M1
Distribution board | ESS0.4 DB | L-1 | From MDB1 | 1 | 1 time a year | [5 empty] | M1
Distribution board | UPSS1.1 | L1 | From UPSS1 | 1 | 1 time a year | [5 empty] | M1
Distribution board | SGS1 (MSR) | L1 | From GSS1 MDB | 1 | 1 time a year | [5 empty] | M1
Distribution board | UPSS2 | L1 | From GSS2 MDB | 1 | 1 time a year | [5 empty] | M1
Distribution board | GSS1 DB | L1 | From GSS2 MDB | 1 | 1 time a year | [5 empty] | M1
Distribution board | GSS1.1 DB | L1 | From GSS2 MDB | 1 | 1 time a year | [5 empty] | M1
Distribution board | VS1DB | L1 | From GSS2 MDB | 1 | 1 time a year | [5 empty] | M1
Distribution board | ESS1DB | L1 | From MDB1 | 1 | 1 time a year | [5 empty] | M1
Distribution board | UPSS Security | L1 | From UPSS2 | 1 | 1 time a year | [5 empty] | M1
Distribution board | UPSS 2.1 | L1 | From UPSS2 | 1 | 1 time a year | [5 empty] | M1
Distribution board | UPSS1.2 | L2 | From UPSS1 DB | 1 | 1 time a year | [5 empty] | M1
Distribution board | VS2 DB | L2 | From GSS2 MDB | 1 | 1 time a year | [5 empty] | M1
Distribution board | GSS2 DB | L2 | From GSS2 MDB | 1 | 1 time a year | [5 empty] | M1
Distribution board | ESS2 DB | L2 | From MDB1 | 1 | 1 time a year | [5 empty] | M1
Distribution board | UPSS1.3 | L3 | From UPSS1 | 1 | 1 time a year | [5 empty] | M1
Distribution board | UPSS2.3 | L3 | From UPSS2 | 1 | 1 time a year | [5 empty] | M1
Distribution board | VS3 DB | L3 | From GSS2 MDB | 1 | 1 time a year | [5 empty] | M1
Distribution board | GSS3 DB | L3 | From GSS2 MDB | 1 | 1 time a year | [5 empty] | M1
Distribution board | ESS3 DB | L3 | From MDB1 | 1 | 1 time a year | [5 empty] | M1
Distribution board | Canteen DB | L3 | From MDB2 | 1 | 1 time a year | [5 empty] | M1
Electro-mechanical | Garage gates | L-1 | Specify make | 1 | 2 times a year | [5 empty] | M1 | [5 empty] | M2
Thermal inspection |  | L-1 L1 L2 L3 | All DB/Electrical equipment | 1 | 2 times a year | [5 empty] | M1 |  |  |  |  | M2
Electro-mechanical | Turnstiles | L1 | Lobby Turnstiles/Secondary entrance | 6 | 4 times a year | M1 |  |  | M2 |  |  | M3 |  |  | M4
Electro-mechanical | Sewer pumps automation DB | L1/L-1 | Specify make | 1 | 12 times a year | M1 | M2 | M3 | M4 | M5 | M6 | M7 | M8 | M9 | M10 | M11 | M12
Electrical system Building C
Main distribution board | MDB1 | L1 |  | kit | 1 times a year | bar: M2 M5
Main distribution board | MDB2 | L1 |  | kit | 1 times a year | bar: M2 M5
Main distribution board | GSS1 | L1 | from MDB | 1 | 1 time a year | bar: M2 M5
Main distribution board | VS1DB | L1 | from MDB | 1 | 1 time a year | bar: M2 M5
Main distribution board | ESS1DB | L1 | from MDB | 1 | 1 time a year | bar: M2 M5
Main distribution board | GSS2DB | L2 | from MDB | 1 | 1 time a year | bar: M2 M5
Main distribution board | VS2 DB | L2 | from MDB | 1 | 1 time a year | bar: M2 M5
Distribution board | UPS1 | L1 | from MDB | 1 | 1 time a year | bar: M2 M5
Distribution board | UPS2 | L1 | from MDB | 1 | 1 time a year | bar: M2 M5
Thermal inspection | All DB/Electrical equipment | L1 L2 |  | 1 | 2 times a year | bar: M2 M5; M4 M11
Electrical system Building D(Future)
Main distribution board | MDB1 | L1 |  | kit | 1 times a year | bar: M2 M5
Main distribution board | MDB2 | L1 |  | kit | 1 times a year | bar: M2 M5
Main distribution board | GSS1 | L1 | from MDB | 1 | 1 time a year | bar: M2 M5
Main distribution board | VS1DB | L1 | from MDB | 1 | 1 time a year | bar: M2 M5
Main distribution board | ESS1DB | L1 | from MDB | 1 | 1 time a year | bar: M2 M5
Main distribution board | GSS2DB | L2 | from MDB | 1 | 1 time a year | bar: M2 M5
Main distribution board | VS2 DB | L2 | from MDB | 1 | 1 time a year | bar: M2 M5
Distribution board | UPS1 | L1 | from MDB | 1 | 1 time a year | bar: M2 M5
Thermal inspection | All DB/Electrical equipment | L1 L2 |  | 1 | 2 times a year | bar: M2 M5; M4 M11
Distribution board | UPS2 | L1 | from MDB | 1 | 1 time a year | bar: M2 M5