## Schedule
System | Equipment | Equipment location | Comments | Amount of equipment | Maintenance frequency | January | February | March | April | May | June | July | August | September | October | November | December | Amount GEL without VAT
Electrical system Building A | [17 empty] | 0
Main distribution board | MDB1 | L-1 |  | kit | 1 times a year | bar: June
Main distribution board | MDB2 | L-1 |  | kit | 1 times a year | bar: June
Main distribution board | GSS1 MDB | L-1 |  | kit | 1 times a year | bar: June
Main distribution board | GSS2 MDB | L-1 |  | kit | 1 times a year | bar: June
Distribution board | GSS Emergency | L-1 | From GSS1 MDB | 1 | 1 time a year | bar: June
Distribution board | UPS1 | L-1 | From GSS1 MDB | 1 | 1 time a year | bar: June
Distribution board | UPSS1 | L-1 | From GSS1 MDB | 1 | 1 time a year | bar: June
Distribution board | GSS 0.1 DB | L-1 | From GSS1 MDB | 1 | 1 time a year | bar: June
Distribution board | VS 0.1 DB | L-1 | From GSS1 MDB | 1 | 1 time a year | bar: June
Distribution board | ESS0 | L-1 | From MDB1 | 1 | 1 time a year | bar: June
Distribution board | ESS0.4 DB | L-1 | From MDB1 | 1 | 1 time a year | bar: June
Distribution board | UPSS1.1 | L1 | From UPSS1 | 1 | 1 time a year | bar: June
Distribution board | SGS1 (MSR) | L1 | From GSS1 MDB | 1 | 1 time a year | bar: June
Distribution board | UPSS2 | L1 | From GSS2 MDB | 1 | 1 time a year | bar: June
Distribution board | GSS1 DB | L1 | From GSS2 MDB | 1 | 1 time a year | bar: June
Distribution board | GSS1.1 DB | L1 | From GSS2 MDB | 1 | 1 time a year | bar: June
Distribution board | VS1DB | L1 | From GSS2 MDB | 1 | 1 time a year | bar: June
Distribution board | ESS1DB | L1 | From MDB1 | 1 | 1 time a year | bar: June
Distribution board | UPSS Security | L1 | From UPSS2 | 1 | 1 time a year | bar: June
Distribution board | UPSS 2.1 | L1 | From UPSS2 | 1 | 1 time a year | bar: June
Distribution board | UPSS1.2 | L2 | From UPSS1 DB | 1 | 1 time a year | bar: June
Distribution board | VS2 DB | L2 | From GSS2 MDB | 1 | 1 time a year | bar: June
Distribution board | GSS2 DB | L2 | From GSS2 MDB | 1 | 1 time a year | bar: June
Distribution board | ESS2 DB | L2 | From MDB1 | 1 | 1 time a year | bar: June
Distribution board | UPSS1.3 | L3 | From UPSS1 | 1 | 1 time a year | bar: June
Distribution board | UPSS2.3 | L3 | From UPSS2 | 1 | 1 time a year | bar: June
Distribution board | VS3 DB | L3 | From GSS2 MDB | 1 | 1 time a year | bar: June
Distribution board | GSS3 DB | L3 | From GSS2 MDB | 1 | 1 time a year | bar: June
Distribution board | ESS3 DB | L3 | From MDB1 | 1 | 1 time a year | bar: June
Distribution board | Canteen DB | L3 | From MDB2 | 1 | 1 time a year | bar: June
Electro-mechanical | Garage gates | L-1 | Specify make | 1 | 2 times a year | bar: June; December
Thermal inspection |  | L-1 L1 L2 L3 | All DB/Electrical equipment | 1 | 2 times a year | bar: June; November
Electro-mechanical | Turnstiles | L1 | Lobby Turnstiles/Secondary entrance | 6 | 4 times a year | January: M1; April: M2; July: M3; October: M4
Electro-mechanical | Sewer pumps automation DB | L1/L-1 | Specify make | 1 | 12 times a year | M1 | M2 | M3 | M4 | M5 | M6 | M7 | M8 | M9 | M10 | M11 | M12
Electrical system Building C | [17 empty] | 0
Main distribution board | MDB1 | L1 |  | kit | 1 times a year | bar: M2 M5
Main distribution board | MDB2 | L1 |  | kit | 1 times a year | bar: M2 M5
Main distribution board | GSS1 | L1 | from MDB | 1 | 1 time a year | bar: M2 M5
Main distribution board | VS1DB | L1 | from MDB | 1 | 1 time a year | bar: M2 M5
Main distribution board | ESS1DB | L1 | from MDB | 1 | 1 time a year | bar: M2 M5
Main distribution board | GSS2DB | L2 | from MDB | 1 | 1 time a year | bar: M2 M5
Main distribution board | VS2 DB | L2 | from MDB | 1 | 1 time a year | bar: M2 M5
Distribution board | UPS1 | L1 | from MDB | 1 | 1 time a year | bar: M2 M5
Distribution board | UPS2 | L1 | from MDB | 1 | 1 time a year | bar: M2 M5
Thermal inspection | All DB/Electrical equipment | L1 L2 |  | 1 | 2 times a year | bar: M2 M5; M4 M11
Electrical system Building D(Future) | [17 empty] | 0
Main distribution board | MDB1 | L1 |  | kit | 1 times a year | bar: M2 M5
Main distribution board | MDB2 | L1 |  | kit | 1 times a year | bar: M2 M5
Main distribution board | GSS1 | L1 | from MDB | 1 | 1 time a year | bar: M2 M5
Main distribution board | VS1DB | L1 | from MDB | 1 | 1 time a year | bar: M2 M5
Main distribution board | ESS1DB | L1 | from MDB | 1 | 1 time a year | bar: M2 M5
Main distribution board | GSS2DB | L2 | from MDB | 1 | 1 time a year | bar: M2 M5
Main distribution board | VS2 DB | L2 | from MDB | 1 | 1 time a year | bar: M2 M5
Distribution board | UPS1 | L1 | from MDB | 1 | 1 time a year | bar: M2 M5
Thermal inspection | All DB/Electrical equipment | L1 L2 |  | 1 | 2 times a year | bar: M2 M5; M4 M11
Distribution board | UPS2 | L1 | from MDB | 1 | 1 time a year | bar: M2 M5

## Proposal- maintenance services
Technical-Financial proposal for maintenance services
Pos | Name of service | Maintenance Service costs yearly, GEL without VAT | Maintenance Service costs, monthly fixed price, GEL without VAT
1 | Electrical system | 0 | 0
2 | Electro-mechanical systems | #REF! | #REF!
3 | Annual 24/7 Service Readiness fee, SLA 2h |  | 0
| Total: | #REF! | #REF!
Proposal prepared by:
Company name: | _______________________
Registration number: | _______________________
Name/Surname | _______________________
Position title: | _______________________
email: | _______________________
Telephone: | _______________________
Signature: | _______________________
Date: | _______________________

## Proposal- Special services
Technical-Financial proposal for special services
Pos | Name of service | Service costs, GEL without VAT
1 | Electrician hourly fee
2 | Electrical Engineer hourly fee
Proposal prepared by:
Company name: | _______________________
Registration number: | _______________________
Name/Surname | _______________________
Position title: | _______________________
email: | _______________________
Telephone: | _______________________
Signature: | _______________________
Date: | _______________________