## Schedule
Engineering equipment list and system maintenance schedule
System | Equipment | Equipment location | Comments | Amount of equipment | Maintenance frequency | January | February | March | April | May | June | July | August | September | October | November | December
Fire safety system Building A
Fire Alarm system | Panel ESSER IQ8; detectors; modules | L1 | Panel in security room, detectors modules across the building | kit | 4 times a year |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Public Address system | PA controller & related equipment RCF | L1 | Located in UPS room | kit | 4 times a year |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Public Address system | Amplifiers Bosh, loudspeakers | L-1 -L3 | Amplifyiers in UPS room, loudspeakers across the building | kit | 4 times a year |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Fire fighting system | Fire pumps Ebbit | L-1 | According to local regulations | 2 | 4 times a year |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Fire fighting system | Dashboard, automatics, valves, actuators, gauges, water tank | L-1 | According to local regulations | kit | 4 times a year |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Fire fighting system | Fire hydrand boxes | L-1 - L3 | According to local regulations | 8 | 4 times a year |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Evacuation | Evacuation door/gate unblocking | L-1 |  |  | 4 times a year |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Evacuation | Evacuation door/turnstile unblocking | L1 |  |  | 4 times a year |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Evacuation | Evacuation door unblocking | L2 |  |  | 4 times a year |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Evacuation | Evacuation door unblocking | L3 |  |  | 4 times a year |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Fire safety system Building C
Fire Alarm system | Panel ESSER IQ8; detectors; modules | L1 | Panel in security room, detectors modules across the building | kit | 4 times a year |  |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Public Address system | PA controller & related equipment RCF | L1 | Located in UPS room | kit | 4 times a year |  |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Public Address system | Amplifiers Bosh, loudspeakers | L1 -L2 | Amplifyiers in UPS room, loudspeakers across the building | kit | 4 times a year |  |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Fire fighting system | Fire pumps Ebbit | L-1 | According to local regulations | 2 | 4 times a year |  |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Fire fighting system | Dashboard, automatics, valves, actuators, gauges, water tank | L-1 | According to local regulations | kit | 4 times a year |  |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Fire fighting system | Fire hydrand boxes | L1 - L2 | According to local regulations | 8 | 4 times a year |  |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Evacuation | Evacuation door/gate unblocking | L-1 |  |  | 4 times a year |  |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Evacuation | Evacuation door | L1 |  |  | 4 times a year |  |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Evacuation | Evacuation door unblocking | L2 |  |  | 4 times a year |  |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Fire safety system Building D
Fire Alarm system | Panel ESSER IQ8; detectors; modules | L1 | Panel in security room, detectors modules across the building | kit | 4 times a year | M1 |  |  | M2 |  |  | M3 |  |  | M3
Public Address system | PA controller & related equipment RCF | L1 | Located in UPS room | kit | 4 times a year | M1 |  |  | M2 |  |  | M3 |  |  | M3
Public Address system | Amplifiers Bosh, loudspeakers | L1 -L2 | Amplifyiers in UPS room, loudspeakers across the building | kit | 4 times a year | M1 |  |  | M2 |  |  | M3 |  |  | M3
Fire fighting system | Dashboard, automatics, valves, actuators, gauges, water tank | L-1 | According to local regulations | kit | 4 times a year | M1 |  |  | M2 |  |  | M3 |  |  | M3
Fire fighting system | Fire hydrand boxes | L1 - L2 | According to local regulations | 8 | 4 times a year | M1 |  |  | M2 |  |  | M3 |  |  | M3
Evacuation | Evacuation door/gate unblocking | L-1 |  |  | 4 times a year | M1 |  |  | M2 |  |  | M3 |  |  | M3
Evacuation | Evacuation door | L1 |  |  | 4 times a year | M1 |  |  | M2 |  |  | M3 |  |  | M3
Evacuation | Evacuation door unblocking | L2 |  |  | 4 times a year | M1 |  |  | M2 |  |  | M3 |  |  | M3
Date | ___________________