Tender requirements and description

Provision of engineering infrastructure maintenance and support services according to specifications in building rented by Evolution Georgia LLC at Mekanizatsia Street ½, Tbilisi, Georgia.

- Subject and duration of a contract

Engineering Infrastructure maintenance and support/repair services works in office building of Evolution Georgia LLC according with specifications and local laws and regulations. Duration of agreement – 12 months. Agreement draft attached in appendix.

- Address of construction building: Mekanizatsia Street ½, Tbilisi, Georgia.

- Information on available documentation: Documentation will be provided to the winner of the tender and will include Fire safety (FA, PA, FF system) design and BOQ, Please note:

    - Some of the Buildings are still under reconstruction and plans may be changed during the builds. Construction companies will provide as built drawings by the completion of the project.

    - Some of infrastructure amount that is included in maintenance scope is still under construction. No monthly payments for maintenance of such equipment are expected until equipment is delivered, accepted into exploitation and transitioned to operation. Mutual confirmation of Parties is required prior to start provisioning maintenance services for such equipment.

- Requirements for organization of maintenance services/repair works

- Supplier is obligated to perform works following Customers instructions, business specifics (sensitivity to loud works etc.) and according to regulations provided by Customer of mutually developed between Customer and Supplier.

- Supplier must provide with high-quality work execution, maintain proper documentation and follow all best practice standards at all time.

- All materials used for maintenance and repair must correspond with customers order, manufacturer’s requirements and/or local standards and have certificates of conformity.

- Supplier must have all necessary certifications and permissions to perform services.

- When implementing works:

- Works must be complying with local labor protection laws and regulations and comply prevention of accidents.

- Works must be complying with local fire and safety regulations.

- Works must be complying with environment protection regulations.

- Works must comply with Customer’s internal rules and directions.

- Services and works must be completed in time and in the amount stipulated in the contract.

- Supplier implements all necessary organizational works and obtains permits and conforms them with customer and other related organizations if needed.

- Supplier free of charge should participate in commissioning of engineering systems and acceptance them for maintenance services provision going further.

- In case of specific works requested by Customer and performed by Supplier, Supplier is obligated to hand over to the Customer two copies of executive documentation: acts of hidden or other works, executive cabling surveys, technical certificates on materials and equipment etc.

- Types and scope of works

Maintenance services:

- Full scope of works are described in attachments. Scope of works/amount of equipment may change. In such case additional price survey will be performed by Customer and Customer is not obligated to reward additional works to Supplier and can choose different Supplier.

- Service readiness 24/7, SLA 2 h (time from a Customer call till Supplier’s representative arrival on site at any time of day)

- Management and supervision services costs are not accepted (should be included by Supplier in proposal rates)

Emergency repair works:

- Supplier arrival on site within 2h from Customer’s call.

- For works and materials with total cost less than 500 GEL excl. VAT for each case, emergency repair works outside of working hours can be performed by Supplier without confirming with Customer.

- For works and materials with total cost more than 500 GEL excl. VAT for each case, emergency repair works should be confirmed by Customer (Customer’s contact person’s confirmation by phone is considered as approval for out of office hours cases. Written confirmation can be received within 3 business days after emergency case).

- Hourly rates for specialists are according to Supplier’s proposal in Tender.

- Warranty for repair works and materials -24 months starting from acceptance deed signing.

Renovation and/or planned repair works:

- Customer may request renovation/planned repair works of engineering equipment.

- Supplier must prepare and submit a quote for renovation/planned repair works.

- Customer should provide written (e-mail) approval of quote or choose other Supplier for works. Customer may request additional agreement conclusion between Parties if sees necessary.

- Warranty for renovation/planned repair works and materials -24 months starting from acceptance deed signing.

- Quote preparation – free of charge.

- Requirements for participants

      - Bid participant should have all relevant and/or necessary certificates/licensees/resources to perform full scope of works bidder is applying for.

      - Experience of more than 3 years in similar maintenance & support services is required.

      - Financial Turnover for Year 2019 ( Should not be Less Than 50 000 EURO);

      - Present Extract from Public Registry

- Payment terms

- Supplier provides work acceptance certificate (according to attachment form) for previous months till the 1st business day of next month. Work acceptance certificate consists of fixed maintenance services fee and all during previous month performed emergency and/or planned repair works. Specialists hourly rates according to Supplier’s proposal in Tender.

- Customer reviews, approves or submits a written claim on scope/quality of services (if such occurs) within 5 business days.

- After approval of works acceptance certificate by Customer, Supplier submits works acceptance certificate for mutual signing (2 paper copies (1 for each Party) and one digital copy of acceptance certificate) and invoice to Customer.

- Customer pays invoice within 20 business days from receival of invoice.

- Customer may request to receive separate invoice and acceptance certificate for renovation/repair works performed during previous months if sees necessary.

- Liability

- Supplier is obligated to have Civil liability insurance policy for compensation for losses caused to third parties and to the Customer as a result of Suppliers act or failure to act, for which the Supplier is liable in accordance with legislation, with a total liability limit of no less than GEL 1,000,000.00 (one million Lari) and a liability limit of no less than GEL 500,000.00 (five hundred thousand GEL) per case.

- Insurance Policy should be valid throughout duration of agreement.

  - Insurance Policy should be submitted to Customer within 10 business days from mutual signing of the maintenance service agreement.

- Guarantee obligations

- Guarantee for repair works and materials for 24 (twenty-four) months, beginning from the time, when the respective repair works are accepted by the Customer from the moment Parties sign the certificate of acceptance.

- Supplier should provide guarantee for repair materials and separate parts in accordance with the provisions of the guarantee of the manufacturer of the materials used in the repair works

- Submission of proposal and confirmation of participation in the tender

  - Bidder should fill all green-colored cells in “Maintenance plan and Technical-Financial proposal” file:

    - Sheet “Schedule”

    - Sheet “Proposal - Maintenance Services”

    - Sheet “Proposal – Special Services”.

  - All calculations are made automatically, other changes in the file are not required.

  - Fill In and Send company company profile sheet.

  - Bidder should print, sign and scan all “Maintenance plan and Technical-Financial proposal” sheets and send proposal to suznadze@evolutiongaming.com, Bmushkudiani@evolutiongaming.com; kborisovs@evolutiongaming.com till 10/05/2020, 12:00 Georgian time. Fully filled Excel file should be send together with other bidding documents   attached to the e-mail also.

  - Bidder, while submitting proposal, may include additional documents he/she finds important for Customer and may potentially have influence on Customer’s decision to award agreement, such as:

    - Documents proving experience in providing similar services.

    - References from other Customers.

    - Other bonuses and benefits that will be available to Customer if agreement will be awarded

  - By signing bid forms and submitting it to Customer, Bidder confirms his will and availability of resources, licenses, certificates to participate in Maintenance Services Tender, main proposed agreement points are clear and acceptable.

- Questions regarding the tender and site inspection

  - All questions regarding the tender, preparation/submission of proposal should be addressed to Konstantin Borisov, kborisovs@evolutiongaming.com, +371 25924956 (ENG, RUS)

  - All questions regarding the site visit survey, infrastructure and equipment visual inspection should be addressed to Bachuki Mushkudiani, bmushkudiani@evolutiongaming.com, +995 577 546 567 (GEO, ENG, RUS)