## Schedule
Engineering equipment list and system maintenance schedule
System | Equipment | Equipment location | Comments | Amount of equipment | Maintenance frequency | January | February | March | April | May | June | July | August | September | October | November | December | Amount GEL without VAT
Fire safety system Building A
Fire Alarm system | Panel ESSER IQ8; detectors; modules | L1 | Panel in security room, detectors modules across the building | kit | 4 times a year | February: M1; May: M2; August: M3; November: M4
Public Address system | PA controller & related equipment RCF | L1 | Located in UPS room | kit | 4 times a year | February: M1; May: M2; August: M3; November: M4
Public Address system | Amplifiers Bosh, loudspeakers | L-1 -L3 | Amplifyiers in UPS room, loudspeakers across the building | kit | 4 times a year | February: M1; May: M2; August: M3; November: M4
Fire fighting system | Fire pumps Ebbit | L-1 | According to local regulations | 2 | 4 times a year | February: M1; May: M2; August: M3; November: M4
Fire fighting system | Dashboard, automatics, valves, actuators, gauges, water tank | L-1 | According to local regulations | kit | 4 times a year | February: M1; May: M2; August: M3; November: M4
Fire fighting system | Fire hydrand boxes | L-1 - L3 | According to local regulations | 8 | 4 times a year | February: M1; May: M2; August: M3; November: M4
Evacuation | Evacuation door/gate unblocking | L-1 |  |  | 4 times a year | February: M1; May: M2; August: M3; November: M4
Evacuation | Evacuation door/turnstile unblocking | L1 |  |  | 4 times a year | February: M1; May: M2; August: M3; November: M4
Evacuation | Evacuation door unblocking | L2 |  |  | 4 times a year | February: M1; May: M2; August: M3; November: M4
Evacuation | Evacuation door unblocking | L3 |  |  | 4 times a year | February: M1; May: M2; August: M3; November: M4
Fire safety system Building C
Fire Alarm system | Panel ESSER IQ8; detectors; modules | L1 | Panel in security room, detectors modules across the building | kit | 4 times a year | March: M1; June: M2; September: M3; December: M4
Public Address system | PA controller & related equipment RCF | L1 | Located in UPS room | kit | 4 times a year | March: M1; June: M2; September: M3; December: M4
Public Address system | Amplifiers Bosh, loudspeakers | L1 -L2 | Amplifyiers in UPS room, loudspeakers across the building | kit | 4 times a year | March: M1; June: M2; September: M3; December: M4
Fire fighting system | Fire pumps Ebbit | L-1 | According to local regulations | 2 | 4 times a year | March: M1; June: M2; September: M3; December: M4
Fire fighting system | Dashboard, automatics, valves, actuators, gauges, water tank | L-1 | According to local regulations | kit | 4 times a year | March: M1; June: M2; September: M3; December: M4
Fire fighting system | Fire hydrand boxes | L1 - L2 | According to local regulations | 8 | 4 times a year | March: M1; June: M2; September: M3; December: M4
Evacuation | Evacuation door/gate unblocking | L-1 |  |  | 4 times a year | March: M1; June: M2; September: M3; December: M4
Evacuation | Evacuation door | L1 |  |  | 4 times a year | March: M1; June: M2; September: M3; December: M4
Evacuation | Evacuation door unblocking | L2 |  |  | 4 times a year | March: M1; June: M2; September: M3; December: M4
Fire safety system Building D
Fire Alarm system | Panel ESSER IQ8; detectors; modules | L1 | Panel in security room, detectors modules across the building | kit | 4 times a year | January: M1; April: M2; July: M3; October: M3
Public Address system | PA controller & related equipment RCF | L1 | Located in UPS room | kit | 4 times a year | January: M1; April: M2; July: M3; October: M3
Public Address system | Amplifiers Bosh, loudspeakers | L1 -L2 | Amplifyiers in UPS room, loudspeakers across the building | kit | 4 times a year | January: M1; April: M2; July: M3; October: M3
Fire fighting system | Dashboard, automatics, valves, actuators, gauges, water tank | L-1 | According to local regulations | kit | 4 times a year | January: M1; April: M2; July: M3; October: M3
Fire fighting system | Fire hydrand boxes | L1 - L2 | According to local regulations | 8 | 4 times a year | January: M1; April: M2; July: M3; October: M3
Evacuation | Evacuation door/gate unblocking | L-1 |  |  | 4 times a year | January: M1; April: M2; July: M3; October: M3
Evacuation | Evacuation door | L1 |  |  | 4 times a year | January: M1; April: M2; July: M3; October: M3
Evacuation | Evacuation door unblocking | L2 |  |  | 4 times a year | January: M1; April: M2; July: M3; October: M3
0
Proposal prepared by:
Company name: | _______________________
Registration number: | _______________________
Name/Surname | _______________________
Position title: | _______________________
email: | _______________________
Telephone: | _______________________
Signature: | _______________________
Date: | _______________________

## Proposal- maintenance services
Technical-Financial proposal for maintenance services
Pos | Name of service | Maintenance Service costs yearly, GEL without VAT | Maintenance Service costs, monthly fixed price, GEL without VAT
1 | Fire safety system | #REF! | #REF!
2 | Annual 24/7 Service Readiness fee, SLA 2h |  | 0
| Total: | #REF! | #REF!
Proposal prepared by:
Company name: | _______________________
Registration number: | _______________________
Name/Surname | _______________________
Position title: | _______________________
email: | _______________________
Telephone: | _______________________
Signature: | _______________________
Date: | _______________________

## Proposal- Special services
Technical-Financial proposal for special services
Pos | Name of service | Service costs, GEL without VAT
1 | Automation engineer (Fire safety, BMS, PLC, etc) hourly fee
Proposal prepared by:
Company name: | _______________________
Registration number: | _______________________
Name/Surname | _______________________
Position title: | _______________________
email: | _______________________
Telephone: | _______________________
Signature: | _______________________
Date: | _______________________