## Schedule
Engineering equipment list and system maintenance schedule
System | Equipment | Equipment location | Comments | Amount of equipment | Maintenance frequency | January | February | March | April | May | June | July | August | September | October | November | December | Amount GEL without VAT
Server Room Building A
Cooling system | Chiller DX | L1, Ramp | Server room alternative cooling | 2 | 4 times a year | M1 |  |  | M2 |  |  | M3 |  |  | M4
Cooling system | Server room in-row cooling, compressors | L1 | Server room cooling equipment | kit | 4 times a year | M1 |  |  | M2 |  |  | M3 |  |  | M4
Server room fire safety systems | Gas FF system, overpressure exhaust and ventilation | L1 | L1 Server room | kit | 4 times a year | M1 |  |  | M2 |  |  | M2 |  |  | M4
Fire Alarm system | Panel; detectors; modules | L1 | Panel in security room, detectors modules across the building | kit | 4 times a year | M1 |  |  | M2 |  |  | M3 |  |  | M4
Server room Building C
Cooling system | VRV DAIKIN (Server cooling sistem) | L2 Platform | Server room cooling | 1 | 4 times a year |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Cooling system | CLIMAVENETA (Server cooling system) | L1 | Server room cooling | 1 | 4 times a year |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Cooling system | Ceiling Fancoils | L1 | Fancoil, connections, condensate drain | 2 | 4 times a year |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Server room fire safety systems | Gas FF system, overpressure exhaust and ventilation | L1 | L1 Server room | kit | 4 times a year |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Fire Alarm system | Panel ESSER IQ8; detectors; modules | L1 | Panel in security room, detectors modules across the building | kit | 4 times a year |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Server Room Building D(Future)
Cooling system | (Server cooling system) | Backyard | Server room cooling | 1 | 4 times a year |  |  | M1 |  |  | M3 |  |  | M3 |  |  | M4
Cooling system | (Server cooling system) | Backyard | Server room cooling | 1 | 4 times a year |  |  | M1 |  |  | M3 |  |  | M3 |  |  | M4
Cooling system | Ceiling Fancoils | L1 | Fancoil, connections, condensate drain | 2 | 4 times a year |  |  | M1 |  |  | M3 |  |  | M3 |  |  | M4
Fire Alarm system | Panel; detectors; modules | L1 | Panel in security room, detectors modules across the building | kit | 4 times a year |  |  | M1 |  |  | M3 |  |  | M3 |  |  | M4
Server room fire safety systems | Gas FF system, overpressure exhaust and ventilation | L1 | L1 Server room | kit | 4 times a year |  |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Engineering equipment list and system maintenance schedule
System | Equipment | Equipment location | Comments | Amount of equipment | Maintenance frequency | January | February | March | April | May | June | July | August | September | October | November | December
Server Room Building A
Cooling system | Chiller DX | L1, Ramp | Server room alternative cooling | 2 | 4 times a year | M1 |  |  | M2 |  |  | M3 |  |  | M4
Cooling system | Server room in-row cooling, compressors | L1 | Server room cooling equipment | kit | 4 times a year | M1 |  |  | M2 |  |  | M3 |  |  | M4
Server room fire safety systems | Gas FF system, overpressure exhaust and ventilation | L1 | L1 Server room | kit | 4 times a year | M1 |  |  | M2 |  |  | M2 |  |  | M4
Fire Alarm system | Panel; detectors; modules | L1 | Panel in security room, detectors modules across the building | kit | 4 times a year | M1 |  |  | M2 |  |  | M3 |  |  | M4
Server room Building C
Cooling system | VRV DAIKIN (Server cooling sistem) | L2 Platform | Server room cooling | 1 | 4 times a year |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Cooling system | CLIMAVENETA (Server cooling system) | L1 | Server room cooling | 1 | 4 times a year |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Cooling system | Ceiling Fancoils | L1 | Fancoil, connections, condensate drain | 2 | 4 times a year |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Server room fire safety systems | Gas FF system, overpressure exhaust and ventilation | L1 | L1 Server room | kit | 4 times a year |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Fire Alarm system | Panel ESSER IQ8; detectors; modules | L1 | Panel in security room, detectors modules across the building | kit | 4 times a year |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
Server Room Building D(Future)
Cooling system | (Server cooling system) | Backyard | Server room cooling | 1 | 4 times a year |  |  | M1 |  |  | M3 |  |  | M3 |  |  | M4
Cooling system | (Server cooling system) | Backyard | Server room cooling | 1 | 4 times a year |  |  | M1 |  |  | M3 |  |  | M3 |  |  | M4
Cooling system | Ceiling Fancoils | L1 | Fancoil, connections, condensate drain | 2 | 4 times a year |  |  | M1 |  |  | M3 |  |  | M3 |  |  | M4
Fire Alarm system | Panel; detectors; modules | L1 | Panel in security room, detectors modules across the building | kit | 4 times a year |  |  | M1 |  |  | M3 |  |  | M3 |  |  | M4
Server room fire safety systems | Gas FF system, overpressure exhaust and ventilation | L1 | L1 Server room | kit | 4 times a year |  |  | M1 |  |  | M2 |  |  | M3 |  |  | M4
0
Proposal prepared by:
Company name: | _______________________
Registration number: | _______________________
Name/Surname | _______________________
Position title: | _______________________
email: | _______________________
Telephone: | _______________________
Signature: | _______________________
Date: | _______________________

## Proposal- maintenance services
Technical-Financial proposal for maintenance services
Pos | Name of service | Maintenance Service costs yearly, GEL without VAT | Maintenance Service costs, monthly fixed price, GEL without VAT
1 | Ventilation and cooling system | 0 | 0
2 | Electrical system | 0 | 0
3 | Fire safety system | #REF! | #REF!
6 | Annual 24/7 Service Readiness fee, SLA 2h |  | 0
| Total: | #REF! | #REF!
Proposal prepared by:
Company name: | _______________________
Registration number: | _______________________
Name/Surname | _______________________
Position title: | _______________________
email: | _______________________
Telephone: | _______________________
Signature: | _______________________
Date: | _______________________

## Proposal- Special services
Technical-Financial proposal for special services
Pos | Name of service | Service costs, GEL without VAT
1 | Electrician hourly fee
2 | Plumber hourly fee
3 | HVAC technician hourly fee
4 | General construction worker hourly fee
5 | Automation engineer (Fire safety, BMS, PLC, etc) hourly fee
6 | HVAC engineer hourly fee
7 | Electrical Engineer hourly fee
Proposal prepared by:
Company name: | _______________________
Registration number: | _______________________
Name/Surname | _______________________
Position title: | _______________________
email: | _______________________
Telephone: | _______________________
Signature: | _______________________
Date: | _______________________