Appendix N1

Technical Requirements

Product Name

- Ferric chloride (FeCl3) (40%)

Specifications

TYPE -   2

Purity    (FeCl,)                   - %40+ 2 (m/m)

Appearance                        - Dark    Brown   liquid

Density (20°C)                    - 1,435 ± 0,05 (gr/cm3)

Iron        (II)                          - % 2,5(m/m)/Fe(III)

APPLICATION    FIELDS:

Potable and industrial water treatment

Special requirements for shipment - Compulsory

- Tanker

Should be transported in tanker with 4 divisions.

Material: should be covered with polyester.

Tanker should be usable for storing and transporting Ferric 3 Chloride

Tank capacity should be minimum 25 tons (17m3)

To unload the tanker special pump is necessary as well as a 20-meter-long pipe and a special connector - DN 80 mm, with the help of which Ferric 3 Chloride will be loaded to a reservoir.

Transportation and unloading procedures should be arranged by the seller, all above mentioned fittings should be provided by the seller.

Please find the photos of the Tanker bellow