E-Tender Documentation for Purchasing

Ferric chloride (FeCl3)

1.1 Procurement object

“Gardabani Seawage Treatment Plant” Ltd (GST) announces E-tender for purchasing Ferric chloride (FeCl3) and invites qualified companies to participate therein.

Specific Conditions:

Transportation and unloading procedures should be arranged by the seller/supplier, all necessary fittings with the help of which Ferric 3 Chloride will be loaded to a reservoir from the tanker should be provided by the seller as well.

1.2 Procurement object description (Technical  Requirements), procurement object quantity/volume

Name: Ferric chloride (FeCl3) (40%)

Specifications:

TYPE -   2

Purity    (FeCl,)                   - %40+ 2 (m/m)

Appearance                        - Dark    Brown   liquid

Density (20°C)                    - 1,435 ± 0,05 (gr/cm3)

Iron        (II)                          - % 2,5(m/m)/Fe(III)

APPLICATION    FIELDS:

Potable and industrial water treatment

- Please find detailed description of the product as well as the additional requirements in addendum N1

1.3 Pricing

The prices should be presented: including the delivery up to customer warehouse in Gardabani, nearby the territory of Tbilsresi, including VAT if applicable.

Approximate annual quantity: 136 tons

Single order quantity: minimum 34 tons

1.4  Delivery place, form and time

Delivery upon request throughout the year - Staggered delivery up to customer warehouse” in Gardabani, nearby the territory of Tbilsresi by a special Tanker

- Tanker Description:

Should be transported in tanker with 4 divisions.

Material: should be covered with polyester.

Tanker should be usable for storing and transporting Ferric 3 Chloride

Tank capacity should be minimum 25 tons (17m3)

To unload the tanker special pump is necessary as well as a 20-meter-long pipe and a special connector - DN 80 mm, with the help of which Ferric 3 Chloride will be loaded to a reservoir.

Transportation and unloading procedures should be arranged by the seller, all above mentioned fittings should be provided by the seller.

1.5 Payment terms

Payment will be effected via bank transfer within 30 (thirty) calendar days after receiving the goods fully or partially and after submission of relevant documentation provided by Georgian legislation (Commodity Bill of Lading and) / or after signing the Acceptance-Delivery Act by both partied.

1.6 Requirements about the experience of the bidder

The bidder must have experience in the supply/sale of the goods specified in the procurement object during the last two years, on which they must submit the relevant documents: the contract (s) and the document (s) confirming the fulfillment of the provided contract (s) and/or the relevant procurement numbers of the unified electronic system of the Procurement Agency(eg NAT / CMR / SPA, etc.) where the above mentioned documents can be checked.

1.7 Requirement about the Product Sample

The bidder is obliged to provide the samples of the offered products to the buyer for testing reasons free of charge upon buyer’s request.

1.8 Documents to be uploaded by the pretender in e-tender:

1. Filled in Pricing table (addendum N2);

2.Certificate of Origin of Ferric chloride (FeCl3) (40%);

3. Certificate of Analysis of Ferric chloride (FeCl3) (40%) issued by the producer;

4.MSDS Certificate of Ferric chloride (FeCl3) (40%);

5.Manufacturer’s quality management Certificates – ISO certificate or any other similar quality management certificate (if available);

6.Certificate of conformity of the offered good issued by an accredited body;

7.Documents proving the experience of the seller to be provided in accordance with paragraph 1.6;

8.If the company participating in the tender is not a direct producer of the goods, they shall submit an exclusive agreement with the producer of the goods (if any);

9.Complete company detailed of the bidder.

10. Extract from the Registry of entrepreneur and Non entrepreneur legal entities, this document shall be issued after the placement of Etender

11. Consent to the requirements of the aforementioned tender, for confirmation shall be presented signed E-tender documentation.

Notice:
1) All uploaded documents or information must be signed by authorized person (if needed also letter of attorney should be provided) 
2) All documents or information made by pretender should be signed by authorized person using electronic signature of the company or by the stamp.

  - Mandatory requirements:

1.9.1 At the moment of submitting the proposal, the bidder shall not be involved in any:

- bankruptcy proceedings;

- liquidation proceedings;

- business suspension procedures;

1.9.2 Prices should be provided either in GEL or in USD, with the payment term of National Bank currency rate for the date of payment. Prices should comprise all expenses provided/meant in the present instruction and all legal taxes including VAT if applicable.

1.9.3 The proposal presented should be valid during 30 (thirty) calendar days

1.9.4 The buyer reserves the right to determine the tender deadline, change the terms of the tender, or terminate the tender at any stage of its progress. Information about any of these decisions will be sent to the bidders on a timely manner.

1.9.5 The buyer Will announce the winner of the tender on a tender committee and will inform all bidders about the decision made. “Georgian Water & Power” Ltd. is not obliged to provide oral or written explanation to bidders regarding the basis of the decisions made.

1.9.6 The buyer reserves the right to check/verify any information received from bidders, as well as to obtain information about the bidding company or its activities. If it is proved that the information provided by the bidder is incorrect or falsified, the bidder will be disqualified.

1.9.7 The buyer shall not receive any oral question for the purpose of getting the additional information. As an exception specific questions may be answered by phone.

Note: Any information obtained otherwise shall be deemed unofficial and lay no obligation on “Georgian Water & Power” Ltd.

  - Information for the bidders of the e-tender:

    - Any question during the e-tender process shall be notified on tenders.ge website, using online question platform or the email addresses down below;

    - To participate in the online tender, the company must be registered on www.tenders.ge, in case of registration questions please contact Kakha Kapanadze, +995 595 383 635

    - Instruction for participation in e-tender you can find in addendum N3

Contact Information:

Contact person: Ketevan Chkheidze

Add.: 10, Medea (Mzia) Jugheli street

E-mail: kchkheidze@gwp.ge

Tel:  +(995 322) 931111 (1114); +(995) 595 25 74 58

Contact person: Irakli Khvadagadze

Add.: 10, Medea (Mzia) Jugheli street

E-mail: ikhvadagadze@gwp.ge

Tel:  +995 322 931111 (1145);

Contact person: Tekla Murvanidze

“Georgian Water &Power” Ltd

Add.: 10, Medea (Mzia) Jugheli street

E-mail: tmurvanidze@gwp.ge

Tel:  +995 595 52 33 81;