## Sheet1
| Description, Technical requirements. | Unit measure | QTY | Image | Price/ფასი
1 | LED emergency linear light fixture. Plastic body, Color - White or Grey. Min length 40cm. Min - 6W, Battery High Quality Li-IO, battery working time, on High level lighting - min 4 hours. On Low level lighting - min 7 hours. Must be automatic "ON" when power goes out. Must have a "TEST" button and indicator light Green/red shoving a battery charged. IP-40, 5000-5700K. Min 100LM/W, ≥600LM; Minimum Warranty - 1 year. | Pcs | 650 | The design Can be different, but must meet specs.
1 | LED საგანგებო სანათი მოწყობილობა. პლასტიკური კორპუსი, ფერი - თეთრი ან ნაცრისფერი; მინიმალური სიგრძე 40 სმ; სიმძლავრე მიიმუმ - 6W; აკუმულატორი მაღალი ხარისხის Li-IO; აკუმულატორზე მუშაობის დრო, მაღალი დონის განათებაზე - მინიმუმ 4 საათი და დაბალი დონის განათებაზე - მინიმუმ 7 საათი; ავტომატურად უნდა ჩაირთოს, როდესაც დენი ითიშება; უნდა ჰქონდეს ღილაკი "TEST" და ინდიკატორული შუქი - მწვანე / წითელი, აკუმულატორის დატენვის მაჩვენებელი. IP-40, 5000-5700K. მინიმუმ 100 LM/W, ≥600LM; გარანტია 1 წლიდან. |  |  | შეიძლება სხვა ვიზუალით, მაგრამ უნდა აკმაყოფილებდეს სპეციფიკაციას.