## DOC-_IRRIGATION MATERIAL LIST
GELOVANİ / IRRIGATION PROJECT
NUMBER | NAME OF PRODUCT | UNIT | QUANTITY | მასალა |  | ხელფასი |  | მანქანა-მექანიზმი |  | სულ, ჯამი: (ლარი) | მასალის წარმოების ქვეყანა | მასალის ბრენდი
LAND WORKS |  |  |  | ერთ. | სულ | ერთ. | სულ | ერთ. | სულ
1 | ARRANGING A TRANCHE, FOR PIPES | M3 | 912
2 | SAND UNDER THE PIPE 10 CM | M3 | 114
3 | SAND PIPE FROM THE TOP 20 CM | M3 | 228
4 | FILLING THE TRANCHE (REVERSE) | M3 | 570
5 | EXCAVATOR
PIPLINE
5 | Ø90/10 HDPE 100 PIPE | METER | 300
6 | Ø63/10 HDPE 100 PIPE | METER | 650
7 | Ø 50/10 HDPE 100 PIPE | METER | 500
8 | Ø 40/10 HDPE 100 PIPE | METER | 800
9 | Ø 20/10 HDPE 100 PIPE | METER | 500
10 | Ø 16/4 LDPE PIPE | METER | 100
ELBOWS
11 | D63 | pcs | 100
12 | D50 | pcs | 100
13 | D40 | pcs | 100
14 | D20 | pcs | 500
TEES
15 | D63 | pcs | 50
16 | D63x50x63 | pcs | 50
17 | D50 | pcs | 50
18 | D50x40x50 | pcs | 100
19 | D40 | pcs | 100
20 | D40x20x40 | pcs | 400
21 | D20 | pcs | 50
BRANCHS
22 | 63x20 | pcs | 100
23 | 50x20 | pcs | 120
CASING TUBE MADE OF STEEL
24 | D108x4.5 | m | 40
IRRIGATION DETAILS
25 | 2" RESILIENT SEATED GATE VALVE | PIECE | 4
26 | 2" 252 SERİES SELONOID VALVE WİTH PRESSURE REGULATOR | PIECE | 16
27 | 2" BRASS BALL VALVE | PIECE | 16
28 | 1 1/2" 252 SERİES SELONOID VALVE WİTH PRESSURE REGULATOR | PIECE | 12
29 | 1 1/2" BRASS BALL VALVE | PIECE | 12
30 | 1" 252 SERİES SELONOID VALVE WİTH PRESSURE REGULATOR | PIECE | 2
31 | 1" BRASS BALL VALVE | PIECE | 2
32 | BACLVALVE D50 BRASS | PIECE | 6
33 | BACLVALVE D40 BRASS | PIECE | 2
34 | BACLVALVE D32BRASS | PIECE | 2
35 | 32 MM PLASTIC SCREEN FILTER(120 MESH) | PIECE | 2
36 | TORO 570Z-4P 10 SERİES SPRAY SPRINKLER | PIECE | 209
37 | TORO 570Z-4P 12 SERİES SPRAY SPRINKLER | PIECE | 56
38 | TORO 570Z-4P 15 SERİES SPRAY SPRINKLER | PIECE | 65
39 | TORO 570Z-4P 17 SERİES SPRAY SPRINKLER | PIECE | 74
40 | TORO 570Z-4P 8 SERİES SPRAY SPRINKLER | PIECE | 123
41 | TORO 570Z-4P SST SERİES SPRAY SPRINKLER | PIECE | 112
42 | ATTACH THE SPRINKLER MOUNTING BRACKET 20X1 / 2 " | pcs | 450
43 | ATTACH THE SPRINKLER MOUNTING BRACKET 20X3 / 4 " | pcs | 189
44 | DRIP SYSTEM PRESSURE PUMP 1/2 " | pcs | 10
45 | Ø 17 MM DRIP-IN PIPE | METER | 600
46 | 110 MM GOFRE SLEEVE PIPE | METER | 350
47 | STANDART VALVE BOX (3 BAR) | PIECE | 25
48 | 10" ROUND VALVE BOX (1 BAR) | PIECE | 12
49 | 1" PLASTIC AIR RELEASE VALVE | PIECE | 6
50 | TORO BRASS QUICK COUPLING VALVE WITH ALL EQUIPMENTS(3/4") | PIECE | 12
51 | DISCHARGE NODE OF THE SYSTEM (DISCHARGER WITH H / S 1/2 ", WITH D / G D3 / 4X1 / 2,) | set | 20
ELECTRICAL APPLIANCES AND WIRES
52 | WALL MOUNTING METALLIC ENCLOUSURE IP44 S/M 120MOD, WITH DIN RAILS, WITH PE AND N BARS(AT LEAST 36+36 SCREW POINTS FOR CONNECTIONS, INTERNAL WIRING USING AT LEAST CU 1X10MM2 AND BUSBARS WITH END TAPPINGS (ISOLATED IP44), POCKET FOR DIAGRAMS,CABLE GLANDS, HAGER FWB31 |  | 1
53 | CABLE CONNECTION TUBE | PIECE | 80
54 | DECODER UNIT 1 STATION | PIECE | 17
55 | DECODER UNIT 2 STATION | PIECE | 3
56 | WIRELESS RAIN SENSOR | PIECE | 1
57 | SOIL CLIK SOIL SENSOR | PIECE | 1
58 | TDC DECODER CONTROLLER | PIECE | 1
59 | SENTINEL CENTRAL CONTROL SYSTEM WITH ALL CONNECTORS AND EQUIPMENTS | PIECE | 1
60 | COMPUTER FOR SENTINEL CENTRAL CONTROL SYSTEM | PIECE | 1
61 | 2*2.5 NYY DECODER 2 WAY CABLE | METER | 2000
62 | CABLE CONDUCTION CHANNEL | METER | 2000
63 | ASSEMBLY (INSTALLATION MATERIALS) | PIECE | 1
PUMPING STATION
64 | TWO-PUMP PUMPING STATION WITH WORKING RESERVE, THE CAPACITY OF EACH PUMP IS: Q = 15 M3 / H, H = 60 M, N = 5 KW. THE PUMP MUST BE FREQUENCY CONTROLLED TO CONTROL WATER PRESSURE AND FLOW | set | 1
65 | STEEL PIPE TO CONNECT TO TANK, D80 | m | 15
66 | CAST IRON URN WITH 80 FLANGES | pcs | 2
67 | COLLECTOR D80 (2 METERS LONG), WITH ATTACHMENT OF THREE 50 MM STEEL | set | 1
68 | Valve D50 Flange | pcs | 3
69 | MANOMETER 1/2 CONNECTED | pcs | 2
70 | FLANGE WITH TUBULURE D50 | pcs | 2
71 | FLANGE D50 | pcs | 4
72 | CONTINGENCY COMPONENTS | pcs | 1000
ზედნადები ხარჯი
ჯამი
გეგმიური მოგება
ჯამი
დღგ
ჯამი
სულ ლარი
შესრულების ვადა
გადახდის პირობა
შესრულებული სამუშაოების გარანტიის ვადა