## RfP
ANNEX #3 BUDGET FORM
Request for Quotation of Prices (RfQ) dated 27.09.2022 for Procurement of Medical Devices and Furniture
Please, fill in the sections marked in green. Provide proposal to the electronic addresses with other documents:ccrg-tender@caritas.cz and tamar.kurtanidze@caritas.cz, before October 11, 2022, 18:00 Prices should include the cost of transportation, installation, training
About Supplier:
Supplier's Name:
Registration ID:
Contact tel and e-mail:
Delivery place:
Submission of the bid:
# | Item name | Guarantee (Year) | Additional specification (manufacturer and parameters) - Examples | Delivery time (in days) | Unit Price in USD | Quantity | USD
1 | Electroencephalography (EEG) |  | -EEG for patients from neonate to adults; - Minimum number of channels 24; - Routine EEG, long-term monitoring with video EEG (LTM), EP, PSG, invasive EEG, CFM or biofeedback; - Monitoring of DSA and CFM trends; - Compact device on a trolley with brake wheels; |  |  | 1 | 0
2 | Electromyograph (EMG) |  | - EMG from newborns to adults; - Minimum number of channels 3; - All-in-one: stimulator, amplifier, control panel in one device; - Measurement of visual and auditory evoked potentials using glasses and headphones |  |  | 1 | 0
3 | Ventilator for ventilation and respiratory support for adult, pediatric and infant patients |  | - Touch screen min 15"; - Minimum ventilation modes: CMV, SIMV, PCV, P-SIMV, ventilation on two pressure levels with pressure support, spontaneous ventilation with pressure support, NIV; - Own source of medical air and backup battery for at least one hour of operation. Connection to O2 as required by the hospital; - Adjustable frequency min. 1-150 breaths/minute; - All accessories necessary to start operation and a chassis from which the device can be easily detached : - Non-expiring O2 sensor - warranty min. 3 years; - Consumables for five patients; |  |  | 4 | 0
4 | Syringe pump |  | - Minimum screen 33mm - 66mm; - Application for syringes of various manufacturers; - Automatic syringe size detection; - Programmable functions; - Anti-bolus and bolus function required; - For neonatal and adult clinical use; - Minimum 6 hour battery use; - Compatible with item 3 (power, stacking) |  |  | 15 | 0
5 | Volumetric infusion pump |  | - Infusion Volumetric Pump – for IV sets; - Minimum 66mm x 33mm Screen; - Minimum 5 infusion modes; - Programmable functions; - For neonatal and adult clinical use; - Minimal Flow Time and Body weight modes; - Minimum 6 hour battery full use; - Compatible with item2 (power, stacking) |  |  | 4 | 0
6 | Laryngoscope |  | Macintosh-type laryngoscope, with curved blades. Size: 1,2,3,4 in a case |  |  | 1 | 0
7 | Infusion fluid warmer |  | Infusion fluid warmer system, with microprocessor temperature regulator (open type), for working with high and low flow-rates. No need for specific consumables. |  |  | 5 | 0
8 | Patient lifter |  | - Electric patient lifter with a battery life of at least 20 lifting cycles; - 2 different sizes of sling; - Durable metal construction with clear wheels (two with brakes) and a load capacity of at least 200Kg.; |  |  | 1 | 0
9 | Pediatric patient stroller |  | Rear wheels: Rear pumped wheels with independent brakes; Front wheels: direction blockade; Footrest: Equipped with 2-point belts fastening feet with heel stabilization and abduction-adduction angle adjustment, possibility to adjust the height of footrest; Side covers for calves, Seat, Seat cushion, Abduction block: Separating leg function; Safety rail; laterals for correct position; Vest for Torso support function; Adjustable backrest; Headrest. |  |  | 3 | 0
10 | Pediatric ortopedic chair |  | - Frames on the wheels with centrál brakes, gas spring: Easy and smooth adjustment of tilt-in-space function, Easy and smooth change from sitting to lying position; Footrest with footers and feet stabilizing belts: Adjustment of footer’s height, Adjustment of footrest’s tilt angle, Footers equipped with feet stabilizing belts; Seat: Adjustment of seat’s depth, ilt-in space function; Adjustable abduction block: Separating legs function; Cushion for seat; Upper limb support: Adjustment of upper limb support’s height as well as tilt angle; Pelvic belt; Backrest: Adjustment of backrest’s tilt angle; Chest laterals: The possibility of adjustment for both height and tilt angle of laterals; Vest: Trunk support function with Wide range of adjustment; Adjustable headrest: Adjustment of headrest’s height, Adjustment of headrest’s tilt angle; Tray: with rim, Adjustment of tray’s height and depth, Adjustment of tray’s tilt angle. - 3 different sizes chairs; |  |  | 3 | 0
11 | Orthopedic body verticalizator |  | Gas spring frame; fooftplate: adjustable sandals with feet stabilizing belts, adjustable footplate's height; knee support: distance adjustable knee pelottes, pelvic support: pelvic support pellotes with distance adjust, cushion with pelvic belt: hip support, adjustment of cushion's height, stabilizer pelvic belt; chest supports: adjustable distance, cushion with chest belt: chest support, adjustment of cushion's height, stabilizer chest belt; Headrest: adjustable headrest's height, width and tilt angle. Tray: adjustable height tilt angle and depth. |  |  | 1 | 0
12 | O2 Flowmeter with Humidifier |  | - Connection to pressurized oxygen according to the customer's request, inlet pressure regulator with meter, booster bottle min. 0.2 liters; - Flow rate gauge: 0-15L; - At least 2 meters of nasal patient tubing |  |  | 15 | 0
13 | Low pressure aspirator |  | - Easily portable patient pump; - Minimum vacuum 0.85 Bar; - Minimum flow rate 15 liters per minute; - Continuously adjustable vacuum regulator with indicator; - Unbreakable sterilizable 1 liter bottle; |  |  | 15 | 0
14 | IV stand |  | - Stainless steel stand on a wide 5-arm stable base; - Adjustable stand height with two hooks min 1-2 meters; |  |  | 12 | 0
15 | Instrument trolley |  | - Stainless steel frame, stainless steel shelves, three sides protection; - At least two shelves; - Four wheels, at least two braked; - With stainledss bowl and bucket; |  |  | 2 | 0
16 | Emergency and medicine trolley |  | - Metal frame, ABS top table, metal push handle,, dustbin, file and probe compartment, drawer; - Tray for drug preparation; - Transparent medicine compartments; - Four wheels, at least two with brakes; |  |  | 1 | 0
17 | All in one: printer, scanner, copier |  | Printer, scaner, copier, fax. Technology - laser, format A4, Print Resolution (Black):600 x 600, Scan resolution:600 x 600, Copy Resolution:600 x 600, Multiple Copy, Reduction / Enlargement (%):25 - 400, Paper Cassette:250, Interface USB and net |  |  | 4 | 0
18 | TV |  | Type: LED, Screen size - 40"; screen resolution - 1920X1080 (full HD); Viewing angle min 160; TV connectivity - Wi-Fi; Smart TV functions, Internet browser, applications, Interface HDMI, USB. |  |  | 8 | 0
19 | Refrigerator |  | - Two parts: refrigerator and dry freezer; - Width 70 cm, height 180 cm; |  |  | 2 | 0
20 | Office arm-chair with wheels |  | - Imitation leather surface resistant to disinfection; - Height adjustable with wheels and fixed armrests; |  |  | 5 | 0
21 | Office chair with PU cover |  | Imitation leather surface resistant to disinfection |  |  | 15 | 0
22 | Waiting chair 2 seated |  | - Two-seater waiting room seats; - Washable, disinfection-resistant surface; |  |  | 2 | 0
0