****

**Electronic tender for Setting Up the Chlorination Station Near Kveseti Pumping Station**

**Using Ready-Made Sodium Hypochlorite Chlorinator**

**1.1 Procurement object**

Georgian Water and Power LLC (GWP) announces E-tender for Setting Up the Chlorination Station Near Kveseti Pumping Station Using Ready-Made Sodium Hypochlorite Chlorinator and invites qualified companies to participate therein.

**1.2 Procurement object description:**

**Information about the Procurement Object if given in the Appendixes N1, N2 and N3**

Appendix N1 – Terms of References

Appendix N2 – Situational Scheme

Appendix N3 – Situational Plan

**1.3 Pricing**

The Bidder must submit the proposal in accordance with the Terms of Reference specified in Section 1.2 and the requirements specified in Section 1.7.1. The price should include VAT, transportation throughout Tbilisi and all costs related to the installation and commissioning of the chlorinator.

**1.4**  **Delivery place, form and time**

**Delivery place**: Tbilisi

**Place of Installation**: the works should be implemented in Mtatsminda - Krtsanisi district

**Time-frames**: Please specify the time-frames for the delivery of the goods and implementation of the works on site separately in the proposal

* 1. **Warranty Period and Warranty Terms**

Detailed information about the Warranty Period and Warranty Terms should be provided by the bidder.

**1.6 Payment terms**

Payment will be effected via bank transfer within 30 (thirty) calendar days after receiving the goods and services (in case of foreign currency, if the payment is done to local company, the payment will be done in accordance with the official exchange rate established by the National Bank of Georgia on the day of the payment), and after submission of relevant documentation provided by Georgian legislation (Commodity Bill of Lading and) / or after signing the Acceptance-Delivery Act by both parties.

**1.7 Documents to be uploaded by the Bidder in e-tender:**

1.7.1. Proposal that should include the following:

* Schematic Drawing and explanatory card
* Pricing with detailed and separate description of the goods and services, showing unit prices and total amounts including VAT and transportation wherever applicable.
* Detailed timelines for the supply of both goods and services.
* Detailed warranty conditions for both goods and services.

1.7.2. Detailed description of the goods - technical specifications (technical passports), brand, country of origin;

1.7.3. Extract from the Registry of entrepreneur and Non entrepreneur legal entities, this document shall be issued after the placement of Etender;

1.7.4. Information about the experience of setting up similar type of chlorination stations.

1.7.5 Recommendations from the companies for which the bidder had an opportunity of set up similar type of chlorination station.

1.7.6. Recommendations from the manufacturers

1.7.7. Authorization Certificate from the Manufacturer (Optional)

**Note:**1) All uploaded documents or information must be signed by authorized person (if needed also letter of attorney should be provided)
2) All documents or information prepared by the bidder should be signed by authorized person using electronic signature of the company or by the stamp.

**3) The offers should be all means be uploaded on the website:** [**www.tenders.ge**](http://www.tenders.ge)**;**

* 1. **Mandatory requirements:**

1.8.1At the moment of submitting the proposal, the **Bidder** shall not be involved in any:

* bankruptcy proceedings;
* liquidation proceedings;
* business suspension procedures;

1.8.2 Prices can be provided either in GEL or in USD, with the payment term of National Bank currency rate for the date of payment. Prices should comprise all expenses provided/meant in the present instruction and all legal taxes including VAT if applicable.

1.8.3 The proposal presented should be valid during 60 (thirty) calendar days

1.8.4 Georgian Water and Power LLC reserves the right to determine the tender deadline, change the terms of the tender, or terminate the tender at any stage of its progress. Information about any of these decisions will be sent to the **Bidders** on a timely manner.

1.8.5 Georgian Water and Power LLC Will announce the winner of the tender on a tender committee and will inform all **Bidders** about the decision made. “Georgian Water & Power” LLC is not obliged to provide oral or written explanation to **Bidders** regarding the basis of the decisions made.

1.8.6 Georgian Water and Power LLC reserves the right to check/verify any information received from **Bidders**, as well as to obtain information about the bidding company or its activities. If it is proved that the information provided by the **Bidder** is incorrect or falsified, the **Bidder** will be disqualified.

1.8.7 Georgian Water and Power LLC shall not receive any oral question for the purpose of getting the additional information.

Note: Any information obtained otherwise shall be deemed unofficial and lay no obligation on “Georgian Water & Power” Ltd.

* 1. **Information for the Sellers/Bidders of the e-tender:**
		1. Any question during the e-tender process shall be notified on tenders.ge website, using online question platform or the email addresses down below;
		2. To participate in the online tender, the company must be registered on [www.tenders.ge](http://www.tenders.ge), in case of registration questions please contact Kakha Kapanadze, +995 595 383 635
		3. Instruction for participation in e-tender you can find in addendum N4

**Contact Information:**

Contact person: Ketevan Chkheidze

Add.: 10, Medea (Mzia) Jugheli street

E-mail: kchkheidze@gwp.ge

Tel: +(995 322) 931111 (1114);

Mobile: +(995) 595 25 74 58

Contact person: Irakli Khvadagadze

Add.: 10, Medea (Mzia) Jugheli street

E-mail: ikhvadagadze@gwp.ge

Tel: +995 322 931111 (1145);