## Sheet1
Description GEO | Desription ENG | Inventory # | Location | Comments | Notes | Estimate Weight | Resources for assets dissembles / cutting works | Photo
Diesel-genearator 1100 kW.4-26ДГ ПЭ6М 707 s/s "Poti-6" / დიზელ-გენერატორი | FA90603 | 1pcs | Substation Poti-6 | Not working condition. Not cost effective to upgrade. | Oil leakage have to be avoid during dismentling/catting/transportation process. All works should be done according to APMT safety standards and local safety regulations. | 65-70T | External
Diesel-genarator 1100 kW.4-26ДГ ПЭ6М 666 s/s "Poti-6" / დიზელ-გენერატორი | FA90604 | 1pcs | Substation Poti-6 | Not working condition. Not cost effective to upgrade. | Oil leakage have to be avoid during dismentling/catting/transportation process. All works should be done according to APMT safety standards and local safety regulations. | 65-70T | External
Transformer 1000 KVA / ტრანსფორმატორი | FA00195 | 1pcs | CDP1 yeard, next to B9 | Dismantled. Not working condition, but can be repaired. Will not be used by APMT Poti. |  | 2,2T | ─
Transformer Substation Poti-6 / ქვესადგური | FA95155 | 1pcs | Substation Poti-6 | Switched off. We are using and will use, only Power transformers. All feeders are in poor technical conditions and will not be used by APMT Poti. | Oil leakage have to be avoid during dismentling/catting/transportation process. All works should be done according to APMT safety standards and local safety regulations. | 2T | External
Mobile Transformer Substation ПКTП-160 ПКTП-160 6/0,4KV (Part of Substation is written off, should be sold only power transformer 6/0,4kv 160 KVA)/ კომპლექტური სატრანფორმატორო ქვესადგური | FA96603 | 1pcs | CDP1 yeard, next to B9 | Dismantled. Main part of Substation are scraped up. Leaved only power transformer, which is in working condition. |  | 0,7T | ─
Metal Tank 21t / ლითონის ცისტერნა 21 ტ. | FA90651 | 1pcs | Substation Poti-6 | Will not be used by APMT Poti. | Tank was used for Diesel fuel Approx 18 years ago. dismentling/catting/transportation works/process should be done according to APMT safety standards and local safety regulations. | 0,4T | External
Diesel Generator 60kVA / დიზელ-გენერატორი | FA91199 | 1pcs | Port garage, at the entrance of Poti | Not working condition. Missing a lot of parts. Not cost effective to upgrade. |  | 0,15T | External
Power transformer 6/0,4kv 630 KVA / ტრანსფორმატორი | ─ | 4pcs | CDP1 yeard, next to B9 | In working condition. Will not be used by APMT Poti. |  | 2T | ─
Power transformer 6/0,4kv 560 KVA / ტრანსფორმატორი | ─ | 4pcs | CDP1 yeard, next to B9 | In working condition. Will not be used by APMT Poti. |  | 1,5T | ─
6Kv Cell SWG S/S "Poti-6" 630A 25kA, 2 panels / 6Kv უჯრედი/ ფიდერი | Part Number 29-07-15-00173 | 2 pcs | Central warehouse | In working condition. Will not be used by APMT Poti. |  | 0.650T | ─