## Sheet1
| Description, Technical requirements. | Unit measure | QTY | Image
1 | LED emergency linear light fixture. Plastic body, Color - White or Grey. Min length 40cm. Min - 6W, Battery High Quality Li-IO, battery working time, on High level lighting - min 4 hours. On Low level lighting - min 7 hours. Must be automatic "ON" when power goes out. Must have a "TEST" button and indicator light Green/red shoving a battery charged. IP-40, 5000-5700K. Min 100Lm/W, ≥600Lm. | Pcs | 650